## July 2019
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | pH | Conductivity (umho/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L)
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2019-07-16 | 13:20 | 18.3 | 7.99 | 284.2 | 0.9 | 88.6 | 0.043 | -
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2019-07-16 | 13:33 | 19.2 | 8 | 122.4 | 4.21 | 248.1 | 0.117 | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2019-07-16 | 12:45 | 16.3 | 7.9 | 54.7 | 0 | 4.1 | 0.028 | 0.073
Ashland Creek below STP | E5 | ASH, CNTY | 2019-07-16 | 12:17 | 20.2 | 7.54 | 222.1 | 1.7 | 228.2 | 0.085 | 0.139
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2019-07-16 | 11:58 | 17.2 | 8.17 | 133.3 | 41.9 | 290.9 | 0.098 | -
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2019-07-16 | 11:35 | 17.4 | 8.16 | 147.8 | 8.96 | 161.6 | 0.071 | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2019-07-16 | 11:20 | 16.7 | 8.07 | 150.3 | 9.36 | 261.3 | 0.078 | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2019-07-16 | 11:07 | 17.2 | 7.96 | 167.1 | 8.86 | 151.5 | 0.074 | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2019-07-16 | 10:50 | 17.4 | 8.16 | 181 | 9.5 | 1119.9 | 0.079 | -
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2019-07-16 | 10:33 | 18.4 | 8.05 | 215.9 | 15.95 | 218.7 | 0.091 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2019-07-16 | 10:15 | 18.2 | 8.33 | 224 | 12.18 | 172.5 | 0.089 | -
Bear Ck. @ JNC (S. Medford) | E13 | MED, CNTY | 2019-07-16 | 9:55 | 19.3 | 8.12 | 226.1 | 14.69 | 248.1 | 0.117 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2019-07-16 | 14:05 | 22.8 | 8.91 | 246.8 | 20 | 1119.9 | 0.121 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2019-07-16 | 14:35 | 25 | 9.07 | 281.2 | 10.59 | 325.5 | 0.107 | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2019-07-16 | 9:02 | 18.7 | 8.1 | 249.9 | 13.99 | 325.5 | 0.082 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2019-07-16 | 9:10 | 20 | 8.14 | 237.5 | 10.69 | 727 |  | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2019-07-16 | 9:23 | 20.1 | 7.93 | 215.2 | 3.03 | 57.6 | 0.039 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2019-07-16 | 14:53 | 25.5 | 9.26 | 248.8 | 12.55 | 133.3 | 0.112 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2019-07-16 | 15:36 | 26.4 | 9.34 | 266.8 | 12.18 | 547.5 | 0.127 | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2019-07-16 | 15:44 | 21.5 | 8.29 | 281.2 | 13.27 | 160.7 | 0.084 | -
Jackson Creek @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2019-07-16 | 15:09 | 21.7 | 8.14 | 251.8 | 10.3 | 387.3 | 0.112 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2019-07-16 | 16:10 | 24.9 | 8.68 | 284.1 | 8 | 139.6 | 0.101 | -
Bear Ck. @ S. Valley View Rd. | DUP 1 | ASH, CNTY | 2019-07-16 | 11:37 | 17.4 | 8.18 | 148.1 | 9.01 | 231 | 0.074 | -
Bear Ck. @ 9th St. in Medford | DUP 2 | MED, CNTY | 2019-07-16 | 14:07 | 22.9 | 8.87 | 247.1 | 19.33 | 1553.1 | 0.125 | -
Bear Ck. @ Kirtland Rd. QA/QC | QA/QC1 | CNTY, All | 2019-07-24 | 13:02 | 21.8 | 8.33 | 287.6 | 7.83 | 187.2 | 0.123 | 0.3
Rogue River, Hwy 234 in GH QA/QC | QA/QC2 | CNTY, All | 2019-07-24 | 13:40 | 17 | 7.84 | 62.9 | 4.53 | 23.3 | 0.07 | -
Water Quality Standards | [8 empty] | LE =Lab Error
| May 16th-Oct 14th | Oct 15th-May 15th | Year Round | [5 empty] | FE = Field Error
Temperature | 18.0 C (64.4 F) | 13.0 C (55.4 F) | [6 empty] | ND = not detectable
Turbidity |  |  | 50 ntus
E. Coli (single sample) |  |  | 406 mpn

## August 2019
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | pH | Conductivity (umho/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L)
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2019-08-13 | 13:27 | 17.3 | 7.78 | 260.2 | 4.39 | 435.2 | 0.065 | -
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2019-08-13 | 13:37 | 18.2 | 7.88 | 138.6 | 2.5 | 461.1 | 0.103 | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2019-08-13 | 12:55 | 16.7 | 7.78 | 68.7 | 0.24 | 365.4 | 0.041 | 0.127
Ashland Creek below STP | E5 | ASH, CNTY | 2019-08-13 | 12:20 | 21.7 | 7.66 | 296.3 | 5.37 | 156.5 | 0.16 | 0.162
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2019-08-13 | 12:05 | 18 | 8.11 | 136.4 | 6.32 | 387.3 | 0.061 | -
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2019-08-13 | 11:47 | 18.2 | 8.03 | 146.6 | 5.91 | 770.1 | 0.069 | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2019-08-13 | 11:28 | 17.4 | 7.96 | 155.8 | 6.39 | 770.1 | 0.069 | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2019-08-13 | 11:07 | 17.3 | 7.78 | 165.9 | 5.54 | 488.4 | 0.071 | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2019-08-13 | 10:51 | 17.2 | 7.96 | 176 | 6.65 | 2419.2 | 0.071 | -
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2019-08-13 | 10:34 | 17.4 | 8.03 | 184 | 15.04 | 816.4 | 0.09 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2019-08-13 | 10:18 | 17.3 | 8.11 | 189 | 12.64 | 579.4 | 0.087 | -
Bear Ck. @ JNC (S. Medford) | E13 | MED, CNTY | 2019-08-13 | 9:54 | 17.5 | 7.98 | 194.3 | 13.88 | 298.7 | 0.094 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2019-08-13 | 14:11 | 21.4 | 8.47 | 230.1 | 15.03 | 579.4 | 0.1 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2019-08-13 | 14:38 | 22 | 8.67 | 244.6 | 11.67 | 298.7 | 0.12 | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2019-08-13 | 8:58 | 17.4 | 7.84 | 240.2 | 13.42 | 235.9 | 0.078 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2019-08-13 | 9:08 | 18.1 | 7.98 | 228 | 12.59 | >2419.2 |  | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2019-08-13 | 9:20 | 18.2 | 7.86 | 206.1 | 3.1 | 155.3 | 0.045 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2019-08-13 | 14:55 | 22.4 | 8.73 | 225.9 | 12.48 | 344.8 | 0.1 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2019-08-13 | 15:36 | 20.4 | 8.12 | 270.6 | 7.1 | 139.6 | 0.081 | -
Jackson Creek @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2019-08-13 | 15:12 | 20.1 | 8.04 | 226.5 | 7.65 | 727 | 0.127 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2019-08-13 | 16:03 | 22.9 | 8.29 | 247.9 | 10.54 | 260.2 | 0.123 | -
Jackson Creek @ W. Ross Ln. | DUP 1 | JVLLE, CPT, CNTY | 2019-08-13 | 9:22 | 18.3 | 7.94 | 206.4 | 3.12 | 151.5 | 0.042 | -
Bear Ck. @ JNC (S. Medford) | DUP 2 | MED, CNTY | 2019-08-13 | 9:56 | 17.5 | 7.94 | 197.3 | 13.63 | 365.4 | 0.098 | -
Water Quality Standards | [8 empty] | LE =Lab Error
| May 16th-Oct 14th | Oct 15th-May 15th | Year Round | [5 empty] | FE = Field Error
Temperature | 18.0 C (64.4 F) | 13.0 C (55.4 F) | [6 empty] | ND = not detectable
Turbidity |  |  | 50 ntus
E. Coli (single sample) |  |  | 406 mpn

## September 2019
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | pH | Conductivity (umho/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L)
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2019-09-11 | 13:12 | 16.6 | 7.46 | 231.2 | 1.91 | 238.2 | 0.036 | -
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2019-09-11 | 13:25 | 17 | 7.48 | 136.8 | 3.67 | 298.7 | 0.079 | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2019-09-11 | 12:40 | 15.8 | 7.74 | 73.3 | 0 | 26.2 | 0.036 | 0.183
Ashland Creek below STP | E5 | ASH, CNTY | 2019-09-11 | 12:14 | 20.3 | 7.66 | 276.5 | 2.44 | 387.3 | 0.12 | 0.2
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2019-09-11 | 11:53 | 18.7 | 7.97 | 151.5 | 6.25 | 344.8 | 0.06 | -
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2019-09-11 | 11:35 | 18.5 | 8.07 | 168.4 | 6.12 | 172.6 | 0.08 | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2019-09-11 | 11:15 | 17.7 | 8.03 | 159.9 | 5.27 | 260.2 | 0.076 | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2019-09-11 | 10:58 | 17.6 | 7.86 | 193 | 3.88 | 160.7 | 0.054 | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2019-09-11 | 10:38 | 17.4 | 7.9 | 195.7 | 4.53 | >2419.2 | 0.057 | -
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2019-09-11 | 10:15 | 17.2 | 7.88 | 213.2 | 5.03 | 185 | 0.061 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2019-09-11 | 10:03 | 16.9 | 7.94 | 216.1 | 6.42 | 435.2 | 0.082 | -
Bear Ck. @ JNC (S. Medford) | E13 | MED, CNTY | 2019-09-11 | 9:43 | 16.9 | 7.95 | 224.3 | 7.61 | 290.9 | 0.076 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2019-09-11 | 13:55 | 19.5 | 8.31 | 220.4 | 10.99 | 435.2 | 0.076 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2019-09-11 | 14:15 | 20 | 8.62 | 225 | 9.48 | 517.2 | 0.076 | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2019-09-11 | 8:53 | 17.1 | 8.16 | 200.9 | 14 | 325.5 | 0.085 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2019-09-11 | 9:01 | 17.3 | 8.03 | 214 | 9.9 | 344.8 |  | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2019-09-11 | 9:14 | 17.2 | 8 | 205.6 | 4.87 | 193.5 | 0.036 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2019-09-11 | 14:32 | 20.2 | 8.66 | 222.8 | 10.65 | 410.6 | 0.076 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2019-09-11 | 15:07 | 20.7 | 8.88 | 224.7 | 9.84 | 209.8 | 0.086 | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2019-09-11 | 15:15 | 18.8 | 8.25 | 224.8 | 11.51 | 238.2 | 0.073 | -
Jackson Creek @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2019-09-11 | 14:46 | 18.4 | 8.18 | 215.2 | 7.53 | 235.9 | 0.099 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2019-09-11 | 15:38 | 20.3 | 8.37 | 230.4 | 11.43 | 228.2 | 0.101 | -
Bear Ck. @ B.H. Park (Phoenix) | DUP 1 | PHO, CNTY | 2019-09-11 | 10:40 | 17.5 | 8.11 | 195.1 | 4.33 | 2419.2 | 0.063 | -
Bear Ck. @ Lynn Newbry Park | DUP 2 | TAL, CNTY | 2019-09-11 | 11:55 | 18.7 | 8.17 | 151.5 | 4.38 | 178.2 | 0.05 | -
Bear Ck. @ Kirtland Rd. QA/QC | QA/QC1 | CNTY, All | 2019-09-25 | 12:57 | 18.3 | 8.17 | 247.5 | 11.18 | 488.4 | 0.084 | -
Rogue River, Hwy 234 in GH QA/QC | QA/QC2 | CNTY, All | 2019-09-25 | 13:57 | 15.5 | 8.02 | 81.1 | 3.13 | 46.4 | 0.072 | -
Water Quality Standards | [8 empty] | LE =Lab Error
| May 16th-Oct 14th | Oct 15th-May 15th | Year Round | [5 empty] | FE = Field Error
Temperature | 18.0 C (64.4 F) | 13.0 C (55.4 F) | [6 empty] | ND = not detectable
Turbidity |  |  | 50 ntus
E. Coli (single sample) |  |  | 406 mpn

## Station by Station Data Summary
Month | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L)
July | E1 | 13:20 | 18.3 | 88.6 | 0.043 | July | E11 | 10:33 | 18.4 | 218.7 | 0.091 | July | E20 | 14:53 | 25.5 | 133.3 | 0.112
August | E1 | 13:27 | 17.3 | 435.2 | 0.065 | August | E11 | 10:34 | 17.4 | 816.4 | 0.09 | August | E20 | 14:55 | 22.4 | 344.8 | 0.1
September | E1 | 13:12 | 16.6 | 238.2 | 0.036 | September | E11 | 10:15 | 17.2 | 185 | 0.061 | September | E20 | 14:32 | 20.2 | 410.6 | 0.076
July | E3 | 13:33 | 19.2 | 248.1 | 0.117 | July | E12 | 10:15 | 18.2 | 172.5 | 0.089 | July | E21 | 15:36 | 26.4 | 547.5 | 0.127
August | E3 | 13:37 | 18.2 | 461.1 | 0.103 | August | E12 | 10:18 | 17.3 | 579.4 | 0.087 | August | E21 | - | - | - | -
September | E3 | 13:25 | 17 | 298.7 | 0.079 | September | E12 | 10:03 | 16.9 | 435.2 | 0.082 | September | E21 | 15:07 | 20.7 | 209.8 | 0.086
July | E4 | 12:45 | 16.3 | 4.1 | 0.028 | July | E13 | 9:55 | 19.3 | 248.1 | 0.117 | July | E22 | 15:44 | 21.5 | 160.7 | 0.084
August | E4 | 12:55 | 16.7 | 365.4 | 0.041 | August | E13 | 9:54 | 17.5 | 298.7 | 0.094 | August | E22 | 15:36 | 20.4 | 139.6 | 0.081
September | E4 | 12:40 | 15.8 | 26.2 | 0.036 | September | E13 | 9:43 | 16.9 | 290.9 | 0.076 | September | E22 | 15:15 | 18.8 | 238.2 | 0.073
July | E5 | 12:17 | 20.2 | 228.2 | 0.085 | July | E14 | 14:05 | 22.8 | 1119.9 | 0.121 | July | E23 | 15:09 | 21.7 | 387.3 | 0.112
August | E5 | 12:20 | 21.7 | 156.5 | 0.16 | August | E14 | 14:11 | 21.4 | 579.4 | 0.1 | August | E23 | 15:12 | 20.1 | 727 | 0.127
September | E5 | 12:14 | 20.3 | 387.3 | 0.12 | September | E14 | 13:55 | 19.5 | 435.2 | 0.076 | September | E23 | 14:46 | 18.4 | 235.9 | 0.099
July | E6 | 11:58 | 17.2 | 290.9 | 0.098 | July | E15 | 14:35 | 25 | 325.5 | 0.107 | July | E24 | 16:10 | 24.9 | 139.6 | 0.101
August | E6 | 12:05 | 18 | 387.3 | 0.061 | August | E15 | 14:38 | 22 | 298.7 | 0.12 | August | E24 | 16:03 | 22.9 | 260.2 | 0.123
September | E6 | 11:53 | 18.7 | 344.8 | 0.06 | September | E15 | 14:15 | 20 | 517.2 | 0.076 | September | E24 | 15:38 | 20.3 | 228.2 | 0.101
July | E7 | 11:35 | 17.4 | 161.6 | 0.071 | July | E16 | 9:02 | 18.7 | 325.5 | 0.082
August | E7 | 11:47 | 18.2 | 770.1 | 0.069 | August | E16 | 8:58 | 17.4 | 235.9 | 0.078
September | E7 | 11:35 | 18.5 | 172.6 | 0.08 | September | E16 | 8:53 | 17.1 | 325.5 | 0.085
July | E8 | 11:20 | 16.7 | 261.3 | 0.078 | July | E17 | 9:10 | 20 | 727 | -
August | E8 | 11:28 | 17.4 | 770.1 | 0.069 | August | E17 | 9:08 | 18.1 | >2419.2 | -
September | E8 | 11:15 | 17.7 | 260.2 | 0.076 | September | E17 | 9:01 | 17.3 | 344.8 | -
July | E9 | 11:07 | 17.2 | 151.5 | 0.074 | July | E18 | - | - | - | -
August | E9 | 11:07 | 17.3 | 488.4 | 0.071 | August | E18 | - | - | - | -
September | E9 | 10:58 | 17.6 | 160.7 | 0.054 | September | E18 | - | - | - | -
July | E10 | 10:50 | 17.4 | 1119.9 | 0.079 | July | E19 | 9:23 | 20.1 | 57.6 | 0.039
August | E10 | 10:51 | 17.2 | 2419.2 | 0.071 | August | E19 | 9:20 | 18.2 | 155.3 | 0.045
September | E10 | 10:38 | 17.4 | >2419.2 | 0.057 | September | E19 | 9:14 | 17.2 | 193.5 | 0.036