## April 2019
Site Description | Site # | Jurisdictions affected | Sample Date | Time of Day | Temp. (Celsius) | pH | Conductivity (mg/l) | Turbidity (ntu's) | E.coli (mpn)
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2019-04-11 | 12:49 | 7 | 7.73 | 80 | 35.9 | 45
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2019-04-11 | 13:00 | 6.7 | 7.67 | 64.4 | 6.08 | 111.9
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2019-04-11 | 12:19 | 5.9 | 7.68 | 36.3 | 1.88 | 7.2
Ashland Creek below STP | E5 | ASH, CNTY | 2019-04-11 | 11:55 | 7.1 | 7.64 | 57.2 | 3.5 | 178.5
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | No Flow
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2019-04-11 | 11:35 | 7.4 | 7.86 | 86.4 | 14.86 | 178.5
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2019-04-11 | 11:15 | 7.4 | 7.86 | 89.5 | 15.48 | 88.6
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2019-04-11 | 10:54 | 7.4 | 7.82 | 92.7 | 17.31 | 78.5
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | No Flow
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2019-04-11 | 10:34 | 7.6 | 7.84 | 104.4 | 18.9 | 81.6
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2019-04-11 | 10:22 | 7.7 | 7.92 | 105.8 | 20.5 | 344.1
Bear Ck. @ JNC (S. Medford) | E13 | MED, CNTY | 2019-04-11 | 10:04 | 7.8 | 7.85 | 110.7 | 20.2 | 98.5
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2019-04-11 | 13:32 | 8.6 | 8 | 132.1 | 17.73 | 248.1
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2019-04-11 | 13:55 | 9 | 8.04 | 137.5 | 19.05 | 137.4
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2019-04-11 | 9:00 | 10.5 | 8.04 | 258.7 | 30.4 | 139.1
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2019-04-11 | 9:09 | 9.9 | 7.95 | 219.7 | 14.51 | 183.5
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2019-04-11 | 9:37 | 9.2 | 7.89 | 202.3 | 6.48 | 209.8
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2019-04-11 | 9:21 | 9.6 | 7.89 | 203.2 | 12.11 | 101.4
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2019-04-11 | 14:06 | 9 | 7.95 | 141.3 | 22.3 | 222.4
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2019-04-11 | 14:40 | 9.2 | 7.99 | 146.2 | 19.77 | 139.6
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2019-04-11 | 14:45 | 11.3 | 8.14 | 280.7 | 20 | 93.3
Jackson Creek @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2019-04-11 | 14:20 | 10.8 | 8.07 | 176.5 | 15.27 | 146.7
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2019-04-11 | 15:15 | 9.8 | 8.02 | 167.6 | 20.3 | 133.4
Bear Ck. @ JNC (S. Medford) | DUP 1 | MED, CNTY | 2019-04-11 | 10:06 | 7.8 | 7.85 | 110.5 | 19.82 | 91
Bear Ck. @ Greenway (S.Talent) | DUP 2 | TAL, CNTY | 2019-04-11 | 11:17 | 7.4 | 7.91 | 89.6 | 15.18 | 118.2
Water Quality Standards | [8 empty] | LE =Lab Error
| May 16th-Oct 14th | Oct 15th-May 15th | Year Round | [5 empty] | FE = Field Error
Temperature | 18.0 C (64.4 F) | 13.0 C (55.4 F) | [6 empty] | ND = not detectable
Turbidity |  |  | 50 ntus
E. Coli (single sample) |  |  | 406 mpn

## May 2019
Site Description | Site # | Jurisdictions affected | Sample Date | Time of Day | Temp. (Celsius) | pH | Conductivity (mg/l) | Turbidity (ntu's) | E.coli (mpn) | Total phosphorus (mg/l) | Ammonia-Nitrate (mg/l)
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2019-05-23 | 13:15 | 12.8 | 8.01 | 197.3 | 2.01 | 37.9 | 0.053 | -
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2019-05-23 | 13:27 | 11.2 | 7.82 | 74.3 | 2.32 | 50.4 | 0.033 | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2019-05-23 | 12:46 | 8.8 | 7.7 | 32.5 | 0.25 | <1.0 | 0.016 | 0.182
Ashland Creek below STP | E5 | ASH, CNTY | 2019-05-23 | 12:18 | 10.5 | 7.62 | 69.8 | 1.79 | 18.3 | 0.03 | 0.599
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2019-05-23 | 12:03 | 13 | 8.11 | 155 | 6.13 | 218.7 | 0.063 | -
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2019-05-23 | 11:45 | 11.6 | 7.95 | 105.5 | 4.76 | 74.3 | 0.057 | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2019-05-23 | 11:25 | 11.4 | 7.84 | 111.6 | 4.39 | 118.7 | 0.053 | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2019-05-23 | 11:05 | 11.7 | 7.73 | 141.1 | 3.97 | 121.1 | 0.059 | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2019-05-23 | 10:50 | 11.8 | 7.9 | 146.6 | 5.18 | 1203.3 | 0.063 | -
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2019-05-23 | 10:32 | 11.9 | 7.97 | 147 | 8.82 | 325.5 | 0.076 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2019-05-23 | 10:16 | 11.9 | 7.99 | 140.7 | 12.56 | 365.4 | 0.077 | -
Bear Ck. @ JNC (S. Medford) | E13 | MED, CNTY | 2019-05-23 | 9:53 | 12.1 | 7.96 | 149.7 | 9.72 | 920.8 | 0.084 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2019-05-23 | 14:07 | 15.3 | 8.17 | 175 | 18.49 | 325.5 | 0.107 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2019-05-23 | 14:35 | 16.3 | 8.2 | 189.5 | 15.86 | 410.6 | 0.086 | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2019-05-23 | 8:38 | 13.2 | 7.94 | 176.1 | 33.5 | 344.8 | 0.098 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2019-05-23 | 8:48 | 13.1 | 8.04 | 202.6 | 10.12 | 218.7 |  | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2019-05-23 | 9:26 | 13.1 | 7.97 | 179.2 | 12.34 | 218.7 | 0.064 | -
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2019-05-23 | 9:02 | 13 | 7.93 | 195.7 | 7.37 | 186 | 0.057 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2019-05-23 | 14:50 | 16.2 | 8.2 | 188.2 | 14.6 | 285.1 | 0.093 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2019-05-23 | 15:23 | 16.6 | 8.19 | 200.4 | 16.36 | 190.4 | 0.096 | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2019-05-23 | 15:30 | 15.1 | 8.02 | 199.5 | 36.7 | 104.6 | 0.113 | -
Jackson Creek @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2019-05-23 | 15:05 | 14.9 | 8.03 | 203.9 | 14.26 | 104.6 | 0.093 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2019-05-23 | 16:01 | 16.7 | 8.05 | 208.1 | 21.6 | 161.6 | 0.106 | -
Bear Ck. @ JNC (S. Medford) | DUP 1 | MED, CNTY | 2019-05-23 | 9:54 | 12.1 | 7.93 | 149.8 | 10.52 | 1046.2 | 0.08 | -
Bear Ck. @ 9th St. in Medford | DUP 2 | MED, CNTY | 2019-05-23 | 14:08 | 15.3 | 8.2 | 175.2 | 14.53 | 248.1 | 0.096 | -
Water Quality Standards
| May 16th-Oct 14th | Oct 15th-May 15th | Year Round
Temperature | 18.0 C (64.4 F) | 13.0 C (55.4 F) | [8 empty] | LE =Lab Error
Turbidity |  |  | 50 ntus | [7 empty] | FE = Field Error
E. Coli (single sample) |  |  | 406 mpn | [7 empty] | ND = not detectable

## June 2019
Site Description | Site # | Jurisdictions affected | Sample Date | Time of Day | Temp. (Celsius) | pH | Conductivity (mg/l) | Turbidity (ntu's) | E.coli (mpn) | Total phosphorus (mg/l) | Ammonia-Nitrate (mg/l)
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2019-06-27 | 13:10 | 13.8 | 8.22 | 315.8 | 0.53 | 98.7 | 0.042 | -
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2019-06-27 | 13:25 | 13 | 7.92 | 104.6 | 2.92 | 248.1 | 0.052 | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2019-06-27 | 12:41 | 12.6 | 7.81 | 43.1 | 0.55 | 8 | 0.023 | 0.117
Ashland Creek below STP | E5 | ASH, CNTY | 2019-06-27 | 12:13 | 16.7 | 7.64 | 187.2 | 0.64 | 64.4 | 0.049 | 0.121
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2019-06-27 | 11:55 | 13 | 8.19 | 134.3 | 8.93 | 547.5 | 0.062 | -
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2019-06-27 | 11:34 | 14.1 | 8.09 | 148.5 | 9.09 | 285.1 | 0.066 | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2019-06-27 | 11:20 | 13.1 | 8 | 145.8 | 8.42 | 344.8 | 0.074 | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2019-06-27 | 11:02 | 13.7 | 7.86 | 166.1 | 7.89 | 137.6 | 0.065 | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2019-06-27 | 10:46 | 13.8 | 8.06 | 179.2 | 10.61 | 517.2 | 0.071 | -
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2019-06-27 | 10:25 | 14.6 | 7.93 | 210 | 9.06 | 365.4 | 0.077 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2019-06-27 | 10:05 | 14.2 | 8.21 | 211.7 | 10.13 | 435.2 | 0.077 | -
Bear Ck. @ JNC (S. Medford) | E13 | MED, CNTY | 2019-06-27 | 9:47 | 14.6 | 8.1 | 210.6 | 12.59 | 613.1 | 0.097 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2019-06-27 | 13:58 | 18.6 | 8.76 | 211.1 | 12.71 | 613.1 | 0.084 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2019-06-27 | 14:20 | 20.4 | 8.88 | 253.8 | 6.97 | 79.8 | 0.077 | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2019-06-27 | 8:47 | 15.3 | 8.01 | 231.5 | 14.25 | 178.9 | 0.068 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2019-06-27 | 8:57 | 15.9 | 8.11 | 220.8 | 11.4 | 178.2 |  | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | No flow
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2019-06-27 | 9:08 | 16.5 | 8.1 | 203.4 | 2.41 | 54.7 | 0.034 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2019-06-27 | 14:40 | 20.4 | 9.01 | 245.4 | 12.05 | 67.6 | 0.08 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2019-06-27 | 15:25 | 19.9 | 9.01 | 256.8 | 10.43 | 517.2 | 0.081 | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2019-06-27 | 15:30 | 16.6 | 8.22 | 259 | 8.78 | 139.6 | 0.068 | -
Jackson Creek @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2019-06-27 | 14:57 | 17 | 8.11 | 230 | 11.81 | 547.5 | 0.129 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2019-06-27 | 15:57 | 19.9 | 8.46 | 258.4 | 11.36 | 184.2 | 0.101 | -
Bear Ck. @ B.H. Park (Phoenix) | DUP 1 | PHO, CNTY | 2019-06-27 | 10:30 | 14.6 | 7.96 | 209.8 | 14.29 | 218.7 | 0.087 | -
Bear Ck. @ Lynn Newbry Park | DUP 2 | TAL, CNTY | 2019-06-27 | 11:05 | 13.7 | 7.92 | 169.2 | 8.21 | 155.3 | 0.064 | -
Water Quality Standards
| May 16th-Oct 14th | Oct 15th-May 15th | Year Round
Temperature | 18.0 C (64.4 F) | 13.0 C (55.4 F) | [7 empty] | LE =Lab Error
Turbidity |  |  | 50 ntus | [6 empty] | FE = Field Error
E. Coli (single sample) |  |  | 406 mpn | [6 empty] | ND = not detectable

## E. coli Quarterly Exceedances
All Year E. coli Exceedance: July 1 - June 30
Site # | Location | E. coli Exceedance at Standard (406 MPN) | Count
E1 | Walker Ck. @ Belle Fiore | 36.36% | 4/11
E3 | Neil Ck. @ Dead Indian Memorial | 33.33% | 4/12
E4 | Ashland Ck. @ Granite St. | 0% | 0/12
E5 | Ashland Ck. below STP | 8.333% | 1/12
E6 | TID Canal @ Eagle Mill Rd. | 20% | 1/5
E7 | Bear Ck. @ S. Valley View Rd. | 8.333% | 1/12
E8 | Bear Ck. @ Greenway (S. Talent) | 8.333% | 1/12
E9 | Bear Ck. @ Lynn Newbry Park | 8.333% | 1/12
E10 | MID Diversion @ Suncrest Rd. | 100% | 5/5
E11 | Bear Ck. @ B. H. Park (Phoenix) | 33.33% | 4/12
E12 | Bear Ck. @ Fern Valley Rd. | 33.33% | 4/12
E13 | Bear Ck. @ JNC (S. Medford) | 41.67% | 5/12
E14 | Bear Ck. @ 9th St. (Medford) | 50% | 6/12
E15 | Bear Ck. @ Table Rock Rd. | 40% | 4/10
E16 | Griffin Ck. @ Beall Ln. | 33.33% | 4/12
E17 | Jackson Ck. @ Beall Ln. | 41.67% | 5/12
E18 | Jackson Ck. @ Jacksonville | 20% | 1/5
E19 | Jackson Ck. @ W. Ross Ln. | 41.67% | 5/12
E20 | Bear Ck. @ Pine St. (CP) | 8.333% | 1/12
E21 | Bear Ck. Above Griffin (CP) | 16.67% | 2/12
E22 | Griffin Ck. @ I-5 | 25% | 3/12
E23 | Jackson Ck. @ Blackwell Rd. | 58.33% | 7/12
E24 | Bear Ck. @ Kirtland Rd. | 16.67% | 2/12