## July 2018
Site Description | Site # | Jurisdictions affected | Sample Date | Time of Day | Temp. (Celsius) | pH | Conductivity (umho/cm) | Turbidity (ntu's) | E.coli (mpn) | Total phosphorus (mg/l) | Ammonia-Nitrate (mg/l) | Ammonia (mg/l)
Walker Creek at Belle Fiore | E1 | ASH, CNTY | 2018-07-24 | 13:26 | 19.8 | 7.59 | 251.5 | 23.5 | 2419.2 | 0.23 | - | -
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2018-07-24 | 13:39 | 20.9 | 7.67 | 109.6 | 25.8 | 920.8 | 0.18 | - | -
Ashland Ck. @ Granite St. | E4 | ASH, CNTY | 2018-07-24 | 12:58 | 19.7 | 7.72 | 80.3 | 2.49 | 172.2 | 0.16 | 0.13 | -
Ashland Creek below STP | E5 | ASH, CNTY | 2018-07-24 | 11:52 | 22 | 7.66 | 240.6 | 4.65 | 139.1 | 0.087 | 0.161 | -
TID canal at Eagle Mill Rd | E6 | TID, ASH, CNTY | 2018-07-24 | 11:35 | 20.3 | 7.99 | 128 | 14.4 | 285.1 | 0.067 | - | -
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2018-07-24 | 11:21 | 20 | 8.17 | 133.2 | 6.55 | 206.3 | 0.056 | - | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2018-07-24 | 11:08 | 19.6 | 7.96 | 135.6 | 8.22 | 365.4 | 0.058 | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2018-07-24 | 10:55 | 19.5 | 7.83 | 140 | 4.73 | 110.6 | 0.047 | - | -
MID Diversion at Suncrest Rd | E10 | MID, CNTY | 2018-07-24 | 10:40 | 19.7 | 7.86 | 157.5 | 6.42 | 1553.1 | 0.058 | - | -
Bear Ck. @ B.H. Prk (Phoenix) | E11 | PHO, CNTY | 2018-07-24 | 10:22 | 20 | 7.83 | 180.9 | 9.22 | 488.4 | 0.075 | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2018-07-24 | 10:03 | 19.7 | 8.02 | 187.8 | 12.1 | 248.9 | 0.086 | - | -
Bear Ck. @ JNC (S.Medford) | E13 | MED, CNTY | 2018-07-24 | 9:43 | 19.9 | 7.95 | 200.7 | 13.9 | 298.7 | 0.128 | - | -
Bear Ck. @ 9th st. in Medford | E14 | MED, CNTY | 2018-07-24 | 14:08 | 23.5 | 8.46 | 239.6 | 12.6 | 461.1 | 0.133 | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2018-07-24 | 14:25 | 25.9 | 8.93 | 268.8 | 12.8 | 579.4 | 0.13 | - | -
Griffin Ck. @ Beall Lane | E16 | JVLLE, CPT, CNTY | 2018-07-24 | 8:48 | 19.6 | 7.99 | 247.2 | 27.8 | 517.2 | 0.133 | - | -
Jackson Ck. @ Beall Lane | E17 | JVLLE, CPT, CNTY | 2018-07-24 | 8:59 | 20.1 | 7.93 | 250.4 | 20.6 | 2419.2 |  | - | -
Jackson Ck. @ Jacksonville | E18 | JVLLE, CPT, CNTY
Jackson Ck. @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2018-07-24 | 9:09 | 20 | 7.91 | 199.9 | 3.85 | 727 | 0.056 | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2018-07-24 | 14:39 | 26.6 | 9.16 | 275.7 | 10.5 | 154.1 | 0.138 | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2018-07-24 | 15:20 | 26.4 | 9.01 | 279.4 | 15.9 | 396.8 | 0.128 | - | -
Griffin Ck. @ I-5 | E22 | CPT, CNTY | 2018-07-24 | 15:16 | 23 | 8.3 | 282 | 9.94 | 1553.1 | 0.102 | - | -
Jackson Ck. @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2018-07-24 | 15:00 | 23 | 8.11 | 260 | 12.3 | 344.8 | 0.183 | - | -
Bear Creek at Kirtland Rd. | E24 | CNTY, All | 2018-07-24 | 15:35 | 25.5 | 8.7 | 273.9 | 10.7 | 272.3 | 0.15 | - | -
Bear Ck. @ JNC (S.Medford) | DUP 1 | PHO, CNTY | 2018-07-24 | 9:45 | 19.9 | 8.04 | 201.4 | 15.2 | 228.2 | 0.131 | - | -
Bear Ck. @ Fern Valley Rd. | DUP 2 | TAL, CNTY | 2018-07-24 | 10:22 | 20 | 7.86 | 181.3 | 9.62 | 238.2 | 0.078 | - | -
Bear Creek at Kirtland Rd. QA/QC | QA/QC1 | CNTY, All
Rogue River, Hwy 234 in GH. QA/QC | QA/QC2 | CNTY, All
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)

## August 2018
Site Description | Site # | Jurisdictions affected | Sample Date | Time of Day | Temp. (Celsius) | pH | Conductivity (umho/cm) | Turbidity (ntu's) | E.coli (mpn) | Total phosphorus (mg/l) | Ammonia-Nitrate (mg/l) | Ammonia (mg/l)
Walker Creek at Belle Fiore | E1 | ASH, CNTY | 2018-08-29 | 13:47 | 17.6 | 7.75 | 263.6 | 8.42 | 1119.9 | 0.201 | - | -
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2018-08-29 | 13:57 | 18.1 | 7.67 | 166.7 | 12.2 | 461.1 | 0.207 | - | -
Ashland Ck. @ Granite St. | E4 | ASH, CNTY | 2018-08-29 | 13:19 | 18.8 | 7.86 | 91.6 | 1.16 | 178.5 | 0.174 | - | 0.13
Ashland Creek below STP | E5 | ASH, CNTY | 2018-08-29 | 12:03 | 20.6 | 7.73 | 296.7 | 1.43 | 195.6 | 0.039 | - | 0.22
TID canal at Eagle Mill Rd | E6 | TID, ASH, CNTY | 2018-08-29 | 11:43 | 18.4 | 8.1 | 126.3 | 5.35 | 184.2 | 0.047 | - | -
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2018-08-29 | 11:29 | 18.1 | 8.07 | 144.1 | 7.05 | 224.7 | 0.066 | - | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2018-08-29 | 11:13 | 17.3 | 7.9 | 147 | 6.35 | 186 | 0.066 | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2018-08-29 | 10:58 | 17.1 | 7.86 | 158.2 | 5.2 | 218.7 | 0.061 | - | -
MID Diversion at Suncrest Rd | E10 | MID, CNTY | 2018-08-29 | 10:41 | 16.9 | 7.95 | 170 | 6.03 | 1553.1 | 0.069 | - | -
Bear Ck. @ B.H. Prk (Phoenix) | E11 | PHO, CNTY | 2018-08-29 | 10:23 | 17.1 | 7.94 | 210.8 | 8.62 | 209.8 | 0.087 | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2018-08-29 | 10:09 | 16.8 | 8.03 | 217.8 | 8.21 | 260.2 | 0.082 | - | -
Bear Ck. @ JNC (S.Medford) | E13 | MED, CNTY | 2018-08-29 | 9:46 | 16.8 | 8 | 151.8 | 10.2 | 686.7 | 0.107 | - | -
Bear Ck. @ 9th st. in Medford | E14 | MED, CNTY | 2018-08-29 | 14:25 | 20.4 | 8.49 | 232 | 14.1 | 770.1 | 0.096 | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2018-08-29 | 15:04 | 22.1 | 8.79 | 254.6 | 8.27 | 770.1 | 0.105 | - | -
Griffin Ck. @ Beall Lane | E16 | JVLLE, CPT, CNTY | 2018-08-29 | 8:55 | 16.7 | 8.03 | 240.1 | 14.5 | 488.4 | 0.096 | - | -
Jackson Ck. @ Beall Lane | E17 | JVLLE, CPT, CNTY | 2018-08-29 | 9:11 | 17.4 | 7.95 | 220.7 | 13.4 | 387.3 |  | - | -
Jackson Ck. @ Jacksonville | E18 | JVLLE, CPT, CNTY
Jackson Ck. @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2018-08-29 | 9:17 | 16.7 | 7.88 | 185.3 | 4.79 | 517.2 | 0.044 | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2018-08-29 | 15:19 | 22.5 | 8.95 | 262.7 | 8.42 | 387.3 | 0.115 | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2018-08-29 | 15:57 | 22.9 | 8.94 | 272 | 10.2 | 365.4 | 0.14 | - | -
Griffin Ck. @ I-5 | E22 | CPT, CNTY | 2018-08-29 | 15:51 | 19.5 | 8.19 | 269.5 | 11.8 | 344.8 | 0.088 | - | -
Jackson Ck. @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2018-08-29 | 15:34 | 19.1 | 8 | 228.1 | 10.5 | 1986.3 | 0.2 | - | -
Bear Creek at Kirtland Rd. | E24 | CNTY, All | 2018-08-29 | 16:21 | 21.4 | 8.46 | 259.7 | 10.7 | 613.1 | 0.146 | - | -
E16 - Griffin Ck. @ Beall Lane | DUP 1 | JVLLE, CPT, CNTY | 2018-08-29 | 9:00 | 16.7 | 7.99 | 241.3 | 13.4 | 290.9 | 0.077 | - | -
E10 - MID Diversion at Suncrest Rd | DUP 2 | MID, CNTY | 2018-08-29 | 10:44 | 17 | 8.01 | 170.3 | 5.62 | 1553.1 | 0.061 | - | -
Bear Creek at Kirtland Rd. QA/QC | QA/QC1 | CNTY, All
Rogue River, Hwy 234 in GH. QA/QC | QA/QC2 | CNTY, All
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)

## September 2018
Site Description | Site # | Jurisdictions affected | Sample Date | Time of Day | Temp. (Celsius) | pH | Conductivity (umho/cm) | Turbidity (ntu's) | E.coli (mpn) | Total phosphorus (mg/l) | Ammonia-Nitrate (mg/l) | Ammonia (mg/l)
Walker Creek at Belle Fiore | E1 | ASH, CNTY | 2018-09-24 | 13:27 | 13.7 | 7.82 | 237.9 | 20.4 | 461.1 | 0.167 | - | -
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2018-09-24 | 13:42 | 13.3 | 7.91 | 201.4 | 24.1 | 488.4 | 0.164 | - | -
Ashland Ck. @ Granite St. | E4 | ASH, CNTY | 2018-09-24 | 12:26 | 12.2 | 7.83 | 80.7 | 0.92 | 22.6 | 0.07 | - | 0.192
Ashland Creek below STP | E5 | ASH, CNTY | 2018-09-24 | 11:59 | 17.7 | 7.78 | 323.3 | 4.11 | 137.6 | 0.061 | - | 0.185
TID canal at Eagle Mill Rd | E6 | TID, ASH, CNTY | 2018-09-24 | 11:42 | 14 | 7.66 | 217.9 | 105 | 116.9 | 0.331 | - | - | Not flowing.
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2018-09-24 | 11:23 | 13.2 | 8.14 | 200.5 | 4.83 | 260.2 | 0.052 | - | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2018-09-24 | 11:10 | 12.2 | 7.98 | 193.2 | 5.57 | 235.9 | 0.053 | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2018-09-24 | 10:51 | 12.6 | 7.86 | 221.9 | 4.03 | 378.4 | 0.05 | - | -
MID Diversion at Suncrest Rd | E10 | MID, CNTY | 2018-09-24 | 10:34 | 12.5 | 7.53 | 240.6 | 5.83 | 866.4 | 0.059 | - | - | Not flowing.
Bear Ck. @ B.H. Prk (Phoenix) | E11 | PHO, CNTY | 2018-09-24 | 10:16 | 12.5 | 8 | 256.3 | 5.94 | 547.5 | 0.083 | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2018-09-24 | 10:02 | 12.1 | 8.23 | 262 | 6.18 | 613.1 | 0.066 | - | -
Bear Ck. @ JNC (S.Medford) | E13 | MED, CNTY | 2018-09-24 | 9:45 | 12.3 | 8.18 | 258.3 | 8.7 | 461.1 | 0.067 | - | -
Bear Ck. @ 9th st. in Medford | E14 | MED, CNTY | 2018-09-24 | 14:15 | 15.2 | 8.5 | 286.8 | 9.38 | 387.3 | 0.075 | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY
Griffin Ck. @ Beall Lane | E16 | JVLLE, CPT, CNTY | 2018-09-24 | 8:48 | 12.3 | 8 | 273.1 | 14 | 275.5 | 0.069 | - | -
Jackson Ck. @ Beall Lane | E17 | JVLLE, CPT, CNTY | 2018-09-24 | 8:57 | 11.8 | 8.04 | 270.6 | 8.04 | 190.4 |  | - | -
Jackson Ck. @ Jacksonville | E18 | JVLLE, CPT, CNTY
Jackson Ck. @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2018-09-24 | 9:10 | 12.2 | 8 | 226.5 | 4.86 | 1413.6 | 0.067 | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2018-09-24 | 14:52 | 15.6 | 8.61 | 253.7 | 10 | 387.3 | 0.078 | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2018-09-24 | 15:38 | 16.3 | 8.66 | 284.9 | 9.45 | 206.3 | 0.087 | - | -
Griffin Ck. @ I-5 | E22 | CPT, CNTY | 2018-09-24 | 15:40 | 14.9 | 8.18 | 301.5 | 9.71 | 313 | 0.147 | - | -
Jackson Ck. @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2018-09-24 | 15:13 | 13.7 | 7.99 | 283.4 | 38.2 | 727 | 0.17 | - | -
Bear Creek at Kirtland Rd. | E24 | CNTY, All | 2018-09-24 | 16:07 | 16.5 | 8.48 | 282 | 8.58 | 129.6 | 0.08 | - | -
Ashland Ck. @ Granite St. | DUP 1 | ASH, CNTY | 2018-09-24 | 12:30 | 10.8 | 7.93 | 78.4 | 1.25 | 24.3 | 0.069 | - | -
Bear Ck. @ 9th st. in Medford | DUP 2 | MED, CNTY | 2018-09-24 | 14:20 | 15.3 | 8.46 | 287.5 | 7.99 | 517.2 | 0.075 | - | -
Bear Creek at Kirtland Rd. QA/QC | QA/QC1 | CNTY, All | 2018-09-26 | 15:21 | 18 | 8.43 | 330.5 | 30.3 | 156.5 | 0.081 | - | -
Rogue River, Hwy 234 in GH. QA/QC | QA/QC2 | CNTY, All | 2018-09-26 | 16:03 | 15.3 | 8.18 | 73.8 | 19.7 | 5.1 | 0.072 | - | - | Not enough sample in tray - approximate MPN value.
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)

## October 2018
Site Description | Site # | Jurisdictions affected | Sample Date | Time of Day | Temp. (Celsius) | pH | Conductivity (umho/cm) | Turbidity (ntu's) | E.coli (mpn) | Total phosphorus (mg/l) | Ammonia-Nitrate (mg/l) | Ammonia (mg/l)
Walker Creek at Belle Fiore | E1 | ASH, CNTY | 2018-10-22 | 13:28 | 11.1 | 7.44 | 234 | 20.5 | 307.6 | 0.208 | - | -
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2018-10-22 | 13:45 | 11.4 | 7.68 | 216 | 1.55 | 186 | 0.117 | - | -
Ashland Ck. @ Granite St. | E4 | ASH, CNTY | 2018-10-22 | 12:40 | 10.1 | 7.72 | 82.9 | 0.86 | 6.3 | 0.069 | - | 0.12
Ashland Creek below STP | E5 | ASH, CNTY | 2018-10-22 | 12:10 | 15.5 | 7.54 | 326.7 | 1.14 | 71.7 | 0.066 | - | 0.22
TID canal at Eagle Mill Rd | E6 | TID, ASH, CNTY | [10 empty] | Not flowing.
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2018-10-22 | 11:53 | 10.6 | 7.95 | 276.4 | 3.27 | 307.6 | 0.066 | - | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2018-10-22 | 11:34 | 10.6 | 7.53 | 301.3 | 2.97 | 123.6 | 0.058 | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2018-10-22 | 11:15 | 10.9 | 7.79 | 315.3 | 2.55 | 166.9 | 0.05 | - | -
MID Diversion at Suncrest Rd | E10 | MID, CNTY | [10 empty] | Not flowing.
Bear Ck. @ B.H. Prk (Phoenix) | E11 | PHO, CNTY | 2018-10-22 | 10:39 | 10.2 | 8.03 | 324.7 | 4.3 | 517.2 | 0.067 | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2018-10-22 | 10:12 | 9.8 | 8.16 | 324.2 | 4.64 | 866.4 | 0.073 | - | -
Bear Ck. @ JNC (S.Medford) | E13 | MED, CNTY | 2018-10-22 | 9:44 | 9.9 | 7.97 | 328 | 10.3 | 1119.9 | 0.1 | - | -
Bear Ck. @ 9th st. in Medford | E14 | MED, CNTY | 2018-10-22 | 14:14 | 12.2 | 8.39 | 355 | 7.29 | 517.2 | 0.084 | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY
Griffin Ck. @ Beall Lane | E16 | JVLLE, CPT, CNTY | 2018-10-22 | 8:48 | 10.7 | 7.79 | 272.1 | 22 | 344.8 | 0.081 | - | -
Jackson Ck. @ Beall Lane | E17 | JVLLE, CPT, CNTY | 2018-10-22 | 9:03 | 9.5 | 7.89 | 252.3 | 8.1 | 290.9 |  | - | -
Jackson Ck. @ Jacksonville | E18 | JVLLE, CPT, CNTY
Jackson Ck. @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2018-10-22 | 9:14 | 10.5 | 7.8 | 222.9 | 5.95 | 517.2 | 0.076 | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2018-10-22 | 14:40 | 12.6 | 8.55 | 350.9 | 10.2 | 248.9 | 0.112 | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2018-10-22 | 15:18 | 13 | 8.59 | 349.6 | 4.99 | 172.3 | 0.08 | - | -
Griffin Ck. @ I-5 | E22 | CPT, CNTY | 2018-10-22 | 15:24 | 12.4 | 8.13 | 293.9 | 5.45 | 1046.2 | 0.047 | - | -
Jackson Ck. @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2018-10-22 | 14:56 | 9.8 | 7.95 | 271.6 | 22 | 816.4 | 0.168 | - | -
Bear Creek at Kirtland Rd. | E24 | CNTY, All | 2018-10-22 | 15:50 | 12.6 | 8.35 | 344.4 | 5.93 | 178.5 | 0.069 | - | -
Bear Ck. @ Lynn Newbry Park | DUP 1 | TAL, CNTY | 2018-10-22 | 11:17 | 10.9 | 7.81 | 316.2 | 1.69 | 135.4 | 0.058 | - | -
Bear Ck. @ Greenway (S.Talent) | DUP 2 | TAL, CNTY | 2018-10-22 | 11:37 | 10.8 | 7.77 | 282.6 | 2.15 | 204.6 | 0.061 | - | -
Bear Creek at Kirtland Rd. QA/QC | QA/QC1 | CNTY, All
Rogue River, Hwy 234 in GH. QA/QC | QA/QC2 | CNTY, All
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)

## November 2018
Site Description | Site # | Jurisdictions affected | Sample Date | Time of Day | Temp. (Celsius) | pH | Conductivity (umho/cm) | Turbidity (ntu's) | E.coli (mpn) | Total phosphorus (mg/l) | Ammonia-Nitrate (mg/l) | Ammonia (mg/l)
Walker Creek at Belle Fiore | E1 | ASH, CNTY
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2018-11-19 | 13:06 | 8 | 7.53 | 106.7 | 1.87 | 214.3 |  | - | -
Ashland Ck. @ Granite St. | E4 | ASH, CNTY | 2018-11-19 | 12:14 | 5.4 | 7.78 | 74.9 | 1.49 | 2 |  | - | 0.44
Ashland Creek below STP | E5 | ASH, CNTY | 2018-11-19 | 11:42 | 11.8 | 7.53 | 318.4 | 1.53 | 46.4 |  | - | 0.3
TID canal at Eagle Mill Rd | E6 | TID, ASH, CNTY
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2018-11-19 | 11:18 | 5.2 | 8.16 | 218.7 | 2.48 | 113.7 |  | - | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2018-11-19 | 11:03 | 5.5 | 7.86 | 243.2 | 1.96 | 108.6 |  | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2018-11-19 | 10:42 | 5.8 | 7.94 | 260.2 | 1.87 | 63.7 |  | - | -
MID Diversion at Suncrest Rd | E10 | MID, CNTY
Bear Ck. @ B.H. Prk (Phoenix) | E11 | PHO, CNTY | 2018-11-19 | 10:24 | 5.2 | 7.88 | 272.1 | 3.84 | 119.8 |  | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2018-11-19 | 10:10 | 5 | 8.16 | 272.1 | 2.2 | 116 |  | - | -
Bear Ck. @ JNC (S.Medford) | E13 | MED, CNTY | 2018-11-19 | 9:46 | 5 | 8.08 | 265.5 | 2.64 | 191.8 |  | - | -
Bear Ck. @ 9th st. in Medford | E14 | MED, CNTY | 2018-11-19 | 13:40 | 6.7 | 8.42 | 290.5 | 6.68 | 224.7 |  | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2018-11-19 | 14:02 | 7.4 | 8.47 | 299.8 | 4.83 | 72.8 |  | - | -
Griffin Ck. @ Beall Lane | E16 | JVLLE, CPT, CNTY | 2018-11-19 | 8:53 | 7.3 | 7.95 | 243.6 | 13.5 | 488.4 |  | - | -
Jackson Ck. @ Beall Lane | E17 | JVLLE, CPT, CNTY | 2018-11-19 | 9:03 | 4.5 | 7.91 | 217.5 | 5.19 | 579.4 |  | - | -
Jackson Ck. @ Jacksonville | E18 | JVLLE, CPT, CNTY
Jackson Ck. @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2018-11-19 | 9:16 | 6.5 | 7.64 | 204.4 | 2.61 | 76.6 |  | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2018-11-19 | 14:30 | 6.8 | 8.45 | 276.5 | 6.27 | 123.6 |  | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2018-11-19 | 15:06 | 6.9 | 8.57 | 256.9 | 5.5 | 166.9 |  | - | -
Griffin Ck. @ I-5 | E22 | CPT, CNTY | 2018-11-19 | 15:10 | 8 | 8.05 | 266.3 | 4.28 | 172.2 |  | - | -
Jackson Ck. @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2018-11-19 | 14:44 | 4.1 | 7.92 | 227.2 | 17.9 | 770.1 |  | - | -
Bear Creek at Kirtland Rd. | E24 | CNTY, All | 2018-11-19 | 15:34 | 6.5 | 8.45 | 284.4 | 6.38 | 101.4 |  | - | -
Bear Ck. @ Lynn Newbry Park | DUP 1 | TAL, CNTY | 2018-11-19 | 10:44 | 5.7 | 8 | 258.3 | 2.47 | 56.3 |  | - | -
Bear Ck. @ S. Valley View Rd. | DUP 2 | ASH, CNTY | 2018-11-19 | 11:20 | 5.2 | 8.08 | 218.8 | 2.96 | 79.4 |  | - | -
Bear Creek at Kirtland Rd. QA/QC | QA/QC1 | CNTY, All | 2018-11-07 | 13:58 | 10.1 | 8.34 | 307.5 | 6.74 | 261.3
Rogue River, Hwy 234 in GH. QA/QC | QA/QC2 | CNTY, All | 2018-11-07 | 14:40 | 8 | 7.93 | 63.1 | 4.68 | 13.5
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)

## December 2018
Site Description | Site # | Jurisdictions affected | Sample Date | Time of Day | Temp. (Celsius) | pH | Conductivity (umho/cm) | Turbidity (ntu's) | E.coli (mpn) | Total phosphorus (mg/l) | Ammonia-Nitrate (mg/l) | Ammonia (mg/l)
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2018-12-19 | 12:22 | 7.3 | 7.81 | 287 | 17.1 | 980.4 |  | - | - | Oil sheen on right side facing east.
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2018-12-19 | 12:35 | 5.9 | 7.76 | 73.9 | 4.3 | 135.4 |  | - | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2018-12-19 | 11:50 | 4.7 | 7.88 | 66.5 | 2.7 | 4.1
Ashland Creek below STP | E5 | ASH, CNTY | 2018-12-19 | 11:25 | 8.7 | 7.88 | 211.6 | 3.96 | 1986.3
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2018-12-19 | 11:09 | 6.7 | 8.11 | 150.7 | 5 | 157.6 |  | - | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2018-12-19 | 10:55 | 6.5 | 7.99 | 150.8 | 7.19 | 209.8 |  | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2018-12-19 | 10:37 | 6.8 | 7.98 | 174.7 | 4.35 | 261.3 |  | - | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2018-12-19 | 10:22 | 7 | 7.82 | 201.9 | 5.83 | 172.2 |  | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2018-12-19 | 10:08 | 7.1 | 8.17 | 206.1 | 8.64 | 135.4 |  | - | -
Bear Ck. @ JNC (S.Medford) | E13 | MED, CNTY | 2018-12-19 | 9:50 | 7.3 | 8.06 | 213.8 | 5.22 | 151.5 |  | - | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2018-12-19 | 13:08 | 8.5 | 8.35 | 234.6 | 6.66 | 461.1 |  | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2018-12-19 | 13:30 | 9 | 8.27 | 231.6 | 7.35 | 344.8 |  | - | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2018-12-19 | 9:00 | 10.1 | 7.85 | 272.8 | 10.3 | 325.5 |  | - | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2018-12-19 | 9:08 | 8.4 | 7.92 | 268 | 16.5 | 410.6 |  | - | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2018-12-19 | 9:19 | 8.5 | 7.8 | 216.1 | 6 | 69.1 |  | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2018-12-19 | 13:50 | 8.9 | 8.2 | 210.2 | 6.83 | 162.4 |  | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2018-12-19 | 14:25 | 9 | 8.28 | 202.5 | 6.75 | 146.7 |  | - | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2018-12-19 | 14:29 | 10.2 | 8.01 | 294.4 | 6.64 | 218.7 |  | - | -
Jackson Creek @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2018-12-19 | 14:03 | 8.4 | 7.93 | 257.9 | 21.4 | 686.7 |  | - | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2018-12-19 | 14:50 | 9.1 | 8.18 | 207.8 | 7.16 | 195.1 |  | - | -
Bear Ck. @ 9th St. in Medford | DUP 1 | MED, CNTY | 2018-12-19 | 13:09 | 8.6 | 8.31 | 234.7 | 6.7 | 325.5 |  | - | -
Bear Ck. @ Pine St. (CP) | DUP 2 | CPT, CNTY | 2018-12-19 | 13:51 | 8.9 | 8.19 | 210.7 | 7.13 | 290.9 |  | - | -
Bear Ck. @ Kirtland Rd. QA/QC | QA/QC1 | CNTY, All
Rogue River, Hwy 234 in GH QA/QC | QA/QC2 | CNTY, All
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)

## January 2019
Site Description | Site # | Jurisdictions affected | Sample Date | Time of Day | Temp. (Celsius) | pH | Conductivity (umho/cm) | Turbidity (ntu's) | E.coli (mpn) | Total phosphorus (mg/l) | Ammonia-Nitrate (mg/l) | Ammonia (mg/l)
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2019-01-23 | 12:23 | 5.1 | 7.81 | 110.3 | 10.58 | 20.9 |  | - | -
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2019-01-23 | 12:34 | 4.9 | 7.76 | 84 | 2.14 | 54.6 |  | - | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2019-01-23 | 11:56 | 3.9 | 7.82 | 49.6 | 1.16 | 19.7
Ashland Creek below STP | E5 | ASH, CNTY | 2019-01-23 | 11:35 | 5.9 | 7.69 | 97.2 | 1.69 | 32.7
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2019-01-23 | 11:15 | 5.2 | 7.98 | 123.5 | 5.46 | 128.1 |  | - | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2019-01-23 | 11:02 | 5 | 7.96 | 121.1 | 4.96 | 68.3 |  | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2019-01-23 | 10:46 | 4.9 | 7.87 | 125.9 | 5.55 | 79.8 |  | - | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2019-01-23 | 10:20 | 5.3 | 7.88 | 156.1 | 5.78 | 156.5 |  | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2019-01-23 | 10:04 | 5.2 | 7.98 | 163.2 | 7.29 | 184.2 |  | - | -
Bear Ck. @ JNC (S. Medford) | E13 | MED, CNTY | 2019-01-23 | 9:46 | 5.5 | 7.91 | 173.5 | 8.42 | 131.3 |  | - | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2019-01-23 | 13:05 | 6.7 | 8.19 | 213.9 | 7.69 | 488.4 |  | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2019-01-23 | 13:25 | 7.4 | 8.2 | 226.9 | 7.89 | 218.7 |  | - | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2019-01-23 | 8:47 | 8.5 | 7.9 | 261.9 | 19.24 | 238.2 |  | - | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2019-01-23 | 8:55 | 7.3 | 7.89 | 261.4 | 36.4 | 435.2 |  | - | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2019-01-23 | 9:21 | 7 | 7.77 | 245.2 | 13.31 | 1986.3 |  | - | -
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2019-01-23 | 9:08 | 7.1 | 7.88 | 234.2 | 6.59 | 209.8 |  | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2019-01-23 | 13:43 | 7.2 | 8.11 | 224.3 | 6.98 | 106.3 |  | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2019-01-23 | 14:18 | 7.4 | 8.14 | 230.6 | 6.28 | 90.7 |  | - | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2019-01-23 | 14:23 | 9.6 | 8.03 | 311.1 | 10.21 | 115.3 |  | - | -
Jackson Creek @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2019-01-23 | 13:58 | 8.3 | 7.94 | 277.4 | 21.2 | 198.9 |  | - | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2019-01-23 | 14:46 | 7.8 | 8.05 | 245.8 | 9 | 184.2 |  | - | -
Bear Ck. @ Fern Valley Rd. | DUP 1 | PHO, CNTY | 2019-01-23 | 10:07 | 5.2 | 8.02 | 163.3 | 6.89 | 206.3 |  | - | -
Bear Ck. @ B.H. Park (Phoenix) | DUP 2 | PHO, CNTY | 2019-01-23 | 10:23 | 5.3 | 7.91 | 156.8 | 7.19 | 248.1 |  | - | -
Bear Ck. @ Kirtland Rd. QA/QC | QA/QC1 | CNTY, All | 2019-01-16 | 13:48 | 8.3 | 8.26 | 255.5 | 3.91 | 127.4 |  | - | -
Rogue River, Hwy 234 in GH QA/QC | QA/QC2 | CNTY, All | 2019-01-16 | 14:23 | 6.4 | 7.89 | 65.3 | 2.38 | 11.9 |  | - | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)

## February 2019
Site Description | Site # | Jurisdictions affected | Sample Date | Time of Day | Temp. (Celsius) | pH | Conductivity (umho/cm) | Turbidity (ntu's) | E.coli (mpn) | Total phosphorus (mg/l) | Ammonia-Nitrate (mg/l) | Ammonia (mg/l)
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2019-02-13 | 12:38 | 4.7 | 7.98 | 152 | 8.06 | 75.4 |  | - | -
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2019-02-13 | 12:48 | 4.4 | 7.9 | 149 | 17.89 | 547.5 |  | - | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2019-02-13 | 12:06 | 3.9 | 7.88 | 54.7 | 0 | 1
Ashland Creek below STP | E5 | ASH, CNTY | 2019-02-13 | 11:45 | 6.6 | 7.77 | 162.5 | 3.38 | 209.8
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2019-02-13 | 11:25 | 4.8 | 8.21 | 161.7 | 7.25 | 613.1 |  | - | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2019-02-13 | 11:10 | 4.5 | 8.21 | 152.7 | 8.65 | 686.7 |  | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2019-02-13 | 10:48 | 4.5 | 8.02 | 157.6 | 8.18 | 1299.7 |  | - | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2019-02-13 | 10:33 | 4.8 | 8.14 | 180.8 | 5.35 | 613.1 |  | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2019-02-13 | 10:18 | 4.8 | 8.19 | 194.7 | 5.26 | 613.1 |  | - | -
Bear Ck. @ JNC (S. Medford) | E13 | MED, CNTY | 2019-02-13 | 9:56 | 4.9 | 8.08 | 207.3 | 6.37 | 248.9 |  | - | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2019-02-13 | 13:20 | 5.8 | 8.41 | 220.7 | 7.44 | 290.9 |  | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2019-02-13 | 13:40 | 6.1 | 8.36 | 216.3 | 10.8 | 410.6 |  | - | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2019-02-13 | 8:53 | 7.5 | 7.92 | 254 | 54.7 | 866.4 |  | - | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2019-02-13 | 9:02 | 5 | 7.84 | 203.2 | 69.5 | 866.4 |  | - | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2019-02-13 | 9:32 | 5 | 7.74 | 211.4 | 28.5 | 261.3 |  | - | -
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2019-02-13 | 9:15 | 5.4 | 7.85 | 177.1 | 42.7 | 613.1 |  | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2019-02-13 | 13:56 | 6.2 | 8.31 | 198.5 | 11.19 | 1119.9 |  | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2019-02-13 | 14:49 | 6.4 | 8.29 | 197.2 | 13.59 | 435.2 |  | - | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2019-02-13 | 14:53 | 7.8 | 7.94 | 234 | 40.6 | 579.4 |  | - | -
Jackson Creek @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2019-02-13 | 14:27 | 5.9 | 7.92 | 198.7 | 64.6 | >2419.2 |  | - | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2019-02-13 | 15:15 | 6.2 | 8.05 | 194.4 | 38.9 | 1119.9 |  | - | -
Jackson Creek @ W. Ross Ln. | DUP 1 | JVLLE, CPT, CNTY | 2019-02-13 | 9:16 | 5.4 | 7.81 | 177.3 | 40.4 | 980.4 |  | - | -
Bear Ck. @ JNC (S. Medford) | DUP 2 | MED, CNTY | 2019-02-13 | 9:57 | 4.9 | 8.05 | 207.3 | 6.89 | 272.3 |  | - | -
Bear Ck. @ Kirtland Rd. QA/QC | QA/QC1 | CNTY, All | [8 empty] | - | -
Rogue River, Hwy 234 in GH QA/QC | QA/QC2 | CNTY, All | [8 empty] | - | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)

## March 2019
Site Description | Site # | Jurisdictions affected | Sample Date | Time of Day | Temp. (Celsius) | pH | Conductivity (umho/cm) | Turbidity (ntu's) | E.coli (mpn) | Total phosphorus (mg/l) | Ammonia-Nitrate (mg/l) | Ammonia (mg/l)
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2019-03-14 | 12:44 | 4.3 | 7.83 | 103.7 | 7.92 | 98.7 |  | - | -
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2019-03-14 | 12:55 | 5 | 7.84 | 114 | 0.69 | 26.9 |  | - | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2019-03-14 | 12:17 | 3.7 | 7.84 | 51.7 | 0.14 | 3.1
Ashland Creek below STP | E5 | ASH, CNTY | 2019-03-14 | 11:52 | 6.5 | 7.82 | 134.5 | 0.78 | 44.3
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2019-03-14 | 11:27 | 4.3 | 8.24 | 137.3 | 8.64 | 45.7 |  | - | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2019-03-14 | 11:10 | 3.8 | 8.08 | 135.6 | 5.47 | 34.1 |  | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2019-03-14 | 10:50 | 3.8 | 8.01 | 140 | 4.96 | 32.3 |  | - | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2019-03-14 | 10:33 | 4.2 | 8.05 | 163.1 | 5.65 | 139.6 |  | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2019-03-14 | 10:15 | 4.2 | 8.15 | 166.6 | 4.88 | 152.9 |  | - | -
Bear Ck. @ JNC (S. Medford) | E13 | MED, CNTY | 2019-03-14 | 9:52 | 4.4 | 8.09 | 175.1 | 5.66 | 115.3 |  | - | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2019-03-14 | 13:28 | 7 | 8.67 | 208 | 4.28 | 45.7 |  | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2019-03-14 | 13:51 | 7.6 | 8.75 | 219.3 | 4.01 | 31.8 |  | - | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2019-03-14 | 8:54 | 7 | 7.97 | 252.8 | 8.84 | 43.5 |  | - | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2019-03-14 | 9:02 | 5.4 | 7.98 | 191.3 | 7.98 | 83.9 |  | - | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2019-03-14 | 9:26 | 4.6 | 8.02 | 163.7 | 2.32 | 14.5 |  | - | -
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2019-03-14 | 9:14 | 5.5 | 7.9 | 174.8 | 6.55 | 18.3 |  | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2019-03-14 | 14:05 | 7.8 | 8.77 | 214.1 | 3.58 | 41.3 |  | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2019-03-14 | 14:42 | 8.2 | 8.85 | 220.6 | 2.9 | 21.3 |  | - | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2019-03-14 | 14:47 | 10.1 | 8.29 | 275.9 | 2.5 | 9.6 |  | - | -
Jackson Creek @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2019-03-14 | 14:20 | 8.5 | 8.02 | 219.6 | 14.65 | 32.7 |  | - | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2019-03-14 | 15:13 | 8.7 | 8.49 | 234.6 | 5 | 30.5 |  | - | -
Bear Ck. @ Fern Valley Rd. | DUP 1 | PHO, CNTY | 2019-03-14 | 10:17 | 4.2 | 8.1 | 167.3 | 5.75 | 172.3 |  | - | -
Bear Ck. @ Greenway (S.Talent) | DUP 2 | TAL, CNTY | 2019-03-14 | 11:12 | 3.8 | 8.12 | 135.8 | 5.18 | 30.1 |  | - | -
Bear Ck. @ Kirtland Rd. QA/QC | QA/QC1 | CNTY, All | 2019-03-20 | 13:05 | 11.3 | 8.21 | 181 | 16.26 | 111.9 |  | - | -
Rogue River, Hwy 234 in GH QA/QC | QA/QC2 | CNTY, All | 2019-03-20 | 13:40 | 9.9 | 7.95 | 70.5 | 5.91 | 25.3 |  | - | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)

## April 2019
Site Description | Site # | Jurisdictions affected | Sample Date | Time of Day | Temp. (Celsius) | pH | Conductivity (umho/cm) | Turbidity (ntu's) | E.coli (mpn) | Total phosphorus (mg/l) | Ammonia-Nitrate (mg/l) | Ammonia (mg/l)
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2019-04-11 | 12:49 | 7 | 7.73 | 80 | 35.9 | 45 |  | - | -
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2019-04-11 | 13:00 | 6.7 | 7.67 | 64.4 | 6.08 | 111.9 |  | - | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2019-04-11 | 12:19 | 5.9 | 7.68 | 36.3 | 1.88 | 7.2
Ashland Creek below STP | E5 | ASH, CNTY | 2019-04-11 | 11:55 | 7.1 | 7.64 | 57.2 | 3.5 | 178.5
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2019-04-11 | 11:35 | 7.4 | 7.86 | 86.4 | 14.86 | 178.5 |  | - | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2019-04-11 | 11:15 | 7.4 | 7.86 | 89.5 | 15.48 | 88.6 |  | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2019-04-11 | 10:54 | 7.4 | 7.82 | 92.7 | 17.31 | 78.5 |  | - | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2019-04-11 | 10:34 | 7.6 | 7.84 | 104.4 | 18.9 | 81.6 |  | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2019-04-11 | 10:22 | 7.7 | 7.92 | 105.8 | 20.5 | 344.1 |  | - | -
Bear Ck. @ JNC (S. Medford) | E13 | MED, CNTY | 2019-04-11 | 10:04 | 7.8 | 7.85 | 110.7 | 20.2 | 98.5 |  | - | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2019-04-11 | 13:32 | 8.6 | 8 | 132.1 | 17.73 | 248.1 |  | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2019-04-11 | 13:55 | 9 | 8.04 | 137.5 | 19.05 | 137.4 |  | - | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2019-04-11 | 9:00 | 10.5 | 8.04 | 258.7 | 30.4 | 139.1 |  | - | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2019-04-11 | 9:09 | 9.9 | 7.95 | 219.7 | 14.51 | 183.5 |  | - | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2019-04-11 | 9:37 | 9.2 | 7.89 | 202.3 | 6.48 | 209.8 |  | - | -
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2019-04-11 | 9:21 | 9.6 | 7.89 | 203.2 | 12.11 | 101.4 |  | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2019-04-11 | 14:06 | 9 | 7.95 | 141.3 | 22.3 | 222.4 |  | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2019-04-11 | 14:40 | 9.2 | 7.99 | 146.2 | 19.77 | 139.6 |  | - | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2019-04-11 | 14:45 | 11.3 | 8.14 | 280.7 | 20 | 93.3 |  | - | -
Jackson Creek @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2019-04-11 | 14:20 | 10.8 | 8.07 | 176.5 | 15.27 | 146.7 |  | - | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2019-04-11 | 15:15 | 9.8 | 8.02 | 167.6 | 20.3 | 133.4 |  | - | -
Bear Ck. @ JNC (S. Medford) | DUP 1 | MED, CNTY | 2019-04-11 | 10:06 | 7.8 | 7.85 | 110.5 | 19.82 | 91 |  | - | -
Bear Ck. @ Greenway (S.Talent) | DUP 2 | TAL, CNTY | 2019-04-11 | 11:17 | 7.4 | 7.91 | 89.6 | 15.18 | 118.2 |  | - | -
Bear Ck. @ Kirtland Rd. QA/QC | QA/QC1 | CNTY, All | [8 empty] | - | -
Rogue River, Hwy 234 in GH QA/QC | QA/QC2 | CNTY, All | [8 empty] | - | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)

## May 2019
Site Description | Site # | Jurisdictions affected | Sample Date | Time of Day | Temp. (Celsius) | pH | Conductivity (umho/cm) | Turbidity (ntu's) | E.coli (mpn) | Total phosphorus (mg/l) | Ammonia-Nitrate (mg/l) | Ammonia (mg/l)
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2019-05-23 | 13:15 | 12.8 | 8.01 | 197.3 | 2.01 | 37.9 | 0.053 | - | -
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2019-05-23 | 13:27 | 11.2 | 7.82 | 74.3 | 2.32 | 50.4 | 0.033 | - | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2019-05-23 | 12:46 | 8.8 | 7.7 | 32.5 | 0.25 | <1.0 | 0.016 | 0.182 | -
Ashland Creek below STP | E5 | ASH, CNTY | 2019-05-23 | 12:18 | 10.5 | 7.62 | 69.8 | 1.79 | 18.3 | 0.03 | 0.599 | -
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2019-05-23 | 12:03 | 13 | 8.11 | 155 | 6.13 | 218.7 | 0.063 | - | -
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2019-05-23 | 11:45 | 11.6 | 7.95 | 105.5 | 4.76 | 74.3 | 0.057 | - | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2019-05-23 | 11:25 | 11.4 | 7.84 | 111.6 | 4.39 | 118.7 | 0.053 | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2019-05-23 | 11:05 | 11.7 | 7.73 | 141.1 | 3.97 | 121.1 | 0.059 | - | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2019-05-23 | 10:50 | 11.8 | 7.9 | 146.6 | 5.18 | 1203.3 | 0.063 | - | -
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2019-05-23 | 10:32 | 11.9 | 7.97 | 147 | 8.82 | 325.5 | 0.076 | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2019-05-23 | 10:16 | 11.9 | 7.99 | 140.7 | 12.56 | 365.4 | 0.077 | - | -
Bear Ck. @ JNC (S. Medford) | E13 | MED, CNTY | 2019-05-23 | 9:53 | 12.1 | 7.96 | 149.7 | 9.72 | 920.8 | 0.084 | - | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2019-05-23 | 14:07 | 15.3 | 8.17 | 175 | 18.49 | 325.5 | 0.107 | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2019-05-23 | 14:35 | 16.3 | 8.2 | 189.5 | 15.86 | 410.6 | 0.086 | - | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2019-05-23 | 8:38 | 13.2 | 7.94 | 176.1 | 33.5 | 344.8 | 0.098 | - | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2019-05-23 | 8:48 | 13.1 | 8.04 | 202.6 | 10.12 | 218.7 |  | - | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2019-05-23 | 9:26 | 13.1 | 7.97 | 179.2 | 12.34 | 218.7 | 0.064 | - | -
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2019-05-23 | 9:02 | 13 | 7.93 | 195.7 | 7.37 | 186 | 0.057 | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2019-05-23 | 14:50 | 16.2 | 8.2 | 188.2 | 14.6 | 285.1 | 0.093 | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2019-05-23 | 15:23 | 16.6 | 8.19 | 200.4 | 16.36 | 190.4 | 0.096 | - | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2019-05-23 | 15:30 | 15.1 | 8.02 | 199.5 | 36.7 | 104.6 | 0.113 | - | -
Jackson Creek @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2019-05-23 | 15:05 | 14.9 | 8.03 | 203.9 | 14.26 | 104.6 | 0.093 | - | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2019-05-23 | 16:01 | 16.7 | 8.05 | 208.1 | 21.6 | 161.6 | 0.106 | - | -
Bear Ck. @ JNC (S. Medford) | DUP 1 | MED, CNTY | 2019-05-23 | 9:54 | 12.1 | 7.93 | 149.8 | 10.52 | 1046.2 | 0.08 | - | -
Bear Ck. @ 9th St. in Medford | DUP 2 | MED, CNTY | 2019-05-23 | 14:08 | 15.3 | 8.2 | 175.2 | 14.53 | 248.1 | 0.096 | - | -
Bear Ck. @ Kirtland Rd. QA/QC | QA/QC1 | CNTY, All | - | - | - | - | - | - | - | - | - | -
Rogue River, Hwy 234 in GH QA/QC | QA/QC2 | CNTY, All | - | - | - | - | - | - | - | - | - | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)

## June 2019
Site Description | Site # | Jurisdictions affected | Sample Date | Time of Day | Temp. (Celsius) | pH | Conductivity (umho/cm) | Turbidity (ntu's) | E.coli (mpn) | Total phosphorus (mg/l) | Ammonia-Nitrate (mg/l) | Ammonia (mg/l)
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2019-06-27 | 13:10 | 13.8 | 8.22 | 315.8 | 0.53 | 98.7 | 0.042 | - | -
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2019-06-27 | 13:25 | 13 | 7.92 | 104.6 | 2.92 | 248.1 | 0.052 | - | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2019-06-27 | 12:41 | 12.6 | 7.81 | 43.1 | 0.55 | 8 | 0.023 | 0.117 | -
Ashland Creek below STP | E5 | ASH, CNTY | 2019-06-27 | 12:13 | 16.7 | 7.64 | 187.2 | 0.64 | 64.4 | 0.049 | 0.121 | -
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2019-06-27 | 11:55 | 13 | 8.19 | 134.3 | 8.93 | 547.5 | 0.062 | - | -
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2019-06-27 | 11:34 | 14.1 | 8.09 | 148.5 | 9.09 | 285.1 | 0.066 | - | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2019-06-27 | 11:20 | 13.1 | 8 | 145.8 | 8.42 | 344.8 | 0.074 | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2019-06-27 | 11:02 | 13.7 | 7.86 | 166.1 | 7.89 | 137.6 | 0.065 | - | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2019-06-27 | 10:46 | 13.8 | 8.06 | 179.2 | 10.61 | 517.2 | 0.071 | - | -
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2019-06-27 | 10:25 | 14.6 | 7.93 | 210 | 9.06 | 365.4 | 0.077 | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2019-06-27 | 10:05 | 14.2 | 8.21 | 211.7 | 10.13 | 435.2 | 0.077 | - | -
Bear Ck. @ JNC (S. Medford) | E13 | MED, CNTY | 2019-06-27 | 9:47 | 14.6 | 8.1 | 210.6 | 12.59 | 613.1 | 0.097 | - | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2019-06-27 | 13:58 | 18.6 | 8.76 | 211.1 | 12.71 | 613.1 | 0.084 | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2019-06-27 | 14:20 | 20.4 | 8.88 | 253.8 | 6.97 | 79.8 | 0.077 | - | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2019-06-27 | 8:47 | 15.3 | 8.01 | 231.5 | 14.25 | 178.9 | 0.068 | - | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2019-06-27 | 8:57 | 15.9 | 8.11 | 220.8 | 11.4 | 178.2 |  | - | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2019-06-27 | 9:08 | 16.5 | 8.1 | 203.4 | 2.41 | 54.7 | 0.034 | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2019-06-27 | 14:40 | 20.4 | 9.01 | 245.4 | 12.05 | 67.6 | 0.08 | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2019-06-27 | 15:25 | 19.9 | 9.01 | 256.8 | 10.43 | 517.2 | 0.081 | - | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2019-06-27 | 15:30 | 16.6 | 8.22 | 259 | 8.78 | 139.6 | 0.068 | - | -
Jackson Creek @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2019-06-27 | 14:57 | 17 | 8.11 | 230 | 11.81 | 547.5 | 0.129 | - | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2019-06-27 | 15:57 | 19.9 | 8.46 | 258.4 | 11.36 | 184.2 | 0.101 | - | -
Bear Ck. @ B.H. Park (Phoenix) | DUP 1 | PHO, CNTY | 2019-06-27 | 10:30 | 14.6 | 7.96 | 209.8 | 14.29 | 218.7 | 0.087 | - | -
Bear Ck. @ Lynn Newbry Park | DUP 2 | TAL, CNTY | 2019-06-27 | 11:05 | 13.7 | 7.92 | 169.2 | 8.21 | 155.3 | 0.064 | - | -
Bear Ck. @ Kirtland Rd. QA/QC | QA/QC1 | CNTY, All | [8 empty] | - | -
Rogue River, Hwy 234 in GH QA/QC | QA/QC2 | CNTY, All | [8 empty] | - | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)

## 2019 full
Site Description | Site # | Jurisdictions affected | Sample Date | Time of Day | Temp. (Celsius) | pH | Conductivity (umho/cm) | Turbidity (ntu's) | E.coli (mpn) | Total phosphorus (mg/l) | Ammonia-Nitrate (mg/l) | Ammonia (mg/l)
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2019-01-23 | 12:23 | 5.1 | 7.81 | 110.3 | 10.58 | 20.9 |  | - | -
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2019-01-23 | 12:34 | 4.9 | 7.76 | 84 | 2.14 | 54.6 |  | - | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2019-01-23 | 11:56 | 3.9 | 7.82 | 49.6 | 1.16 | 19.7
Ashland Creek below STP | E5 | ASH, CNTY | 2019-01-23 | 11:35 | 5.9 | 7.69 | 97.2 | 1.69 | 32.7
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2019-01-23 | 11:15 | 5.2 | 7.98 | 123.5 | 5.46 | 128.1 |  | - | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2019-01-23 | 11:02 | 5 | 7.96 | 121.1 | 4.96 | 68.3 |  | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2019-01-23 | 10:46 | 4.9 | 7.87 | 125.9 | 5.55 | 79.8 |  | - | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2019-01-23 | 10:20 | 5.3 | 7.88 | 156.1 | 5.78 | 156.5 |  | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2019-01-23 | 10:04 | 5.2 | 7.98 | 163.2 | 7.29 | 184.2 |  | - | -
Bear Ck. @ JNC (S. Medford) | E13 | MED, CNTY | 2019-01-23 | 9:46 | 5.5 | 7.91 | 173.5 | 8.42 | 131.3 |  | - | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2019-01-23 | 13:05 | 6.7 | 8.19 | 213.9 | 7.69 | 488.4 |  | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2019-01-23 | 13:25 | 7.4 | 8.2 | 226.9 | 7.89 | 218.7 |  | - | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2019-01-23 | 8:47 | 8.5 | 7.9 | 261.9 | 19.24 | 238.2 |  | - | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2019-01-23 | 8:55 | 7.3 | 7.89 | 261.4 | 36.4 | 435.2 |  | - | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2019-01-23 | 9:21 | 7 | 7.77 | 245.2 | 13.31 | 1986.3 |  | - | -
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2019-01-23 | 9:08 | 7.1 | 7.88 | 234.2 | 6.59 | 209.8 |  | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2019-01-23 | 13:43 | 7.2 | 8.11 | 224.3 | 6.98 | 106.3 |  | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2019-01-23 | 14:18 | 7.4 | 8.14 | 230.6 | 6.28 | 90.7 |  | - | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2019-01-23 | 14:23 | 9.6 | 8.03 | 311.1 | 10.21 | 115.3 |  | - | -
Jackson Creek @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2019-01-23 | 13:58 | 8.3 | 7.94 | 277.4 | 21.2 | 198.9 |  | - | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2019-01-23 | 14:46 | 7.8 | 8.05 | 245.8 | 9 | 184.2 |  | - | -
Bear Ck. @ Fern Valley Rd. | DUP 1 | PHO, CNTY | 2019-01-23 | 10:07 | 5.2 | 8.02 | 163.3 | 6.89 | 206.3 |  | - | -
Bear Ck. @ B.H. Park (Phoenix) | DUP 2 | PHO, CNTY | 2019-01-23 | 10:23 | 5.3 | 7.91 | 156.8 | 7.19 | 248.1 |  | - | -
Bear Ck. @ Kirtland Rd. QA/QC | QA/QC1 | CNTY, All | 2019-01-16 | 13:48 | 8.3 | 8.26 | 255.5 | 3.91 | 127.4 |  | - | -
Rogue River, Hwy 234 in GH QA/QC | QA/QC2 | CNTY, All | 2019-01-16 | 14:23 | 6.4 | 7.89 | 65.3 | 2.38 | 11.9 |  | - | -
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2019-02-13 | 12:38 | 4.7 | 7.98 | 152 | 8.06 | 75.4 |  | - | -
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2019-02-13 | 12:48 | 4.4 | 7.9 | 149 | 17.89 | 547.5 |  | - | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2019-02-13 | 12:06 | 3.9 | 7.88 | 54.7 | 0 | 1
Ashland Creek below STP | E5 | ASH, CNTY | 2019-02-13 | 11:45 | 6.6 | 7.77 | 162.5 | 3.38 | 209.8
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2019-02-13 | 11:25 | 4.8 | 8.21 | 161.7 | 7.25 | 613.1 |  | - | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2019-02-13 | 11:10 | 4.5 | 8.21 | 152.7 | 8.65 | 686.7 |  | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2019-02-13 | 10:48 | 4.5 | 8.02 | 157.6 | 8.18 | 1299.7 |  | - | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2019-02-13 | 10:33 | 4.8 | 8.14 | 180.8 | 5.35 | 613.1 |  | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2019-02-13 | 10:18 | 4.8 | 8.19 | 194.7 | 5.26 | 613.1 |  | - | -
Bear Ck. @ JNC (S. Medford) | E13 | MED, CNTY | 2019-02-13 | 9:56 | 4.9 | 8.08 | 207.3 | 6.37 | 248.9 |  | - | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2019-02-13 | 13:20 | 5.8 | 8.41 | 220.7 | 7.44 | 290.9 |  | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2019-02-13 | 13:40 | 6.1 | 8.36 | 216.3 | 10.8 | 410.6 |  | - | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2019-02-13 | 8:53 | 7.5 | 7.92 | 254 | 54.7 | 866.4 |  | - | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2019-02-13 | 9:02 | 5 | 7.84 | 203.2 | 69.5 | 866.4 |  | - | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2019-02-13 | 9:32 | 5 | 7.74 | 211.4 | 28.5 | 261.3 |  | - | -
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2019-02-13 | 9:15 | 5.4 | 7.85 | 177.1 | 42.7 | 613.1 |  | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2019-02-13 | 13:56 | 6.2 | 8.31 | 198.5 | 11.19 | 1119.9 |  | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2019-02-13 | 14:49 | 6.4 | 8.29 | 197.2 | 13.59 | 435.2 |  | - | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2019-02-13 | 14:53 | 7.8 | 7.94 | 234 | 40.6 | 579.4 |  | - | -
Jackson Creek @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2019-02-13 | 14:27 | 5.9 | 7.92 | 198.7 | 64.6 | >2419.2 |  | - | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2019-02-13 | 15:15 | 6.2 | 8.05 | 194.4 | 38.9 | 1119.9 |  | - | -
Jackson Creek @ W. Ross Ln. | DUP 1 | JVLLE, CPT, CNTY | 2019-02-13 | 9:16 | 5.4 | 7.81 | 177.3 | 40.4 | 980.4 |  | - | -
Bear Ck. @ JNC (S. Medford) | DUP 2 | MED, CNTY | 2019-02-13 | 9:57 | 4.9 | 8.05 | 207.3 | 6.89 | 272.3 |  | - | -
Bear Ck. @ Kirtland Rd. QA/QC | QA/QC1 | CNTY, All | [8 empty] | - | -
Rogue River, Hwy 234 in GH QA/QC | QA/QC2 | CNTY, All | [8 empty] | - | -
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2019-03-14 | 12:44 | 4.3 | 7.83 | 103.7 | 7.92 | 98.7 |  | - | -
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2019-03-14 | 12:55 | 5 | 7.84 | 114 | 0.69 | 26.9 |  | - | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2019-03-14 | 12:17 | 3.7 | 7.84 | 51.7 | 0.14 | 3.1
Ashland Creek below STP | E5 | ASH, CNTY | 2019-03-14 | 11:52 | 6.5 | 7.82 | 134.5 | 0.78 | 44.3
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2019-03-14 | 11:27 | 4.3 | 8.24 | 137.3 | 8.64 | 45.7 |  | - | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2019-03-14 | 11:10 | 3.8 | 8.08 | 135.6 | 5.47 | 34.1 |  | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2019-03-14 | 10:50 | 3.8 | 8.01 | 140 | 4.96 | 32.3 |  | - | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2019-03-14 | 10:33 | 4.2 | 8.05 | 163.1 | 5.65 | 139.6 |  | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2019-03-14 | 10:15 | 4.2 | 8.15 | 166.6 | 4.88 | 152.9 |  | - | -
Bear Ck. @ JNC (S. Medford) | E13 | MED, CNTY | 2019-03-14 | 9:52 | 4.4 | 8.09 | 175.1 | 5.66 | 115.3 |  | - | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2019-03-14 | 13:28 | 7 | 8.67 | 208 | 4.28 | 45.7 |  | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2019-03-14 | 13:51 | 7.6 | 8.75 | 219.3 | 4.01 | 31.8 |  | - | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2019-03-14 | 8:54 | 7 | 7.97 | 252.8 | 8.84 | 43.5 |  | - | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2019-03-14 | 9:02 | 5.4 | 7.98 | 191.3 | 7.98 | 83.9 |  | - | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2019-03-14 | 9:26 | 4.6 | 8.02 | 163.7 | 2.32 | 14.5 |  | - | -
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2019-03-14 | 9:14 | 5.5 | 7.9 | 174.8 | 6.55 | 18.3 |  | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2019-03-14 | 14:05 | 7.8 | 8.77 | 214.1 | 3.58 | 41.3 |  | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2019-03-14 | 14:42 | 8.2 | 8.85 | 220.6 | 2.9 | 21.3 |  | - | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2019-03-14 | 14:47 | 10.1 | 8.29 | 275.9 | 2.5 | 9.6 |  | - | -
Jackson Creek @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2019-03-14 | 14:20 | 8.5 | 8.02 | 219.6 | 14.65 | 32.7 |  | - | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2019-03-14 | 15:13 | 8.7 | 8.49 | 234.6 | 5 | 30.5 |  | - | -
Bear Ck. @ Fern Valley Rd. | DUP 1 | PHO, CNTY | 2019-03-14 | 10:17 | 4.2 | 8.1 | 167.3 | 5.75 | 172.3 |  | - | -
Bear Ck. @ Greenway (S.Talent) | DUP 2 | TAL, CNTY | 2019-03-14 | 11:12 | 3.8 | 8.12 | 135.8 | 5.18 | 30.1 |  | - | -
Bear Ck. @ Kirtland Rd. QA/QC | QA/QC1 | CNTY, All | 2019-03-20 | 13:05 | 11.3 | 8.21 | 181 | 16.26 | 111.9 |  | - | -
Rogue River, Hwy 234 in GH QA/QC | QA/QC2 | CNTY, All | 2019-03-20 | 13:40 | 9.9 | 7.95 | 70.5 | 5.91 | 25.3 |  | - | -
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2019-04-11 | 12:49 | 7 | 7.73 | 80 | 35.9 | 45 |  | - | -
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2019-04-11 | 13:00 | 6.7 | 7.67 | 64.4 | 6.08 | 111.9 |  | - | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2019-04-11 | 12:19 | 5.9 | 7.68 | 36.3 | 1.88 | 7.2
Ashland Creek below STP | E5 | ASH, CNTY | 2019-04-11 | 11:55 | 7.1 | 7.64 | 57.2 | 3.5 | 178.5
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2019-04-11 | 11:35 | 7.4 | 7.86 | 86.4 | 14.86 | 178.5 |  | - | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2019-04-11 | 11:15 | 7.4 | 7.86 | 89.5 | 15.48 | 88.6 |  | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2019-04-11 | 10:54 | 7.4 | 7.82 | 92.7 | 17.31 | 78.5 |  | - | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2019-04-11 | 10:34 | 7.6 | 7.84 | 104.4 | 18.9 | 81.6 |  | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2019-04-11 | 10:22 | 7.7 | 7.92 | 105.8 | 20.5 | 344.1 |  | - | -
Bear Ck. @ JNC (S. Medford) | E13 | MED, CNTY | 2019-04-11 | 10:04 | 7.8 | 7.85 | 110.7 | 20.2 | 98.5 |  | - | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2019-04-11 | 13:32 | 8.6 | 8 | 132.1 | 17.73 | 248.1 |  | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2019-04-11 | 13:55 | 9 | 8.04 | 137.5 | 19.05 | 137.4 |  | - | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2019-04-11 | 9:00 | 10.5 | 8.04 | 258.7 | 30.4 | 139.1 |  | - | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2019-04-11 | 9:09 | 9.9 | 7.95 | 219.7 | 14.51 | 183.5 |  | - | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2019-04-11 | 9:37 | 9.2 | 7.89 | 202.3 | 6.48 | 209.8 |  | - | -
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2019-04-11 | 9:21 | 9.6 | 7.89 | 203.2 | 12.11 | 101.4 |  | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2019-04-11 | 14:06 | 9 | 7.95 | 141.3 | 22.3 | 222.4 |  | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2019-04-11 | 14:40 | 9.2 | 7.99 | 146.2 | 19.77 | 139.6 |  | - | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2019-04-11 | 14:45 | 11.3 | 8.14 | 280.7 | 20 | 93.3 |  | - | -
Jackson Creek @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2019-04-11 | 14:20 | 10.8 | 8.07 | 176.5 | 15.27 | 146.7 |  | - | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2019-04-11 | 15:15 | 9.8 | 8.02 | 167.6 | 20.3 | 133.4 |  | - | -
Bear Ck. @ JNC (S. Medford) | DUP 1 | MED, CNTY | 2019-04-11 | 10:06 | 7.8 | 7.85 | 110.5 | 19.82 | 91 |  | - | -
Bear Ck. @ Greenway (S.Talent) | DUP 2 | TAL, CNTY | 2019-04-11 | 11:17 | 7.4 | 7.91 | 89.6 | 15.18 | 118.2 |  | - | -
Bear Ck. @ Kirtland Rd. QA/QC | QA/QC1 | CNTY, All | [8 empty] | - | -
Rogue River, Hwy 234 in GH QA/QC | QA/QC2 | CNTY, All | [8 empty] | - | -
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2019-05-23 | 13:15 | 12.8 | 8.01 | 197.3 | 2.01 | 37.9 | 0.053 | - | -
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2019-05-23 | 13:27 | 11.2 | 7.82 | 74.3 | 2.32 | 50.4 | 0.033 | - | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2019-05-23 | 12:46 | 8.8 | 7.7 | 32.5 | 0.25 | <1.0 | 0.016 | 0.182 | -
Ashland Creek below STP | E5 | ASH, CNTY | 2019-05-23 | 12:18 | 10.5 | 7.62 | 69.8 | 1.79 | 18.3 | 0.03 | 0.599 | -
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2019-05-23 | 12:03 | 13 | 8.11 | 155 | 6.13 | 218.7 | 0.063 | - | -
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2019-05-23 | 11:45 | 11.6 | 7.95 | 105.5 | 4.76 | 74.3 | 0.057 | - | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2019-05-23 | 11:25 | 11.4 | 7.84 | 111.6 | 4.39 | 118.7 | 0.053 | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2019-05-23 | 11:05 | 11.7 | 7.73 | 141.1 | 3.97 | 121.1 | 0.059 | - | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2019-05-23 | 10:50 | 11.8 | 7.9 | 146.6 | 5.18 | 1203.3 | 0.063 | - | -
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2019-05-23 | 10:32 | 11.9 | 7.97 | 147 | 8.82 | 325.5 | 0.076 | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2019-05-23 | 10:16 | 11.9 | 7.99 | 140.7 | 12.56 | 365.4 | 0.077 | - | -
Bear Ck. @ JNC (S. Medford) | E13 | MED, CNTY | 2019-05-23 | 9:53 | 12.1 | 7.96 | 149.7 | 9.72 | 920.8 | 0.084 | - | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2019-05-23 | 14:07 | 15.3 | 8.17 | 175 | 18.49 | 325.5 | 0.107 | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2019-05-23 | 14:35 | 16.3 | 8.2 | 189.5 | 15.86 | 410.6 | 0.086 | - | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2019-05-23 | 8:38 | 13.2 | 7.94 | 176.1 | 33.5 | 344.8 | 0.098 | - | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2019-05-23 | 8:48 | 13.1 | 8.04 | 202.6 | 10.12 | 218.7 |  | - | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2019-05-23 | 9:26 | 13.1 | 7.97 | 179.2 | 12.34 | 218.7 | 0.064 | - | -
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2019-05-23 | 9:02 | 13 | 7.93 | 195.7 | 7.37 | 186 | 0.057 | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2019-05-23 | 14:50 | 16.2 | 8.2 | 188.2 | 14.6 | 285.1 | 0.093 | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2019-05-23 | 15:23 | 16.6 | 8.19 | 200.4 | 16.36 | 190.4 | 0.096 | - | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2019-05-23 | 15:30 | 15.1 | 8.02 | 199.5 | 36.7 | 104.6 | 0.113 | - | -
Jackson Creek @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2019-05-23 | 15:05 | 14.9 | 8.03 | 203.9 | 14.26 | 104.6 | 0.093 | - | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2019-05-23 | 16:01 | 16.7 | 8.05 | 208.1 | 21.6 | 161.6 | 0.106 | - | -
Bear Ck. @ JNC (S. Medford) | DUP 1 | MED, CNTY | 2019-05-23 | 9:54 | 12.1 | 7.93 | 149.8 | 10.52 | 1046.2 | 0.08 | - | -
Bear Ck. @ 9th St. in Medford | DUP 2 | MED, CNTY | 2019-05-23 | 14:08 | 15.3 | 8.2 | 175.2 | 14.53 | 248.1 | 0.096 | - | -
Bear Ck. @ Kirtland Rd. QA/QC | QA/QC1 | CNTY, All | - | - | - | - | - | - | - | - | - | -
Rogue River, Hwy 234 in GH QA/QC | QA/QC2 | CNTY, All | - | - | - | - | - | - | - | - | - | -
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2019-06-27 | 13:10 | 13.8 | 8.22 | 315.8 | 0.53 | 98.7 | 0.042 | - | -
Emigrant Creek @ Gun Club | E2 | ASH, CNTY
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2019-06-27 | 13:25 | 13 | 7.92 | 104.6 | 2.92 | 248.1 | 0.052 | - | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2019-06-27 | 12:41 | 12.6 | 7.81 | 43.1 | 0.55 | 8 | 0.023 | 0.117 | -
Ashland Creek below STP | E5 | ASH, CNTY | 2019-06-27 | 12:13 | 16.7 | 7.64 | 187.2 | 0.64 | 64.4 | 0.049 | 0.121 | -
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2019-06-27 | 11:55 | 13 | 8.19 | 134.3 | 8.93 | 547.5 | 0.062 | - | -
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2019-06-27 | 11:34 | 14.1 | 8.09 | 148.5 | 9.09 | 285.1 | 0.066 | - | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2019-06-27 | 11:20 | 13.1 | 8 | 145.8 | 8.42 | 344.8 | 0.074 | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2019-06-27 | 11:02 | 13.7 | 7.86 | 166.1 | 7.89 | 137.6 | 0.065 | - | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2019-06-27 | 10:46 | 13.8 | 8.06 | 179.2 | 10.61 | 517.2 | 0.071 | - | -
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2019-06-27 | 10:25 | 14.6 | 7.93 | 210 | 9.06 | 365.4 | 0.077 | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2019-06-27 | 10:05 | 14.2 | 8.21 | 211.7 | 10.13 | 435.2 | 0.077 | - | -
Bear Ck. @ JNC (S. Medford) | E13 | MED, CNTY | 2019-06-27 | 9:47 | 14.6 | 8.1 | 210.6 | 12.59 | 613.1 | 0.097 | - | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2019-06-27 | 13:58 | 18.6 | 8.76 | 211.1 | 12.71 | 613.1 | 0.084 | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2019-06-27 | 14:20 | 20.4 | 8.88 | 253.8 | 6.97 | 79.8 | 0.077 | - | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2019-06-27 | 8:47 | 15.3 | 8.01 | 231.5 | 14.25 | 178.9 | 0.068 | - | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2019-06-27 | 8:57 | 15.9 | 8.11 | 220.8 | 11.4 | 178.2 |  | - | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2019-06-27 | 9:08 | 16.5 | 8.1 | 203.4 | 2.41 | 54.7 | 0.034 | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2019-06-27 | 14:40 | 20.4 | 9.01 | 245.4 | 12.05 | 67.6 | 0.08 | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2019-06-27 | 15:25 | 19.9 | 9.01 | 256.8 | 10.43 | 517.2 | 0.081 | - | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2019-06-27 | 15:30 | 16.6 | 8.22 | 259 | 8.78 | 139.6 | 0.068 | - | -
Jackson Creek @ Blackwell Rd. | E23 | JVLLE, CPT, CNTY | 2019-06-27 | 14:57 | 17 | 8.11 | 230 | 11.81 | 547.5 | 0.129 | - | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2019-06-27 | 15:57 | 19.9 | 8.46 | 258.4 | 11.36 | 184.2 | 0.101 | - | -
Bear Ck. @ B.H. Park (Phoenix) | DUP 1 | PHO, CNTY | 2019-06-27 | 10:30 | 14.6 | 7.96 | 209.8 | 14.29 | 218.7 | 0.087 | - | -
Bear Ck. @ Lynn Newbry Park | DUP 2 | TAL, CNTY | 2019-06-27 | 11:05 | 13.7 | 7.92 | 169.2 | 8.21 | 155.3 | 0.064 | - | -
Bear Ck. @ Kirtland Rd. QA/QC | QA/QC1 | CNTY, All | [8 empty] | - | -
Rogue River, Hwy 234 in GH QA/QC | QA/QC2 | CNTY, All | [8 empty] | - | -