## Stormdrain Data - 2020-2021
2020-2021 - Stormdrain Data | [11 empty] | 2020-2021 - Stormdrain Data
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity |  | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2020-08-01 | Dry Weather | SD17 | 12:38 | 19.6 | 14.8 | 1.048 | 4.818 | 2.05 | 7.67 | 375.2 |  | 2020-08-01 | Dry Weather | SD9 | 13:20 | 21.5 | 2419.2 | 0.263 | 5.26 | 8.84 | 8.1 | 365 | >2419.2
2020-11-01 | First Flush | SD17 | 14:25 | 9.9 | 131.7 | 0.845 | 3.479 | 5.16 | 6.9 | 247.8 |  | 2020-11-01 | First Flush | SD9 | 15:15 | 15.2 | 2419.2 | 0.299 | 7.121 | 14.66 | 7.06 | 231.6 | >2419.2
2021-02-01 | Wet Weather | SD17 | 13:45 | 8.2 | 23.1 | 0.979 | 3.413 | 1.51 | 7.29 | 89.7 |  | 2021-02-01 | Wet Weather | SD9 | 14:40 | 10.8 | 2419.2 | 0.207 | 6.279 | 19.11 | 7.93 | 138.1 | >2419.2
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity |  | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2020-08-01 | Dry Weather | SD18 | - | - | - | - | - | - | - | - |  | 2020-08-01 | Dry Weather | SD10 | 13:55 | 20.1 | 1553.1 | 0.205 | 3.74 | 0.27 | 8.01 | 428.8
2020-11-01 | First Flush | SD18 | 14:10 | 10.5 | 2419.2 | 0.315 | 5.195 | 4.53 | 7.16 | 142.6 | >2419.2 | 2020-11-01 | First Flush | SD10 | 15:30 | 15.1 | 2419.2 | 0.183 | 4.383 | 15.83 | 7.1 | 233.5 | >2419.2
2021-02-01 | Wet Weather | SD18 | - | - | - | - | - | - | - | - |  | 2021-02-01 | Wet Weather | SD10 | 15:10 | 11 | 1046.2 | 0.195 | 4.178 | 40.6 | 7.58 | 201
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity |  | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2020-08-01 | Dry Weather | SD19 | 12:10 | 19.5 | 648.8 | 0.146 | 4.474 | 0.56 | 7.85 | 140 |  | 2020-08-01 | Dry Weather | SD11 | - | - | - | - | - | - | - | -
2020-11-01 | First Flush | SD19 | 13:45 | 10.6 | 275.5 | 0.216 | 4.624 | 8.28 | 7.23 | 135 |  | 2020-11-01 | First Flush | SD11 | 15:50 | 13 | 1732.9 | 0.9 | 3.551 | 6 | 7.23 | 191.4
2021-02-01 | Wet Weather | SD19 | - | - | - | - | - | - | - | - |  | 2021-02-01 | Wet Weather | SD11 | 15:30 | 9.9 | 435.2 | 0.17 | 3.557 | 15.27 | 7.69 | 142.3
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity |  | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2020-08-01 | Dry Weather | SD4 | 11:30 | 19.4 | 15.6 | 0.097 | 4.197 | 1.96 | 8.16 | 489 |  | 2020-08-01 | Dry Weather | SD12 | 10:00 | 16.9 | 435.2 | 0.436 | 5.954 | 257 | 8.08 | 366
2020-11-01 | First Flush | SD4 | 12:45 | 12.2 | 2419.2 | 0.14 | 4.558 | 10 | 6.98 | 213 |  | 2020-11-01 | First Flush | SD12 | 10:45 | 9.9 | 2419.2 | 0.347 | 5.729 | 12.62 | 6.97 | 180.6
2021-02-01 | Wet Weather | SD4 | 12:50 | 8.7 | 131.7 | 0.169 | 3.927 | 65.9 | 7.63 | 210.8 |  | 2021-02-01 | Wet Weather | SD12 | 10:20 | 8.6 | 201.4 | 0.085 | 3.238 | 5.6 | 7.67 | 254.4
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity |  | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2020-08-01 | Dry Weather | SD5 | - | - | - | - | - | - | - | - |  | 2020-08-01 | Dry Weather | SD13 | 9:42 | 22.2 | 648.8 | 0.141 | 4.531 | 1.97 | 8.64 | 382.5
2020-11-01 | First Flush | SD5 | 13:10 | 12.4 | 235.9 | 0.201 | 4.532 | 9.22 | 7.15 | 660 |  | 2020-11-01 | First Flush | SD13 | 10:30 | 11 | 980.4 | 0.172 | 7.809 | 13.76 | 6.98 | 106.1
2021-02-01 | Wet Weather | SD5 | 12:30 | 10.2 | 325.5 | 0.138 | 3.521 | 3.7 | 7.96 | 706 |  | 2021-02-01 | Wet Weather | SD13 | 10:05 | 10.5 | 32.7 | 0.1 | 2.956 | 1.67 | 7.52 | 300
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity |  | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2020-08-01 | Dry Weather | SD6 | 11:03 | 18.7 | 108.1 | 0.392 | 4.413 | 13.71 | 7.95 | 503 |  | 2020-08-01 | Dry Weather | SD14 | 9:05 | 18.3 | 307.6 | 0.202 | 4.86 | 70.9 | 8.11 | 261.4
2020-11-01 | First Flush | SD6 | 12:10 | 12.7 | 461.1 | 0.378 | 4.224 | 7.66 | 7.33 | 452.5 |  | 2020-11-01 | First Flush | SD14 | 9:45 | 10.6 | 2419.2 | 0.221 | 7.558 | 73.7 | 6.95 | 154.4 | >2419.2
2021-02-01 | Wet Weather | SD6 | 12:00 | 10.9 | 29.2 | 0.257 | 3.634 | 8.34 | 8.08 | 458 |  | 2021-02-01 | Wet Weather | SD14 | 9:15 | 9.3 | 1203.3 | 0.14 | 3.557 | 36.3 | 7.99 | 303.9
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity |  | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2020-08-01 | Dry Weather | SD7 | - | - | - | - | - | - | - | - |  | 2020-08-01 | Dry Weather | SD15 | 9:23 | 19.7 | 686.7 | 0.1 | 5.05 | 10.42 | 7.86 | 269.3
2020-11-01 | First Flush | SD7 | 11:55 | 11.5 | 151.5 | 0.419 | 4.573 | 4.9 | 7.1 | 419.8 |  | 2020-11-01 | First Flush | SD15 | 10:10 | 11.6 | 2419.2 | 0.186 | 6.653 | 25.2 | 6.9 | 209.3 | >2419.2
2021-02-01 | Wet Weather | SD7 | 11:45 | 8.1 | 275.5 | 0.269 | 4.122 | 3.82 | 7.83 | 386.1 |  | 2021-02-01 | Wet Weather | SD15 | 9:40 | 10.6 | 920.8 | 0.106 | 3.408 | 13.8 | 7.77 | 321.7
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity |  | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2020-08-01 | Dry Weather | SD8 | 10:25 | 20.7 | 686.7 | 0.097 | 4.567 | 10.65 | 7.93 | 236.5 |  | 2020-08-01 | Dry Weather | SD16 | - | - | - | - | - | - | - | -
2020-11-01 | First Flush | SD8 | 11:15 | 11.9 | 1413.6 | 0.093 | 4.938 | 7.27 | 7.16 | 257.2 |  | 2020-11-01 | First Flush | SD16 | 9:10 | 10.9 | 2419.2 | 0.454 | 8.939 | 16.45 | 6.91 | 118.2 | >2419.2
2021-02-01 | Wet Weather | SD8 | 11:00 | 8.4 | 648.8 | 0.062 | 3.819 | 14.91 | 7.95 | 332 |  | 2021-02-01 | Wet Weather | SD16 | 8:50 | 9.3 | 16.1 | 0.105 | 3.947 | 2.16 | 7.84 | 359

## SD17 - Phosphorus
Site # | Date | Phosphorus (mg/L)
SD17 | 2014-02-12 | 0.657
SD17 | 2014-10-08 | 1.05
SD17 | 2014-12-11 | 0.791
SD17 | 2015-02-02 | 0.794
SD17 | 2015-12-10 | 1
SD17 | 2016-04-14 | 1.57
SD17 | 2016-09-07 | 0.661
SD17 | 2016-10-14 | 0.889
SD17 | 2018-04-12 | 1.02
SD17 | 2018-05-16 | 0.68
SD17 | 2018-10-24 | 0.883
SD17 | 2019-01-17 | 0.84
SD17 | 2019-05-16 | 1.177
SD17 | 2019-10-17 | 0.802
SD17 | 2020-04-22 | 0.972
SD17 | 2020-06-23 | 1.27
SD17 | 2020-08-20 | 1.048
SD17 | 2020-11-18 | 0.845
SD17 | 2021-02-19 | 0.979