## April 2021
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2021-04-21 | 13:20 | 12.4 | 54.32 | 7.78 | 186 | 0.13 | 25.9 | - | -
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2021-04-21 | 13:10 | 11.1 | 51.98 | 7.84 | 119.1 | 2.24 | 235.9 | - | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2021-04-21 | 12:40 | 9 | 48.2 | 7.83 | 61 | 0 | 13.4 | - | -
Ashland Creek below STP | E5 | ASH, CNTY | 2021-04-21 | 12:15 | 13.9 | 57.02 | 7.77 | 227.2 | 1.78 | 222.4 | - | -
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | [10 empty] | Not sampled November - April.
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2021-04-21 | 11:50 | 12.7 | 54.86 | 8.15 | 211.5 | 4.42 | 54.7 | - | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2021-04-21 | 11:35 | 11.4 | 52.52 | 8.18 | 198.2 | 2.42 | 65 | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2021-04-21 | 11:20 | 12 | 53.6 | 8.1 | 211.5 | 2.05 | 48.7 | - | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | [10 empty] | Not sampled November - April.
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2021-04-21 | 11:00 | 11.7 | 53.06 | 8.12 | 220.3 | 4.82 | 196.8 | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2021-04-21 | 10:40 | 11.5 | 52.7 | 8.21 | 218.5 | 16.2 | 238.2 | - | -
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2021-04-21 | 10:10 | 11.1 | 51.98 | 7.98 | 225.7 | 9.91 | 235.9 | - | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2021-04-21 | 13:55 | 15.1 | 59.18 | 8.38 | 267 | 8.71 | 172.5 | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2021-04-21 | 14:20 | 15.6 | 60.08 | 8.59 | 266.8 | 11.99 | 125.9 | - | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2021-04-21 | 9:05 | 11.3 | 52.34 | 8 | 262.7 | 47.8 | 145 | - | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2021-04-21 | 9:15 | 9.3 | 48.74 | 7.95 | 320.5 | 9.59 | 248.9 |  | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2021-04-21 | 9:40 | 10.2 | 50.36 | 7.94 | 252.6 | 0.16 | 106.7 | - | -
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2021-04-21 | 9:25 | 10.9 | 51.62 | 7.93 | 241.7 | 13.08 | 727 | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2021-04-21 | 14:40 | 16.3 | 61.34 | 8.68 | 284 | 12.86 | 137.4 | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2021-04-21 | 15:15 | 17.2 | 62.96 | 8.73 | 293.5 | 12.15 | 99 | - | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2021-04-21 | 15:10 | 14.9 | 58.82 | 8.12 | 293 | 53.1 | 218.7 | - | -
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2021-04-21 | 14:50 | 15.4 | 59.72 | 8.11 | 252.3 | 18.91 | 2419.2 | - | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | [10 empty] | Construction blocking site.
Water Quality Standards | [8 empty] | LE =Lab Error
| May 16th-Oct 14th | Oct 15th-May 15th | Year Round | [5 empty] | FE = Field Error
Temperature | 18.0 C (64.4 F) | 13.0 C (55.4 F) | [6 empty] | ND = not detectable
Turbidity |  |  | 50 ntus
E. Coli (single sample) |  |  | 406 mpn
Total Phosphorus |  |  | 0.08 mg/L
Bold = >2419.2 MPN
Red = exceeding the state standard

## May 2021
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2021-05-27 | 13:30 | 12.7 | 54.86 | 7.63 | 286.5 | 0.1 | 57.6 | 0.045 | -
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2021-05-27 | 13:15 | 12.7 | 54.86 | 7.8 | 189.2 | 28.5 | 517.2 | 0.227 | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2021-05-27 | 12:50 | 11 | 51.8 | 7.84 | 52.8 | 0.05 | 4.1 | 0.03 | 0.139
Ashland Creek below STP | E5 | ASH, CNTY | 2021-05-27 | 12:20 | 13.7 | 56.66 | 7.8 | 138.2 | 15.22 | 235.9 | 0.07 | ND
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2021-05-27 | 12:00 | 12.7 | 54.86 | 7.89 | 155.6 | 16.6 | 325.5 | 0.087 | -
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2021-05-27 | 11:40 | 13.6 | 56.48 | 7.8 | 163.5 | 19.21 | 275.5 | 0.113 | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2021-05-27 | 11:25 | 13.1 | 55.58 | 7.81 | 158.8 | 16.65 | 214.3 | 0.119 | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2021-05-27 | 11:15 | 13.4 | 56.12 | 7.68 | 163.6 | 9.37 | 218.7 | 0.095 | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2021-05-27 | 10:55 | 13.4 | 56.12 | 7.77 | 169 | 15.29 | 1299.7 | 0.113 | -
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2021-05-27 | 10:30 | 14.3 | 57.74 | 7.64 | 190.9 | 15.19 | 816.4 | 0.12 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2021-05-27 | 10:15 | 14.4 | 57.92 | 7.85 | 195 | 19.08 | 517.2 | 0.129 | -
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2021-05-27 | 9:45 | 14.2 | 57.56 | 7.82 | 201 | 37.9 | 686.7 | 0.203 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2021-05-27 | 14:05 | 16.5 | 61.7 | 8.03 | 233.3 | 17.72 | 866.4 | 0.155 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2021-05-27 | 14:40 | 17.7 | 63.86 | 8.06 | 304.9 | 5.34 | 88 | 0.116 | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2021-05-27 | 8:45 | 14.3 | 57.74 | 7.99 | 260.4 | 64.1 | 1986.3 | 0.184 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2021-05-27 | 8:55 | 13.5 | 56.3 | 8 | 276.4 | 17.39 | 579.4 |  | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | [10 empty] | No flow.
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2021-05-27 | 9:10 | 12.7 | 54.86 | 7.89 | 252.9 | 12.69 | 1299.7 | 0.087 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2021-05-27 | 15:00 | 18.7 | 65.66 | 8.5 | 328.3 | 5.94 | 146.7 | 0.117 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2021-05-27 | 15:45 | 17.9 | 64.22 | 8.27 | 314.5 | 17.13 | 101.4 | 0.158 | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2021-05-27 | 15:30 | 15.5 | 59.9 | 8.1 | 292.4 | 40.5 | 261.3 | 0.143 | -
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2021-05-27 | 15:15 | 16.4 | 61.52 | 8.01 | 276 | 19.46 | 727 | 0.218 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2021-05-27 | 16:15 | 17.3 | 63.14 | 8.03 | 306.9 | 15.73 | 139.6 | 0.153 | -
Water Quality Standards | [8 empty] | LE =Lab Error
| May 16th-Oct 14th | Oct 15th-May 15th | Year Round | [5 empty] | FE = Field Error
Temperature | 18.0 C (64.4 F) | 13.0 C (55.4 F) | [6 empty] | ND = not detectable
Turbidity |  |  | 50 ntus
E. Coli (single sample) |  |  | 406 mpn
Total Phosphorus |  |  | 0.08 mg/L
Bold = >2419.2 MPN
Red = exceeding the state standard

## June 2021
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | [10 empty] | No flow.
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2021-06-29 | 10:40 | 19 | 66.2 | 7.49 | 277 | 19.12 | 686.7 | 0.509 | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2021-06-29 | 11:35 | 16 | 60.8 | 7.5 | 64 | 16.27 | 122.3 | 0.157 | ND
Ashland Creek below STP | E5 | ASH, CNTY | 2021-06-29 | 12:05 | 23.3 | 73.94 | 7.9 | 300.7 | 1.78 | 165.8 | 0.145 | 0.189
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2021-06-29 | 12:30 | 18.8 | 65.84 | 8.13 | 140.2 | 11.1 | 365.4 | 0.064 | -
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2021-06-29 | 12:45 | 20.1 | 68.18 | 8.53 | 155.7 | 14.15 | 461.1 | 0.094 | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2021-06-29 | 13:05 | 20.7 | 69.26 | 8.46 | 159.6 | 18.11 | 325.5 | 0.129 | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2021-06-29 | 13:20 | 21.3 | 70.34 | 7.96 | 162 | 10.89 | 410.6 | 0.077 | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2021-06-29 | 13:40 | 22 | 71.6 | 8.79 | 167.2 | 15.06 | 1046.2 | 0.102 | -
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2021-06-29 | 13:55 | 25 | 77 | 8.42 | 195.3 | 16.16 | 461.1 | 0.107 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2021-06-29 | 14:10 | 25.9 | 78.62 | 8.87 | 211.7 | 14.8 | 325.5 | 0.14 | -
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2021-06-29 | 14:30 | 25.3 | 77.54 | 8.33 | 224.1 | 17.18 | 193.5 | 0.146 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2021-06-29 | 9:50 | 22 | 71.6 | 7.87 | 271.8 | 14.09 | 1732.9 | 0.141 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2021-06-29 | 9:20 | 23.1 | 73.58 | 7.89 | 399.9 | 12.26 | 185 | 0.25 | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2021-06-29 | 15:20 | 24.1 | 75.38 | 7.96 | 295.5 | 20.9 | 325.5 | 0.132 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2021-06-29 | 15:10 | 25 | 77 | 8.03 | 291.3 | 30.5 | >2419.2 |  | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | [10 empty] | No flow.
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2021-06-29 | 15:00 | 25 | 77 | 7.87 | 226.5 | 7.02 | 131.4 | 0.074 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2021-06-29 | 9:00 | 21.5 | 70.7 | 7.92 | 399.6 | 5.91 | >2419.2 | 0.203 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | [10 empty] | No access.
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2021-06-29 | 8:26 | 19.8 | 67.64 | 7.91 | 302.2 | 37.5 | 461.1 | 0.157 | -
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2021-06-29 | 7:57 | 20.5 | 68.9 | 7.68 | 291.9 | 17.34 | 488.4 | 0.275 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2021-06-29 | 7:40 | 22.9 | 73.22 | 7.66 | 329.2 | 9.37 | 201.4 | 0.296 | -
Water Quality Standards | [8 empty] | LE =Lab Error
| May 16th-Oct 14th | Oct 15th-May 15th | Year Round | [5 empty] | FE = Field Error
Temperature | 18.0 C (64.4 F) | 13.0 C (55.4 F) | [6 empty] | ND = not detectable
Turbidity |  |  | 50 ntus
E. Coli (single sample) |  |  | 406 mpn
Total Phosphorus |  |  | 0.08 mg/L
Bold = >2419.2 MPN
Red = exceeding the state standard

## Station by Station Data Summary
Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L)
April | E1 | 13:20 | 12.4 | 54.32 | 25.9 | - | April | E10 | - | - | - | - | - | April | E18 | 9:40 | 10.2 | 50.36 | 106.7 | -
May | E1 | 13:30 | 12.7 | 54.86 | 57.6 | 0.045 | May | E10 | 10:55 | 13.4 | 56.12 | 1299.7 | 0.113 | May | E18 | - | - | - | - | -
June | E1 | - | - | - | - | - | June | E10 | 13:40 | 22 | 71.6 | 1046.2 | 0.102 | June | E18 | - | - | - | - | -
April | E3 | 13:10 | 11.1 | 51.98 | 235.9 | - | April | E11 | 11:00 | 11.7 | 53.06 | 196.8 | - | April | E19 | 9:25 | 10.9 | 51.62 | 727 | -
May | E3 | 13:15 | 12.7 | 54.86 | 517.2 | 0.227 | May | E11 | 10:30 | 14.3 | 57.74 | 816.4 | 0.12 | May | E19 | 9:10 | 12.7 | 54.86 | 1299.7 | 0.087
June | E3 | 10:40 | 19 | 66.2 | 686.7 | 0.509 | June | E11 | 13:55 | 25 | 77 | 461.1 | 0.107 | June | E19 | 15:00 | 25 | 77 | 131.4 | 0.074
April | E4 | 12:40 | 9 | 48.2 | 13.4 | - | April | E12 | 10:40 | 11.5 | 52.7 | 238.2 | - | April | E20 | 14:40 | 16.3 | 61.34 | 137.4 | -
May | E4 | 12:50 | 11 | 51.8 | 4.1 | 0.03 | May | E12 | 10:15 | 14.4 | 57.92 | 517.2 | 0.129 | May | E20 | 15:00 | 18.7 | 65.66 | 146.7 | 0.117
June | E4 | 11:35 | 16 | 60.8 | 122.3 | 0.157 | June | E12 | 14:10 | 25.9 | 78.62 | 325.5 | 0.14 | June | E20 | 9:00 | 21.5 | 70.7 | 2419.2 | 0.203
April | E5 | 12:15 | 13.9 | 57.02 | 222.4 | - | April | E13 | 10:10 | 11.1 | 51.98 | 235.9 | - | April | E21 | 15:15 | 17.2 | 62.96 | 99 | -
May | E5 | 12:20 | 13.7 | 56.66 | 235.9 | 0.07 | May | E13 | 9:45 | 14.2 | 57.56 | 686.7 | 0.203 | May | E21 | 15:45 | 17.9 | 64.22 | 101.4 | 0.158
June | E5 | 12:05 | 23.3 | 73.94 | 165.8 | 0.145 | June | E13 | 14:30 | 25.3 | 77.54 | 193.5 | 0.146 | June | E21 | - | - | - | - | -
April | E6 | - | - | - | - | - | April | E14 | 13:55 | 15.1 | 59.18 | 172.5 | - | April | E22 | 15:10 | 14.9 | 58.82 | 218.7 | -
May | E6 | 12:00 | 12.7 | 54.86 | 325.5 | 0.087 | May | E14 | 14:05 | 16.5 | 61.7 | 866.4 | 0.155 | May | E22 | 15:30 | 15.5 | 59.9 | 261.3 | 0.143
June | E6 | 12:30 | 18.8 | 65.84 | 365.4 | 0.064 | June | E14 | 9:50 | 22 | 71.6 | 1732.9 | 0.141 | June | E22 | 8:26 | 19.8 | 67.64 | 461.1 | 0.157
April | E7 | 11:50 | 12.7 | 54.86 | 54.7 | - | April | E15 | 14:20 | 15.6 | 60.08 | 125.9 | - | April | E23 | 14:50 | 15.4 | 59.72 | 2419.2 | -
May | E7 | 11:40 | 13.6 | 56.48 | 275.5 | 0.113 | May | E15 | 14:40 | 17.7 | 63.86 | 88 | 0.116 | May | E23 | 15:15 | 16.4 | 61.52 | 727 | 0.218
June | E7 | 12:45 | 20.1 | 68.18 | 461.1 | 0.094 | June | E15 | 9:20 | 23.1 | 73.58 | 185 | 0.25 | June | E23 | 7:57 | 20.5 | 68.9 | 488.4 | 0.275
April | E8 | 11:35 | 11.4 | 52.52 | 65 | - | April | E16 | 9:05 | 11.3 | 52.34 | 145 | - | April | E24 | - | - | - | - | -
May | E8 | 11:25 | 13.1 | 55.58 | 214.3 | 0.119 | May | E16 | 8:45 | 14.3 | 57.74 | 1986.3 | 0.184 | May | E24 | 16:15 | 17.3 | 63.14 | 139.6 | 0.153
June | E8 | 13:05 | 20.7 | 69.26 | 325.5 | 0.129 | June | E16 | 15:20 | 24.1 | 75.38 | 325.5 | 0.132 | June | E24 | 7:40 | 22.9 | 73.22 | 201.4 | 0.296
April | E9 | 11:20 | 12 | 53.6 | 48.7 | - | April | E17 | 9:15 | 9.3 | 48.74 | 248.9 | -
May | E9 | 11:15 | 13.4 | 56.12 | 218.7 | 0.095 | May | E17 | 8:55 | 13.5 | 56.3 | 579.4 | -
June | E9 | 13:20 | 21.3 | 70.34 | 410.6 | 0.077 | June | E17 | 15:10 | 25 | 77 | 2419.2 | -
Bold = >2419.2 MPN
Red = exceeding the state standard