## October 2020
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L)
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | - | - | - | - | - | - | - | - | - | -
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2020-10-29 | 12:30 | 8 | 46.4 | 7.23 | 167.9 | 0.78 | 461.1 | 0.086 | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2020-10-29 | 13:00 | 8.3 | 46.94 | 7.15 | 77.5 | 0 | 10.9 | 0.059 | 0.165
Ashland Creek below STP | E5 | ASH, CNTY | 2020-10-29 | 13:40 | 14.6 | 58.28 | 7.08 | 310.3 | 8.39 | 29.9 | 0.297 | 0.162
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2020-10-29 | 14:05 | 11.3 | 52.34 | 8.09 | 283.5 | 2.69 | 123.6 | 0.073 | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | - | - | - | - | - | - | - | - | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2020-10-29 | 14:25 | 10.8 | 51.44 | 7.75 | 310.7 | 0.26 | 66.9 | 0.055 | -
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2020-10-29 | 14:55 | 11.1 | 51.98 | 7.51 | 334.9 | 3.27 | 131.3 | 0.088 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2020-10-29 | 15:10 | 11 | 51.8 | 8.08 | 344 | 3.97 | 107.1 | 0.086 | -
Bear Ck. @ JNC (S. Medford) | E13 | MED, CNTY | 2020-10-29 | 15:35 | 10.1 | 50.18 | 7.98 | 325.3 | 2.49 | 172.3 | 0.077 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2020-10-29 | 11:45 | 8.8 | 47.84 | 8.03 | 325.8 | 5.99 | 1119.9 | 0.079 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2020-10-29 | 11:15 | 8.5 | 47.3 | 8.09 | 317.4 | 5.12 | 1986.3 | 0.08 | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2020-10-29 | 16:40 | 12.4 | 54.32 | 7.52 | 294.4 | 9.75 | 648.8 | 0.061 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2020-10-29 | 16:30 | 10.8 | 51.44 | 7.63 | 263.6 | 7.22 | 517.2 |  | -
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2020-10-29 | 16:15 | 11.7 | 53.06 | 7.56 | 237.2 | 2.43 | 77.6 | 0.065 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2020-10-29 | 10:55 | 8.2 | 46.76 | 8.11 | 314.8 | 7.71 | 1299.7 | 0.088 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2020-10-29 | 10:15 | 7.4 | 45.32 | 8.1 | 307.5 | 11.56 | 365.4 | 0.102 | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2020-10-29 | 10:00 | 8.3 | 46.94 | 7.52 | 263.8 | 112 | 980.4 | 0.339 | -
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2020-10-29 | 9:40 | 7.6 | 45.68 | 7.45 | 252.8 | 15.05 | 866.4 | 0.138 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2020-10-29 | 9:25 | 7.4 | 45.32 | 7.84 | 282.1 | 7.91 | 290.9 | 0.094 | -
Bear Ck. @ Table Rock Rd. | DUP 1 | MED, CNTY | 2020-10-29 | 11:20 | 8.5 | 47.3 | 8.09 | 317.4 | 5.61 | 1986.3 | 0.083 | -
Bear Ck. @ Lynn Newbry Park | DUP 2 | TAL, CNTY | 2020-10-29 | 14:30 | 10.9 | 51.62 | 7.81 | 313.1 | 0.52 | 110 | 0.059 | -
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | 2020-10-01 | 12:10 | 17 | 62.6 | 8.54 | 380 | 4.73 | 185 | 0.114 | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | 2020-10-01 | 13:20 | 14.5 | 58.1 | 8.26 | 74 | 1.36 | 30.5 | 0.126 | -
Water Quality Standards | [8 empty] | LE =Lab Error
| May 16th-Oct 14th | Oct 15th-May 15th | Year Round | [5 empty] | FE = Field Error
Temperature | 18.0 C (64.4 F) | 13.0 C (55.4 F) | [6 empty] | ND = not detectable
Turbidity |  |  | 50 ntus
E. Coli (single sample) |  |  | 406 mpn
Bold = >2419.2 MPN
Red = exceeding the state standard

## November 2020
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Ammonia-Nitrate (mg/L)
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | - | - | - | - | - | - | - | - | -
Neil Creek @ Dead Indian | E3 | ASH, CNTY | 2020-11-24 | 11:40 | 6.5 | 43.7 | 7.05 | 97.3 | 0.4 | 32.7 | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2020-11-24 | 12:10 | 5.5 | 41.9 | 7.11 | 72.1 | 0 | 7.4 | ND
Ashland Creek below STP | E5 | ASH, CNTY | 2020-11-24 | 12:35 | 11.9 | 53.42 | 7.13 | 290.3 | 3.83 | 104.6 | ND
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2020-11-24 | 13:05 | 8.4 | 47.12 | 7.56 | 236.9 | 1.21 | 88.2 | -
Bear Ck. @ Greenway (S.Talent) | E8 | TAL, CNTY | 2020-11-24 | 13:25 | 7.8 | 46.04 | 7.6 | 234.7 | 0.92 | 80.9 | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2020-11-24 | 13:50 | 8.3 | 46.94 | 7.36 | 260.4 | 0.79 | 129.6 | -
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2020-11-24 | 14:15 | 8.6 | 47.48 | 7.15 | 290.9 | 2.26 | 71.7 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2020-11-24 | 14:35 | 8.7 | 47.66 | 7.36 | 298.4 | 1.81 | 117.8 | -
Bear Ck. @ JNC (S. Medford) | E13 | MED, CNTY | 2020-11-24 | 14:55 | 8.6 | 47.48 | 7.75 | 297.9 | 3.57 | 90.6 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2020-11-24 | 11:00 | 8 | 46.4 | 7.61 | 308.3 | 4.76 | 1046.2 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | - | - | - | - | - | - | - | - | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2020-11-24 | 16:00 | 10.8 | 51.44 | 7.27 | 283.5 | 6.59 | 150 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2020-11-24 | 15:50 | 9.6 | 49.28 | 7.07 | 243.1 | 8.07 | 1299.7 | -
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2020-11-24 | 15:35 | 10.3 | 50.54 | 7.18 | 234.4 | 1.63 | 80.9 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2020-11-24 | 10:30 | 8.1 | 46.58 | 7.61 | 273.8 | 5.49 | 248.1 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2020-11-24 | 9:55 | 8 | 46.4 | 7.25 | 253.8 | 10.13 | 178.2 | -
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2020-11-24 | 9:45 | 9.3 | 48.74 | 7.32 | 292.3 | 8.49 | 178.5 | -
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2020-11-24 | 9:20 | 7.8 | 46.04 | 7.22 | 273.3 | 13.83 | 770.1 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2020-11-24 | 9:05 | 7.9 | 46.22 | 7.51 | 299.7 | 6.39 | 248.1 | -
Bear Ck. @ S. Valley View Rd. | DUP 1 | ASH, CNTY | 2020-11-24 | 13:07 | 8.5 | 47.3 | 7.56 | 237.4 | 1.08 | 74.3 | -
Bear Ck. @ Greenway (S.Talent) | DUP 2 | TAL, CNTY | 2020-11-24 | 13:27 | 7.8 | 46.04 | 7.6 | 235.9 | 0.24 | 90.7 | -
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | 2020-11-04 | 10:00 | 9.8 | 49.64 | 7.87 | 326.6 | 5.21 | 178.5 | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | 2020-11-04 | 10:45 | 8.3 | 46.94 | 7.05 | 64 | 1.46 | 23.3 | -
Water Quality Standards | [8 empty] | LE =Lab Error
| May 16th-Oct 14th | Oct 15th-May 15th | Year Round | [5 empty] | FE = Field Error
Temperature | 18.0 C (64.4 F) | 13.0 C (55.4 F) | [6 empty] | ND = not detectable
Turbidity |  |  | 50 ntus
E. Coli (single sample) |  |  | 406 mpn
Bold = >2419.2 MPN
Red = exceeding the state standard

## December 2020
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Ammonia-Nitrate (mg/L)
Walker Ck. @ Belle Fiore | E1 | ASH, CNTY | 2020-12-23 | 11:45 | 3.5 | 38.3 | 7.67 | 205.3 | 1.94 | 54.7 | -
Neil Ck. @ Dead Indian | E3 | ASH, CNTY | 2020-12-23 | 12:00 | 3.7 | 38.66 | 7.72 | 93.9 | 0.06 | 32 | -
Ashland Ck. @ Granite St. | E4 | ASH, CNTY | 2020-12-23 | 12:25 | 3.1 | 37.58 | 7.67 | 56.6 | 0 | 1 | ND
Ashland Ck. below STP | E5 | ASH, CNTY | 2020-12-23 | 12:55 | 6.1 | 42.98 | 7.69 | 131.8 | 7.06 | 60.1 | ND
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2020-12-23 | 13:20 | 5 | 41 | 7.97 | 174.5 | 1.84 | 58.3 | -
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2020-12-23 | 13:40 | 4.3 | 39.74 | 8.06 | 169.4 | 1.31 | 52.9 | -
Bear Ck. Lynn Newbry Park | E9 | TAL, CNTY | 2020-12-23 | 13:55 | 4.5 | 40.1 | 7.98 | 179.5 | 1.34 | 55.6 | -
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | - | - | - | - | - | - | - | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2020-12-23 | 14:15 | 5.1 | 41.18 | 8.06 | 213.6 | 1.66 | 137.6 | -
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2020-12-23 | 14:40 | 5.1 | 41.18 | 8.02 | 219.2 | 5.27 | 75.9 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2020-12-23 | 11:15 | 4.7 | 40.46 | 8.06 | 239.4 | 3.88 | 191.8 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2020-12-23 | 10:30 | 4.6 | 40.28 | 8 | 237 | 5.99 | 325.5 | -
Griffin Ck. @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2020-12-23 | 15:35 | 7.7 | 45.86 | 7.72 | 265.9 | 8.34 | 105 | -
Jackson Ck. @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2020-12-23 | 15:20 | 6.5 | 43.7 | 7.81 | 261.6 | 4.33 | 410.6 | -
Jackson Ck. @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2020-12-23 | 15:10 | 8.5 | 47.3 | 7.66 | 217.5 | 3.93 | 62 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2020-12-23 | 10:10 | 5 | 41 | 7.87 | 212.2 | 3.88 | 307.6 | -
Bear Ck. Above Griffin Ck. (CP) | E21 | CPT, CNTY | 2020-12-23 | 9:35 | 5 | 41 | 7.92 | 204 | 5.25 | 218.7 | -
Griffin Ck. @ I-5 | E22 | CPT, CNTY | 2020-12-23 | 9:30 | 6 | 42.8 | 7.62 | 275.8 | 5.11 | 104.6 | -
Jackson Ck. @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2020-12-23 | 9:15 | 4.1 | 39.38 | 7.68 | 255.5 | 10.42 | 1732.9 | -
Bear Creek @ Dean Creek Rd. | E24 | CNTY, All | 2020-12-23 | 9:00 | 4.8 | 40.64 | 7.8 | 234.5 | 5.29 | 235.9 | -
Bear Ck. @ Kirtland Rd. | DUP 1 | CNTY, All | 2020-12-23 | 9:02 | 4.8 | 40.64 | 7.78 | 234.5 | 5.73 | 149.7 | -
Bear Ck. @ Pine St. (CP) | DUP 2 | CPT, CNTY | 2020-12-23 | 10:12 | 5 | 41 | 7.91 | 212.7 | 4.25 | 235.9 | -
Bear Creek @ Kirtland Rd. | QA/QC1 | CNTY, All | - | - | - | - | - | - | - | - | -
Rogue River, Hwy. 234 in GH | QA/QC2 | CNTY, All | - | - | - | - | - | - | - | - | -
Water Quality Standards | [8 empty] | LE =Lab Error
| May 16th-Oct 14th | Oct 15th-May 15th | Year Round | [5 empty] | FE = Field Error
Temperature | 18.0 C (64.4 F) | 13.0 C (55.4 F) | [6 empty] | ND = not detectable
Turbidity |  |  | 50 ntus
E. Coli (single sample) |  |  | 406 mpn
Bold = >2419.2 MPN
Red = exceeding the state standard

## Station by Station Data Summary
Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L)
October | E1 | - | - | - | - | - | October | E12 | 15:10 | 11 | 51.8 | 107.1 | 0.086 | October | E21 | 10:15 | 7.4 | 45.32 | 365.4 | 0.102
November | E1 | - | - | - | - | - | November | E12 | 14:35 | 8.7 | 47.66 | 117.8 | - | November | E21 | 9:55 | 8 | 46.4 | 178.2 | -
December | E1 | 11:45 | 3.5 | 38.3 | 54.7 | - | December | E12 | 14:15 | 5.1 | 41.18 | 137.6 | - | December | E21 | 9:35 | 5 | 41 | 218.7 | -
October | E3 | 12:30 | 8 | 46.4 | 461.1 | 0.086 | October | E13 | 15:35 | 10.1 | 50.18 | 172.3 | 0.077 | October | E22 | 10:00 | 8.3 | 46.94 | 980.4 | 0.339
November | E3 | 11:40 | 6.5 | 43.7 | 32.7 | - | November | E13 | 14:55 | 8.6 | 47.48 | 90.6 | - | November | E22 | 9:45 | 9.3 | 48.74 | 178.5 | -
December | E3 | 12:00 | 3.7 | 38.66 | 32 | - | December | E13 | 14:40 | 5.1 | 41.18 | 75.9 | - | December | E22 | 9:30 | 6 | 42.8 | 104.6 | -
October | E4 | 13:00 | 8.3 | 46.94 | 10.9 | 0.059 | October | E14 | 11:45 | 8.8 | 47.84 | 1119.9 | 0.079 | October | E23 | 9:40 | 7.6 | 45.68 | 866.4 | 0.138
November | E4 | 12:10 | 5.5 | 41.9 | 7.4 | - | November | E14 | 11:00 | 8 | 46.4 | 1046.2 | - | November | E23 | 9:20 | 7.8 | 46.04 | 770.1 | -
December | E4 | 12:25 | 3.1 | 37.58 | 1 | - | December | E14 | 11:15 | 4.7 | 40.46 | 191.8 | - | December | E23 | 9:15 | 4.1 | 39.38 | 1732.9 | -
October | E5 | 13:40 | 14.6 | 58.28 | 29.9 | 0.297 | October | E15 | 11:15 | 8.5 | 47.3 | 1986.3 | 0.08 | October | E24 | 9:25 | 7.4 | 45.32 | 290.9 | 0.094
November | E5 | 12:35 | 11.9 | 53.42 | 104.6 | - | November | E15 | - | - | - | - | - | November | E24 | 9:05 | 7.9 | 46.22 | 248.1 | -
December | E5 | 12:55 | 6.1 | 42.98 | 60.1 | - | December | E15 | 10:30 | 4.6 | 40.28 | 325.5 | - | December | E24 | 9:00 | 4.8 | 40.64 | 235.9 | -
October | E7 | 14:05 | 11.3 | 52.34 | 123.6 | 0.073 | October | E16 | 16:40 | 12.4 | 54.32 | 648.8 | 0.061
November | E7 | 13:05 | 8.4 | 47.12 | 88.2 | - | November | E16 | 16:00 | 10.8 | 51.44 | 150 | -
December | E7 | 13:20 | 5 | 41 | 58.3 | - | December | E16 | 15:35 | 7.7 | 45.86 | 105 | -
October | E8 | - | - | - | - | - | October | E17 | 16:30 | 10.8 | 51.44 | 517.2 | -
November | E8 | 13:25 | 7.8 | 46.04 | 80.9 | - | November | E17 | 15:50 | 9.6 | 49.28 | 1299.7 | -
December | E8 | 13:40 | 4.3 | 39.74 | 52.9 | - | December | E17 | 15:20 | 6.5 | 43.7 | 410.6 | -
October | E9 | 14:25 | 10.8 | 51.44 | 66.9 | 0.055 | October | E19 | 16:15 | 11.7 | 53.06 | 77.6 | 0.065
November | E9 | 13:50 | 8.3 | 46.94 | 129.6 | - | November | E19 | 15:35 | 10.3 | 50.54 | 80.9 | -
December | E9 | 13:55 | 4.5 | 40.1 | 55.6 | - | December | E19 | 15:10 | 8.5 | 47.3 | 62 | -
October | E11 | 14:55 | 11.1 | 51.98 | 131.3 | 0.088 | October | E20 | 10:55 | 8.2 | 46.76 | 1299.7 | 0.088
November | E11 | 14:15 | 8.6 | 47.48 | 71.7 | - | November | E20 | 10:30 | 8.1 | 46.58 | 248.1 | -
December | E11 | - | - | - | - | - | December | E20 | 10:10 | 5 | 41 | 307.6 | -
Bold = >2419.2 MPN
Red = exceeding the state standard