## Summer Season Data - 2020-2021
Summer Season - TMDL | [10 empty] | Summer Season - TMDL | [10 empty] | Summer Season - TMDL
Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E1 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E10 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E18 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month: | Weather (degrees):
May | E1 | 13:30 | 12.7 | 54.86 | 57.6 | 0.045 | Average | 14.6333 | 241.2667 | 0.041333 | May | E10 | 10:55 | 13.4 | 56.12 | 1299.7 | 0.113 | Average | 18.675 | 865.1 | 0.08925 | May | E18 | - | - | - | - | - | Average | #DIV/0! | #DIV/0! | #DIV/0! | May | 75
June | E1 | - | - | - | - | - | Maximum | 15.9 | 547.5 | 0.045 | June | E10 | 13:40 | 22 | 71.6 | 1046.2 | 0.102 | Maximum | 22 | 1299.7 | 0.113 | June | E18 | - | - | - | - | - | Maximum | 0 | 0 | 0 | June | 105
July | E1 | 11:50 | 15.3 | 59.54 | 547.5 | 0.042 | Minimum | 12.7 | 57.6 | 0.037 | July | E10 | 14:35 | 18.7 | 65.66 | 866.4 | 0.077 | Minimum | 13.4 | 248.1 | 0.065 | July | E18 | - | - | - | - | - | Minimum | 0 | 0 | 0 | July | 88
August | E1 | 11:44 | 15.9 | 60.62 | 118.7 | 0.037 | Median | 15.3 | 118.7 | 0.042 | August | E10 | 14:20 | 20.6 | 69.08 | 248.1 | 0.065 | Median | 19.65 | 956.3 | 0.0895 | August | E18 | - | - | - | - | - | Median | #NUM! | #NUM! | #NUM! | August | 93
September | E1 | - | - | - | - | - | Range | 3.2 | 489.9 | 0.008 | September | E10 | - | - | - | - | - | Range | 8.6 | 1051.6 | 0.048 | September | E18 | - | - | - | - | - | Range | 0 | 0 | 0 | September | 96
October | E1 | - | - | - | - | - |  |  |  |  | October | E10 | - | - | - | - | - |  |  |  |  | October | E18 | - | - | - | - | - |  |  |  |  | October | 75
[7 empty] | E3 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | [7 empty] | E11 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | [7 empty] | E19 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L)
May | E3 | 13:15 | 12.7 | 54.86 | 517.2 | 0.227 | Average | 14.9333 | 473.5333 | 0.20233 | May | E11 | 10:30 | 14.3 | 57.74 | 816.4 | 0.12 | Average | 18.5667 | 412.3333 | 0.0985 | May | E19 | 9:10 | 12.7 | 54.86 | 1299.7 | 0.087 | Average | 18.2667 | 295.7833 | 0.070833 | October (10/1/2020) | 89
June | E3 | 10:40 | 19 | 66.2 | 686.7 | 0.509 | Maximum | 19 | 686.7 | 0.509 | June | E11 | 13:55 | 25 | 77 | 461.1 | 0.107 | Maximum | 25 | 816.4 | 0.12 | June | E19 | 15:00 | 25 | 77 | 131.4 | 0.074 | Maximum | 25 | 1299.7 | 0.104 | May (5/12/2021) | 80
July | E3 | 11:38 | 16.3 | 61.34 | 547.5 | 0.082 | Minimum | 8 | 193.5 | 0.082 | July | E11 | 14:50 | 20.5 | 68.9 | 248.9 | 0.116 | Minimum | 11.1 | 129.6 | 0.061 | July | E19 | 15:55 | 20.9 | 69.62 | 67 | 0.056 | Minimum | 11.7 | 65.7 | 0.039
August | E3 | 11:33 | 17.1 | 62.78 | 435.2 | 0.107 | Median | 16.4 | 489.15 | 0.155 | August | E11 | 14:35 | 21.5 | 70.7 | 686.7 | 0.061 | Median | 19.75 | 355 | 0.103 | August | E19 | 15:47 | 21 | 69.8 | 65.7 | 0.039 | Median | 19.6 | 104.5 | 0.0695 | Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
September | E3 | 11:35 | 16.5 | 61.7 | 193.5 | 0.203 | Range | 11 | 493.2 | 0.427 | September | E11 | 14:00 | 19 | 66.2 | 129.6 | 0.099 | Range | 13.9 | 686.8 | 0.059 | September | E19 | 15:00 | 18.3 | 64.94 | 133.3 | 0.104 | Range | 13.3 | 1234 | 0.065 | Red indicates values that exceed state standards.
October | E3 | 12:30 | 8 | 46.4 | 461.1 | 0.086 |  |  |  |  | October | E11 | 14:55 | 11.1 | 51.98 | 131.3 | 0.088 |  |  |  |  | October | E19 | 16:15 | 11.7 | 53.06 | 77.6 | 0.065
[7 empty] | E4 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | [7 empty] | E12 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | [7 empty] | E20 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L)
May | E4 | 12:50 | 11 | 51.8 | 4.1 | 0.03 | Average | 13.35 | 30.9167 | 0.066333 | May | E12 | 10:15 | 14.4 | 57.92 | 517.2 | 0.129 | Average | 18.7667 | 312.6 | 0.10717 | May | E20 | 15:00 | 18.7 | 65.66 | 146.7 | 0.117 | Average | 16.95 | 802.7333 | 0.11917
June | E4 | 11:35 | 16 | 60.8 | 122.3 | 0.157 | Maximum | 16.9 | 122.3 | 0.157 | June | E12 | 14:10 | 25.9 | 78.62 | 325.5 | 0.14 | Maximum | 25.9 | 648.8 | 0.14 | June | E20 | 9:00 | 21.5 | 70.7 | 2419.2 | 0.203 | Maximum | 21.5 | 2419.2 | 0.203
July | E4 | 12:20 | 14.2 | 57.56 | 5.2 | 0.041 | Minimum | 8.3 | 4.1 | 0.03 | July | E12 | 15:07 | 20.8 | 69.44 | 186 | 0.101 | Minimum | 11 | 91 | 0.066 | July | E20 | 10:24 | 18.8 | 65.84 | 272.3 | 0.108 | Minimum | 8.2 | 99.1 | 0.088
August | E4 | 12:15 | 16.9 | 62.42 | 23.3 | 0.035 | Median | 13.95 | 15.3 | 0.05 | August | E12 | 14:53 | 21.6 | 70.88 | 648.8 | 0.066 | Median | 19.85 | 255.75 | 0.111 | August | E20 | 10:20 | 18.7 | 65.66 | 99.1 | 0.1 | Median | 18.7 | 425.85 | 0.104
September | E4 | 12:00 | 13.7 | 56.66 | 19.7 | 0.076 | Range | 8.6 | 118.2 | 0.127 | September | E12 | 14:15 | 18.9 | 66.02 | 91 | 0.121 | Range | 14.9 | 557.8 | 0.074 | September | E20 | 10:05 | 15.8 | 60.44 | 579.4 | 0.099 | Range | 13.3 | 2320.1 | 0.115
October | E4 | 13:00 | 8.3 | 46.94 | 10.9 | 0.059 |  |  |  |  | October | E12 | 15:10 | 11 | 51.8 | 107.1 | 0.086 |  |  |  |  | October | E20 | 10:55 | 8.2 | 46.76 | 1299.7 | 0.088
[7 empty] | E5 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | [7 empty] | E13 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | [7 empty] | E21 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L)
May | E5 | 12:20 | 13.7 | 56.66 | 235.9 | 0.07 | Average | 19 | 190.5833 | 0.129 | May | E13 | 9:45 | 14.2 | 57.56 | 686.7 | 0.203 | Average | 18.58 | 297.28 | 0.1216 | May | E21 | 15:45 | 17.9 | 64.22 | 101.4 | 0.158 | Average | 15.1 | 395.425 | 0.12925
June | E5 | 12:05 | 23.3 | 73.94 | 165.8 | 0.145 | Maximum | 23.3 | 547.5 | 0.297 | June | E13 | 14:30 | 25.3 | 77.54 | 193.5 | 0.146 | Maximum | 25.3 | 686.7 | 0.203 | June | E21 | - | - | - | - | - | Maximum | 17.9 | 770.1 | 0.158
July | E5 | 13:00 | 20.5 | 68.9 | 56.3 | 0.071 | Minimum | 13.7 | 29.9 | 0.07 | July | E13 | 15:25 | 21.5 | 70.7 | 185 | 0.097 | Minimum | 10.1 | 172.3 | 0.077 | July | E21 | 9:48 | 17.4 | 63.32 | 770.1 | 0.131 | Minimum | 7.4 | 101.4 | 0.102
August | E5 | 12:46 | 21.3 | 70.34 | 547.5 | 0.082 | Median | 20.55 | 136.95 | 0.0955 | August | E13 | 15:11 | 21.8 | 71.24 | 248.9 | 0.085 | Median | 21.5 | 193.5 | 0.097 | August | E21 | 9:40 | 17.7 | 63.86 | 344.8 | 0.126 | Median | 17.55 | 355.1 | 0.1285
September | E5 | 12:35 | 20.6 | 69.08 | 108.1 | 0.109 | Range | 9.6 | 517.6 | 0.227 | September | E13 | - | - | - | - | - | Range | 15.2 | 514.4 | 0.126 | September | E21 | - | - | - | - | - | Range | 10.5 | 668.7 | 0.056
October | E5 | 13:40 | 14.6 | 58.28 | 29.9 | 0.297 |  |  |  |  | October | E13 | 15:35 | 10.1 | 50.18 | 172.3 | 0.077 |  |  |  |  | October | E21 | 10:15 | 7.4 | 45.32 | 365.4 | 0.102
[7 empty] | E6 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | [7 empty] | E14 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | [7 empty] | E22 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L)
May | E6 | 12:00 | 12.7 | 54.86 | 325.5 | 0.087 | Average | 17.775 | 304.25 | 0.06925 | May | E14 | 14:05 | 16.5 | 61.7 | 866.4 | 0.155 | Average | 16.6 | 1445.3167 | 0.10883 | May | E22 | 15:30 | 15.5 | 59.9 | 261.3 | 0.143 | Average | 15.15 | 563.1833 | 0.151
June | E6 | 12:30 | 18.8 | 65.84 | 365.4 | 0.064 | Maximum | 21.2 | 435.2 | 0.087 | June | E14 | 9:50 | 22 | 71.6 | 1732.9 | 0.141 | Maximum | 22 | 2419.2 | 0.155 | June | E22 | 8:26 | 19.8 | 67.64 | 461.1 | 0.157 | Maximum | 19.8 | 980.4 | 0.339
July | E6 | 13:20 | 18.4 | 65.12 | 435.2 | 0.074 | Minimum | 12.7 | 90.9 | 0.052 | July | E14 | 11:06 | 17.5 | 63.5 | 1413.6 | 0.104 | Minimum | 8.8 | 866.4 | 0.079 | July | E22 | 9:39 | 16 | 60.8 | 488.4 | 0.085 | Minimum | 8.3 | 261.3 | 0.085
August | E6 | 13:07 | 21.2 | 70.16 | 90.9 | 0.052 | Median | 18.6 | 345.45 | 0.069 | August | E14 | 11:00 | 19.2 | 66.56 | 1119.9 | 0.09 | Median | 17 | 1266.75 | 0.097 | August | E22 | 9:34 | 16.8 | 62.24 | 613.1 | 0.088 | Median | 15.75 | 531.6 | 0.1185
September | E6 | - | - | - | - | - | Range | 8.5 | 344.3 | 0.035 | September | E14 | 10:50 | 15.6 | 60.08 | 2419.2 | 0.084 | Range | 13.2 | 1552.8 | 0.076 | September | E22 | 9:35 | 14.5 | 58.1 | 574.8 | 0.094 | Range | 11.5 | 719.1 | 0.254
October | E6 | - | - | - | - | - |  |  |  |  | October | E14 | 11:45 | 8.8 | 47.84 | 1119.9 | 0.079 |  |  |  |  | October | E22 | 10:00 | 8.3 | 46.94 | 980.4 | 0.339
[7 empty] | E7 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | [7 empty] | E15 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | [7 empty] | E23 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L)
May | E7 | 11:40 | 13.6 | 56.48 | 275.5 | 0.113 | Average | 17.2333 | 260.0667 | 0.087833 | May | E15 | 14:40 | 17.7 | 63.86 | 88 | 0.116 | Average | 17.2167 | 647.0833 | 0.13067 | May | E23 | 15:15 | 16.4 | 61.52 | 727 | 0.218 | Average | 15.7667 | 733.2333 | 0.1825
June | E7 | 12:45 | 20.1 | 68.18 | 461.1 | 0.094 | Maximum | 21.1 | 461.1 | 0.113 | June | E15 | 9:20 | 23.1 | 73.58 | 185 | 0.25 | Maximum | 23.1 | 1986.3 | 0.25 | June | E23 | 7:57 | 20.5 | 68.9 | 488.4 | 0.275 | Maximum | 20.5 | 1203.3 | 0.275
July | E7 | 13:40 | 18.2 | 64.76 | 139.6 | 0.072 | Minimum | 11.3 | 123.6 | 0.072 | July | E15 | 10:42 | 18.6 | 65.48 | 410.6 | 0.134 | Minimum | 8.5 | 88 | 0.08 | July | E23 | 9:17 | 17.8 | 64.04 | 387.3 | 0.137 | Minimum | 7.6 | 387.3 | 0.137
August | E7 | 13:30 | 21.1 | 69.98 | 150 | 0.074 | Median | 18.65 | 212.75 | 0.084 | August | E15 | 10:35 | 19.4 | 66.92 | 166.4 | 0.098 | Median | 18.15 | 297.8 | 0.111 | August | E23 | 9:07 | 18.4 | 65.12 | 727 | 0.145 | Median | 17.1 | 727 | 0.1635
September | E7 | 13:00 | 19.1 | 66.38 | 410.6 | 0.101 | Range | 9.8 | 337.5 | 0.041 | September | E15 | 10:25 | 16 | 60.8 | 1046.2 | 0.106 | Range | 14.6 | 1898.3 | 0.17 | September | E23 | 9:15 | 13.9 | 57.02 | 1203.3 | 0.182 | Range | 12.9 | 816 | 0.138
October | E7 | 14:05 | 11.3 | 52.34 | 123.6 | 0.073 |  |  |  |  | October | E15 | 11:15 | 8.5 | 47.3 | 1986.3 | 0.08 |  |  |  |  | October | E23 | 9:40 | 7.6 | 45.68 | 866.4 | 0.138
[7 empty] | E8 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | [7 empty] | E16 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | [7 empty] | E24 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L)
May | E8 | 11:25 | 13.1 | 55.58 | 214.3 | 0.119 | Average | 18.16 | 172.08 | 0.0944 | May | E16 | 8:45 | 14.3 | 57.74 | 1986.3 | 0.184 | Average | 18.1833 | 597.55 | 0.10333 | May | E24 | 16:15 | 17.3 | 63.14 | 139.6 | 0.153 | Average | 16.3667 | 220.35 | 0.15833
June | E8 | 13:05 | 20.7 | 69.26 | 325.5 | 0.129 | Maximum | 20.7 | 325.5 | 0.129 | June | E16 | 15:20 | 24.1 | 75.38 | 325.5 | 0.132 | Maximum | 24.1 | 1986.3 | 0.184 | June | E24 | 7:40 | 22.9 | 73.22 | 201.4 | 0.296 | Maximum | 22.9 | 365.4 | 0.296
July | E8 | 13:57 | 18.2 | 64.76 | 114.5 | 0.065 | Minimum | 13.1 | 98.5 | 0.065 | July | E16 | 16:25 | 19.5 | 67.1 | 248.9 | 0.1 | Minimum | 12.4 | 114.5 | 0.061 | July | E24 | 9:02 | 17.5 | 63.5 | 365.4 | 0.169 | Minimum | 7.4 | 131.3 | 0.094
August | E8 | 13:45 | 20.7 | 69.26 | 107.6 | 0.075 | Median | 18.2 | 114.5 | 0.084 | August | E16 | 16:10 | 20.2 | 68.36 | 261.3 | 0.078 | Median | 19.05 | 293.4 | 0.089 | August | E24 | 8:50 | 18.1 | 64.58 | 131.3 | 0.121 | Median | 17.4 | 197.45 | 0.137
September | E8 | 13:25 | 18.1 | 64.58 | 98.5 | 0.084 | Range | 7.6 | 227 | 0.064 | September | E16 | 15:30 | 18.6 | 65.48 | 114.5 | 0.065 | Range | 11.7 | 1871.8 | 0.123 | September | E24 | 9:05 | 15 | 59 | 193.5 | 0.117 | Range | 15.5 | 234.1 | 0.202
October | E8 | - | - | - | - | - |  |  |  |  | October | E16 | 16:40 | 12.4 | 54.32 | 648.8 | 0.061 |  |  |  |  | October | E24 | 9:25 | 7.4 | 45.32 | 290.9 | 0.094
[7 empty] | E9 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | [7 empty] | E17 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L)
May | E9 | 11:15 | 13.4 | 56.12 | 218.7 | 0.095 | Average | 16.9 | 188.04 | 0.07 | May | E17 | 8:55 | 13.5 | 56.3 | 579.4 | - | Average | 18.25 | 763.5167 | #DIV/0! | October (10/1/2020) | QA/QC1 (E24) | 12:10 | 17 | 62.6 | 185 | 0.114
June | E9 | 13:20 | 21.3 | 70.34 | 410.6 | 0.077 | Maximum | 21.3 | 410.6 | 0.095 | June | E17 | 15:10 | 25 | 77 | 2419.2 | - | Maximum | 25 | 2419.2 | 0 | October (10/1/2020) | QA/QC2 | 13:20 | 14.5 | 58.1 | 30.5 | 0.126
July | E9 | 14:15 | 18.4 | 65.12 | 142.1 | 0.062 | Minimum | 10.8 | 66.9 | 0.055 | July | E17 | 16:10 | 20.8 | 69.44 | 410.6 | - | Minimum | 10.8 | 218.7 | 0 | May (5/12/2021) | QA/QC1 (E24) | 11:10 | 16.6 | 61.88 | 104.6 | 0.187
August | E9 | 14:03 | 20.6 | 69.08 | 101.9 | 0.061 | Median | 18.4 | 142.1 | 0.062 | August | E17 | 16:00 | 21.1 | 69.98 | 218.7 | - | Median | 19.55 | 476.6 | #NUM! | May (5/12/2021) | QA/QC2 | 11:40 | 14.6 | 58.28 | 36.9 | 0.12
September | E9 | - | - | - | - | - | Range | 10.5 | 343.7 | 0.04 | September | E17 | 15:15 | 18.3 | 64.94 | 436 | - | Range | 14.2 | 2200.5 | 0
October | E9 | 14:25 | 10.8 | 51.44 | 66.9 | 0.055 |  |  |  |  | October | E17 | 16:30 | 10.8 | 51.44 | 517.2 | -

## Summer Exceedances
Summer Exceedance: May 1 - October 31 | [5 empty] | Summer Exceedance: May 1 - October 31 | [5 empty] | Summer Exceedance: May 1 - October 31
Site # | Location | Phosphorus Exceedance at Standard (0.08 mg/L) | Count | WQ % | WQ Grade | Site # | Location | Phosphorus Exceedance at Standard (0.16 mg/L) | Count | WQ % | WQ Grade | Site # | Location | E. coli Exceedance at Standard (406 MPN) | Count | WQ % | WQ Grade
E1 | Walker Ck. @ Belle Fiore | 0% | 0/3 | 100% | A | E1 | Walker Ck. @ Belle Fiore | 0% | 0/3 | 100% | A | E1 | Walker Ck. @ Belle Fiore | 33.33% | 1/3 | 66% | D
E3 | Neil Ck. @ Dead Indian Memorial | 100% | 6/6 | 0% | F | E3 | Neil Ck. @ Dead Indian Memorial | 50% | 3/6 | 50% | F | E3 | Neil Ck. @ Dead Indian Memorial | 83.33% | 5/6 | 17% | F
E4 | Ashland Ck. @ Granite St. | 16.67% | 1/6 | 83% | B | E4 | Ashland Ck. @ Granite St. | 0% | 0/6 | 100% | A | E4 | Ashland Ck. @ Granite St. | 0% | 0/6 | 100% | A
E5 | Ashland Ck. below STP | 66.67% | 4/6 | 33% | F | E5 | Ashland Ck. below STP | 16.67% | 1/6 | 83% | B | E5 | Ashland Ck. below STP | 16.67% | 1/6 | 83% | B
E6 | TID Canal @ Eagle Mill Rd. | 25% | 1/4 | 75% | C | E6 | TID Canal @ Eagle Mill Rd. | 0% | 0/4 | 100% | A | E6 | TID Canal @ Eagle Mill Rd. | 25% | 1/4 | 75% | C
E7 | Bear Ck. @ S. Valley View Rd. | 50% | 3/6 | 50% | F | E7 | Bear Ck. @ S. Valley View Rd. | 0% | 0/6 | 100% | A | E7 | Bear Ck. @ S. Valley View Rd. | 33.33% | 2/6 | 66% | D
E8 | Bear Ck. @ Greenway (S. Talent) | 60% | 3/5 | 40% | F | E8 | Bear Ck. @ Greenway (S. Talent) | 0% | 0/5 | 100% | A | E8 | Bear Ck. @ Greenway (S. Talent) | 0% | 0/5 | 100% | A
E9 | Bear Ck. @ Lynn Newbry Park | 20% | 1/5 | 80% | B | E9 | Bear Ck. @ Lynn Newbry Park | 0% | 0/5 | 100% | A | E9 | Bear Ck. @ Lynn Newbry Park | 20% | 1/5 | 80% | B
E10 | MID Diversion @ Suncrest Rd. | 50% | 2/4 | 50% | F | E10 | MID Diversion @ Suncrest Rd. | 0% | 0/4 | 100% | A | E10 | MID Diversion @ Suncrest Rd. | 75% | 3/4 | 25% | F
E11 | Bear Ck. @ B. H. Park (Phoenix) | 83.33% | 5/6 | 17% | F | E11 | Bear Ck. @ B. H. Park (Phoenix) | 0% | 0/6 | 100% | A | E11 | Bear Ck. @ B. H. Park (Phoenix) | 50% | 3/6 | 50% | F
E12 | Bear Ck. @ Fern Valley Rd. | 83.33% | 5/6 | 17% | F | E12 | Bear Ck. @ Fern Valley Rd. | 0% | 0/6 | 100% | A | E12 | Bear Ck. @ Fern Valley Rd. | 33.33% | 2/6 | 66% | D
E13 | Bear Ck. @ JNC (S. Medford) | 80% | 4/5 | 20% | F | E13 | Bear Ck. @ JNC (S. Medford) | 20% | 1/5 | 80% | B | E13 | Bear Ck. @ JNC (S. Medford) | 20% | 1/5 | 80% | B
E14 | Bear Ck. @ 9th St. (Medford) | 83.33% | 5/6 | 17% | F | E14 | Bear Ck. @ 9th St. (Medford) | 0% | 0/6 | 100% | A | E14 | Bear Ck. @ 9th St. (Medford) | 100% | 6/6 | 0% | F
E15 | Bear Ck. @ Table Rock Rd. | 100% | 6/6 | 0% | F | E15 | Bear Ck. @ Table Rock Rd. | 16.67% | 1/6 | 83% | B | E15 | Bear Ck. @ Table Rock Rd. | 50% | 3/6 | 50% | F
E16 | Griffin Ck. @ Beall Ln. | 50% | 3/6 | 50% | F | E16 | Griffin Ck. @ Beall Ln. | 16.67% | 1/6 | 83% | B | E16 | Griffin Ck. @ Beall Ln. | 33.33% | 2/6 | 66% | D
E17 | Jackson Ck. @ Beall Ln. | - | - | - | - | E17 | Jackson Ck. @ Beall Ln. | - | - | - | - | E17 | Jackson Ck. @ Beall Ln. | 83.33% | 5/6 | 17% | F
E18 | Jackson Ck. @ Jacksonville | - | - | - | - | E18 | Jackson Ck. @ Jacksonville | - | - | - | - | E18 | Jackson Ck. @ Jacksonville | - | - | - | -
E19 | Jackson Ck. @ W. Ross Ln. | 33.33% | 2/6 | 67% | D | E19 | Jackson Ck. @ W. Ross Ln. | 0% | 0/6 | 100% | A | E19 | Jackson Ck. @ W. Ross Ln. | 16.67% | 1/6 | 83% | B
E20 | Bear Ck. @ Pine St. (CP) | 100% | 6/6 | 0% | F | E20 | Bear Ck. @ Pine St. (CP) | 16.67% | 1/6 | 83% | B | E20 | Bear Ck. @ Pine St. (CP) | 50% | 3/6 | 50% | F
E21 | Bear Ck. Above Griffin (CP) | 100% | 4/4 | 0% | F | E21 | Bear Ck. Above Griffin (CP) | 0% | 0/4 | 100% | A | E21 | Bear Ck. Above Griffin (CP) | 25% | 1/4 | 75% | C
E22 | Griffin Ck. @ I-5 | 100% | 6/6 | 0% | F | E22 | Griffin Ck. @ I-5 | 16.67% | 1/6 | 83% | B | E22 | Griffin Ck. @ I-5 | 83.33% | 5/6 | 17% | F
E23 | Jackson Ck. @ Blackwell Rd. | 100% | 6/6 | 0% | F | E23 | Jackson Ck. @ Blackwell Rd. | 50% | 3/6 | 50% | F | E23 | Jackson Ck. @ Blackwell Rd. | 83.33% | 5/6 | 17% | F
E24 | Bear Ck. @ Kirtland Rd. | 100% | 6/6 | 0% | F | E24 | Bear Ck. @ Kirtland Rd. | 33.33% | 2/6 | 67% | D | E24 | Bear Ck. @ Kirtland Rd. | 0% | 0/6 | 100% | A
Summer Exceedance: May 1 - October 31
Site # | Location | Ammonia Exceedance at Standard (0.25 mg/L) | Count | WQ % | WQ Grade
E4 | Ashland Ck. @ Granite St. | 0% | 0/10 | 100% | A
E5 | Ashland Ck. below STP | 20% | 2/10 | 80% | B

## Winter Season Data - 2020-2021
Winter Season - TMDL | [8 empty] | Winter Season - TMDL | [8 empty] | Winter Season - TMDL
Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | E1 | Temp. (C°) | E. coli MPN | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | E10 | Temp. (C°) | E. coli MPN | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | E18 | Temp. (C°) | E. coli MPN | Month: | Weather (degrees):
November | E1 | - | - | - | - | Average | 5.62 | 40.26 | November | E10 | - | - | - | - | Average | #DIV/0! | #DIV/0! | November | E18 | - | - | - | - | Average | 8.2667 | 119.5 | November | 48
December | E1 | 11:45 | 3.5 | 38.3 | 54.7 | Maximum | 12.4 | 72.8 | December | E10 | - | - | - | - | Maximum | 0 | 0 | December | E18 | - | - | - | - | Maximum | 10.2 | 218.7 | December | 48
January | E1 | 11:35 | 2.4 | 36.32 | 33.1 | Minimum | 2.4 | 14.8 | January | E10 | - | - | - | - | Minimum | 0 | 0 | January | E18 | 14:50 | 7.6 | 45.68 | 33.1 | Minimum | 7 | 33.1 | January | 50
February | E1 | 12:10 | 4.3 | 39.74 | 14.8 | Median | 4.3 | 33.1 | February | E10 | - | - | - | - | Median | #NUM! | #NUM! | February | E18 | - | - | - | - | Median | 7.6 | 106.7 | February | 50
March | E1 | 12:45 | 5.5 | 41.9 | 72.8 | Range | 10 | 58 | March | E10 | - | - | - | - | Range | 0 | 0 | March | E18 | 9:20 | 7 | 44.6 | 218.7 | Range | 3.2 | 185.6 | March | 52
April | E1 | 13:20 | 12.4 | 54.32 | 25.9 |  |  |  | April | E10 | - | - | - | - |  |  |  | April | E18 | 9:40 | 10.2 | 50.36 | 106.7 |  |  |  | April | 75
[6 empty] | E3 | Temp. (C°) | E. coli MPN | [6 empty] | E11 | Temp. (C°) | E. coli MPN | [6 empty] | E19 | Temp. (C°) | E. coli MPN
November | E3 | 11:40 | 6.5 | 43.7 | 32.7 | Average | 6.1 | 75.1167 | November | E11 | 14:15 | 8.6 | 47.48 | 71.7 | Average | 8.14 | 121.78 | November | E19 | 15:35 | 10.3 | 50.54 | 80.9 | Average | 9.3 | 214.8167 | November (11/4/2020) | 74
December | E3 | 12:00 | 3.7 | 38.66 | 32 | Maximum | 11.1 | 235.9 | December | E11 | - | - | - | - | Maximum | 11.7 | 196.8 | December | E19 | 15:10 | 8.5 | 47.3 | 62 | Maximum | 10.9 | 727 | March (3/10/2021) | 46
January | E3 | 11:20 | 3.7 | 38.66 | 37.3 | Minimum | 3.7 | 32 | January | E11 | 13:45 | 5.9 | 42.62 | 63.8 | Minimum | 5.9 | 63.8 | January | E19 | 15:00 | 8.3 | 46.94 | 40.4 | Minimum | 8.3 | 40.4
February | E3 | 12:00 | 4.9 | 40.82 | 50.4 | Median | 5.7 | 43.85 | February | E11 | 14:25 | 7.3 | 45.14 | 120.1 | Median | 7.3 | 120.1 | February | E19 | 15:40 | 9.2 | 48.56 | 328.2 | Median | 8.9 | 71.45
March | E3 | 12:40 | 6.7 | 44.06 | 62.4 | Range | 7.4 | 203.9 | March | E11 | 10:25 | 7.2 | 44.96 | 156.5 | Range | 5.8 | 133 | March | E19 | 9:09 | 8.6 | 47.48 | 50.4 | Range | 2.6 | 686.6 | Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
April | E3 | 13:10 | 11.1 | 51.98 | 235.9 |  |  |  | April | E11 | 11:00 | 11.7 | 53.06 | 196.8 |  |  |  | April | E19 | 9:25 | 10.9 | 51.62 | 727 |  |  |  | Red indicates values that exceed state standards.
[6 empty] | E4 | Temp. (C°) | E. coli MPN | [6 empty] | E12 | Temp. (C°) | E. coli MPN | [6 empty] | E20 | Temp. (C°) | E. coli MPN
November | E4 | 12:10 | 5.5 | 41.9 | 7.4 | Average | 5.0333 | 4.96 | November | E12 | 14:35 | 8.7 | 47.66 | 117.8 | Average | 7.5167 | 142.6167 | November | E20 | 10:30 | 8.1 | 46.58 | 248.1 | Average | 8.3667 | 182.7833
December | E4 | 12:25 | 3.1 | 37.58 | 1 | Maximum | 9 | 13.4 | December | E12 | 14:15 | 5.1 | 41.18 | 137.6 | Maximum | 11.5 | 238.2 | December | E20 | 10:10 | 5 | 41 | 307.6 | Maximum | 16.3 | 307.6
January | E4 | 12:00 | 2.8 | 37.04 | <1.0 | Minimum | 2.8 | 1 | January | E12 | 14:05 | 5.2 | 41.36 | 56.5 | Minimum | 5.1 | 56.5 | January | E20 | 10:10 | 4.8 | 40.64 | 172.3 | Minimum | 4.8 | 95.9
February | E4 | 12:35 | 4.4 | 39.92 | 1 | Median | 4.9 | 2 | February | E12 | 14:40 | 7.4 | 45.32 | 95.8 | Median | 7.3 | 127.7 | February | E20 | 10:25 | 6 | 42.8 | 135.4 | Median | 7.05 | 154.85
March | E4 | 12:10 | 5.4 | 41.72 | 2 | Range | 6.2 | 12.4 | March | E12 | 10:05 | 7.2 | 44.96 | 209.8 | Range | 6.4 | 181.7 | March | E20 | 14:45 | 10 | 50 | 95.9 | Range | 11.5 | 211.7
April | E4 | 12:40 | 9 | 48.2 | 13.4 |  |  |  | April | E12 | 10:40 | 11.5 | 52.7 | 238.2 |  |  |  | April | E20 | 14:40 | 16.3 | 61.34 | 137.4
[6 empty] | E5 | Temp. (C°) | E. coli MPN | [6 empty] | E13 | Temp. (C°) | E. coli MPN | [6 empty] | E21 | Temp. (C°) | E. coli MPN
November | E5 | 12:35 | 11.9 | 53.42 | 104.6 | Average | 9.2 | 88.3667 | November | E13 | 14:55 | 8.6 | 47.48 | 90.6 | Average | 7.4667 | 105.95 | November | E21 | 9:55 | 8 | 46.4 | 178.2 | Average | 8.16 | 156.68
December | E5 | 12:55 | 6.1 | 42.98 | 60.1 | Maximum | 13.9 | 222.4 | December | E13 | 14:40 | 5.1 | 41.18 | 75.9 | Maximum | 11.1 | 235.9 | December | E21 | 9:35 | 5 | 41 | 218.7 | Maximum | 17.2 | 218.7
January | E5 | 12:40 | 6.2 | 43.16 | 23.8 | Minimum | 6.1 | 23.8 | January | E13 | 14:25 | 5.2 | 41.36 | 74.4 | Minimum | 5.1 | 25.6 | January | E21 | 9:30 | 4.7 | 40.46 | 196.8 | Minimum | 4.7 | 90.7
February | E5 | 13:10 | 8.2 | 46.76 | 66.3 | Median | 8.55 | 63.2 | February | E13 | 15:00 | 7.5 | 45.5 | 25.6 | Median | 7.4 | 83.25 | February | E21 | 9:50 | 5.9 | 42.62 | 90.7 | Median | 5.9 | 178.2
March | E5 | 11:45 | 8.9 | 48.02 | 53 | Range | 7.8 | 198.6 | March | E13 | 9:45 | 7.3 | 45.14 | 133.3 | Range | 6 | 210.3 | March | E21 | - | - | - | - | Range | 12.5 | 128
April | E5 | 12:15 | 13.9 | 57.02 | 222.4 |  |  |  | April | E13 | 10:10 | 11.1 | 51.98 | 235.9 |  |  |  | April | E21 | 15:15 | 17.2 | 62.96 | 99
[6 empty] | E6 | Temp. (C°) | E. coli MPN | [6 empty] | E14 | Temp. (C°) | E. coli MPN | [6 empty] | E22 | Temp. (C°) | E. coli MPN
November | E6 | - | - | - | - | Average | #DIV/0! | #DIV/0! | November | E14 | 11:00 | 8 | 46.4 | 1046.2 | Average | 7.8667 | 307.2833 | November | E22 | 9:45 | 9.3 | 48.74 | 178.5 | Average | 9.1167 | 132.7667
December | E6 | - | - | - | - | Maximum | 0 | 0 | December | E14 | 11:15 | 4.7 | 40.46 | 191.8 | Maximum | 15.1 | 1046.2 | December | E22 | 9:30 | 6 | 42.8 | 104.6 | Maximum | 14.9 | 218.7
January | E6 | - | - | - | - | Minimum | 0 | 0 | January | E14 | 10:50 | 4.1 | 39.38 | 184.2 | Minimum | 4.1 | 122.3 | January | E22 | 9:25 | 6.3 | 43.34 | 156.5 | Minimum | 6 | 45
February | E6 | - | - | - | - | Median | #NUM! | #NUM! | February | E14 | 11:20 | 5.8 | 42.44 | 126.7 | Median | 6.9 | 178.35 | February | E22 | 9:45 | 7.3 | 45.14 | 93.3 | Median | 8.3 | 130.55
March | E6 | - | - | - | - | Range | 0 | 0 | March | E14 | 14:10 | 9.5 | 49.1 | 122.3 | Range | 11 | 923.9 | March | E22 | 15:24 | 10.9 | 51.62 | 45 | Range | 8.9 | 173.7
April | E6 | - | - | - | - |  |  |  | April | E14 | 13:55 | 15.1 | 59.18 | 172.5 |  |  |  | April | E22 | 15:10 | 14.9 | 58.82 | 218.7
[6 empty] | E7 | Temp. (C°) | E. coli MPN | [6 empty] | E15 | Temp. (C°) | E. coli MPN | [6 empty] | E23 | Temp. (C°) | E. coli MPN
November | E7 | 13:05 | 8.4 | 47.12 | 88.2 | Average | 7.45 | 49.3333 | November | E15 | - | - | - | - | Average | 8.02 | 226.98 | November | E23 | 9:20 | 7.8 | 46.04 | 770.1 | Average | 8.0667 | 925.0333
December | E7 | 13:20 | 5 | 41 | 58.3 | Maximum | 12.7 | 88.2 | December | E15 | 10:30 | 4.6 | 40.28 | 325.5 | Maximum | 15.6 | 328.2 | December | E23 | 9:15 | 4.1 | 39.38 | 1732.9 | Maximum | 15.4 | 2419.2
January | E7 | 13:00 | 5 | 41 | 25.3 | Minimum | 5 | 25.3 | January | E15 | 10:25 | 4.3 | 39.74 | 275.5 | Minimum | 4.3 | 79.8 | January | E23 | 9:05 | 4.6 | 40.28 | 365.4 | Minimum | 4.1 | 76.6
February | E7 | 13:35 | 6.4 | 43.52 | 35 | Median | 6.8 | 44.85 | February | E15 | 10:45 | 5.7 | 42.26 | 328.2 | Median | 5.7 | 275.5 | February | E23 | 9:25 | 5.9 | 42.62 | 186 | Median | 6.85 | 567.75
March | E7 | 11:20 | 7.2 | 44.96 | 34.5 | Range | 7.7 | 62.9 | March | E15 | 14:30 | 9.9 | 49.82 | 79.8 | Range | 11.3 | 248.4 | March | E23 | 15:05 | 10.6 | 51.08 | 76.6 | Range | 11.3 | 2342.6
April | E7 | 11:50 | 12.7 | 54.86 | 54.7 |  |  |  | April | E15 | 14:20 | 15.6 | 60.08 | 125.9 |  |  |  | April | E23 | 14:50 | 15.4 | 59.72 | 2419.2
[6 empty] | E8 | Temp. (C°) | E. coli MPN | [6 empty] | E16 | Temp. (C°) | E. coli MPN | [6 empty] | E24 | Temp. (C°) | E. coli MPN
November | E8 | 13:25 | 7.8 | 46.04 | 80.9 | Average | 6.85 | 64.55 | November | E16 | 16:00 | 10.8 | 51.44 | 150 | Average | 9.7 | 96.0333 | November | E24 | 9:05 | 7.9 | 46.22 | 248.1 | Average | 6.7 | 178.48
December | E8 | 13:40 | 4.3 | 39.74 | 52.9 | Maximum | 11.4 | 145 | December | E16 | 15:35 | 7.7 | 45.86 | 105 | Maximum | 11.3 | 150 | December | E24 | 9:00 | 4.8 | 40.64 | 235.9 | Maximum | 10.1 | 248.1
January | E8 | 13:15 | 4.3 | 39.74 | 22.6 | Minimum | 4.3 | 20.9 | January | E16 | 15:25 | 8.4 | 47.12 | 68.3 | Minimum | 7.7 | 19.7 | January | E24 | 8:55 | 4.8 | 40.64 | 222.4 | Minimum | 4.8 | 58.6
February | E8 | 13:50 | 6.4 | 43.52 | 20.9 | Median | 6.65 | 58.95 | February | E16 | 16:00 | 10.5 | 50.9 | 19.7 | Median | 10 | 96.6 | February | E24 | 9:12 | 5.9 | 42.62 | 127.4 | Median | 5.9 | 222.4
March | E8 | 11:05 | 6.9 | 44.42 | 145 | Range | 7.1 | 124.1 | March | E16 | 8:50 | 9.5 | 49.1 | 88.2 | Range | 3.6 | 130.3 | March | E24 | 15:50 | 10.1 | 50.18 | 58.6 | Range | 5.3 | 189.5
April | E8 | 11:35 | 11.4 | 52.52 | 65 |  |  |  | April | E16 | 9:05 | 11.3 | 52.34 | 145 |  |  |  | April | E24 | - | - | - | -
[6 empty] | E9 | Temp. (C°) | E. coli MPN | [6 empty] | E17 | Temp. (C°) | E. coli MPN
November | E9 | 13:50 | 8.3 | 46.94 | 129.6 | Average | 7.1333 | 53.85 | November | E17 | 15:50 | 9.6 | 49.28 | 1299.7 | Average | 8.35 | 366.2 | November (11/4/2020) | QA/QC1 (E24) | 10:00 | 9.8 | 49.64 | 178.5
December | E9 | 13:55 | 4.5 | 40.1 | 55.6 | Maximum | 12 | 129.6 | December | E17 | 15:20 | 6.5 | 43.7 | 410.6 | Maximum | 9.6 | 1299.7 | November (11/4/2020) | QA/QC2 | 10:45 | 8.3 | 46.94 | 23.3
January | E9 | 13:30 | 4.4 | 39.92 | 24.6 | Minimum | 4.4 | 13.4 | January | E17 | 15:15 | 7.2 | 44.96 | 70.3 | Minimum | 6.5 | 36.4 | March (3/10/2021) | QA/QC1 (E24) | 13:05 | 8.1 | 46.58 | 122.3
February | E9 | 14:05 | 6.6 | 43.88 | 13.4 | Median | 6.8 | 49.95 | February | E17 | 15:50 | 9.6 | 49.28 | 131.3 | Median | 8.6 | 190.1 | March (3/10/2021) | QA/QC2 | 13:40 | 6.8 | 44.24 | 18.7
March | E9 | 10:45 | 7 | 44.6 | 51.2 | Range | 7.6 | 116.2 | March | E17 | 8:57 | 7.9 | 46.22 | 36.4 | Range | 3.1 | 1263.3
April | E9 | 11:20 | 12 | 53.6 | 48.7 |  |  |  | April | E17 | 9:15 | 9.3 | 48.74 | 248.9

## Winter Exceedances
Winter Exceedance: November 1 - April 30
Site # | Location | E. coli Exceedance at Standard (406 MPN) | Count
E1 | Walker Ck. @ Belle Fiore | 0% | 0/5
E3 | Neil Ck. @ Dead Indian Memorial | 0% | 0/6
E4 | Ashland Ck. @ Granite St. | 0% | 0/6
E5 | Ashland Ck. below STP | 0% | 0/6
E6 | TID Canal @ Eagle Mill Rd. | - | -
E7 | Bear Ck. @ S. Valley View Rd. | 0% | 0/6
E8 | Bear Ck. @ Greenway (S. Talent) | 0% | 0/6
E9 | Bear Ck. @ Lynn Newbry Park | 0% | 0/6
E10 | MID Diversion @ Suncrest Rd. | - | -
E11 | Bear Ck. @ B. H. Park (Phoenix) | 0% | 0/5
E12 | Bear Ck. @ Fern Valley Rd. | 0% | 0/6
E13 | Bear Ck. @ JNC (S. Medford) | 0% | 0/6
E14 | Bear Ck. @ 9th St. (Medford) | 16.67% | 1/6
E15 | Bear Ck. @ Table Rock Rd. | 0% | 0/5
E16 | Griffin Ck. @ Beall Ln. | 0% | 0/6
E17 | Jackson Ck. @ Beall Ln. | 33.33% | 2/6
E18 | Jackson Ck. @ Jacksonville | 0% | 0/3
E19 | Jackson Ck. @ W. Ross Ln. | 16.67% | 1/6
E20 | Bear Ck. @ Pine St. (CP) | 0% | 0/6
E21 | Bear Ck. Above Griffin (CP) | 0% | 0/5
E22 | Griffin Ck. @ I-5 | 0% | 0/6
E23 | Jackson Ck. @ Blackwell Rd. | 50% | 3/6
E24 | Bear Ck. @ Kirtland Rd. | 0% | 0/5

## All Current Data - 2020-2021
All Current Data - TMDL | [10 empty] | All Current Data - TMDL | [10 empty] | All Current Data - TMDL | [10 empty] | All Current Data - TMDL
Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E1 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E8 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E14 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E20 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L)
July | E1 | 11:50 | 15.3 | 59.54 | 547.5 | 0.042 | Average | 9 | 115.6375 | 0.041333 | July | E8 | 13:57 | 18.2 | 64.76 | 114.5 | 0.065 | Average | 11.9909 | 113.4273 | 0.0944 | July | E14 | 11:06 | 17.5 | 63.5 | 1413.6 | 0.104 | Average | 12.2333 | 876.3 | 0.10883 | July | E20 | 10:24 | 18.8 | 65.84 | 272.3 | 0.108 | Average | 12.6583 | 492.7583 | 0.11917
August | E1 | 11:44 | 15.9 | 60.62 | 118.7 | 0.037 | Maximum | 15.9 | 547.5 | 0.045 | August | E8 | 13:45 | 20.7 | 69.26 | 107.6 | 0.075 | Maximum | 20.7 | 325.5 | 0.129 | August | E14 | 11:00 | 19.2 | 66.56 | 1119.9 | 0.09 | Maximum | 22 | 2419.2 | 0.155 | August | E20 | 10:20 | 18.7 | 65.66 | 99.1 | 0.1 | Maximum | 21.5 | 2419.2 | 0.203
September | E1 | - | - | - | - | - | Minimum | 2.4 | 14.8 | 0.037 | September | E8 | 13:25 | 18.1 | 64.58 | 98.5 | 0.084 | Minimum | 4.3 | 20.9 | 0.065 | September | E14 | 10:50 | 15.6 | 60.08 | 2419.2 | 0.084 | Minimum | 4.1 | 122.3 | 0.079 | September | E20 | 10:05 | 15.8 | 60.44 | 579.4 | 0.099 | Minimum | 4.8 | 95.9 | 0.088
October | E1 | - | - | - | - | - | Median | 8.95 | 56.15 | 0.042 | October | E8 | - | - | - | - | - | Median | 11.4 | 98.5 | 0.084 | October | E14 | 11:45 | 8.8 | 47.84 | 1119.9 | 0.079 | Median | 12.3 | 956.3 | 0.097 | October | E20 | 10:55 | 8.2 | 46.76 | 1299.7 | 0.088 | Median | 12.9 | 210.2 | 0.104
November | E1 | - | - | - | - | - | Range | 13.5 | 532.7 | 0.008 | November | E8 | 13:25 | 7.8 | 46.04 | 80.9 | - | Range | 16.4 | 304.6 | 0.064 | November | E14 | 11:00 | 8 | 46.4 | 1046.2 | - | Range | 17.9 | 2296.9 | 0.076 | November | E20 | 10:30 | 8.1 | 46.58 | 248.1 | - | Range | 16.7 | 2323.3 | 0.115
December | E1 | 11:45 | 3.5 | 38.3 | 54.7 | - |  |  |  |  | December | E8 | 13:40 | 4.3 | 39.74 | 52.9 | - |  |  |  |  | December | E14 | 11:15 | 4.7 | 40.46 | 191.8 | - |  |  |  |  | December | E20 | 10:10 | 5 | 41 | 307.6 | -
January | E1 | 11:35 | 2.4 | 36.32 | 33.1 | - |  |  |  |  | January | E8 | 13:15 | 4.3 | 39.74 | 22.6 | - |  |  |  |  | January | E14 | 10:50 | 4.1 | 39.38 | 184.2 | - |  |  |  |  | January | E20 | 10:10 | 4.8 | 40.64 | 172.3 | -
February | E1 | 12:10 | 4.3 | 39.74 | 14.8 | - |  |  |  |  | February | E8 | 13:50 | 6.4 | 43.52 | 20.9 | - |  |  |  |  | February | E14 | 11:20 | 5.8 | 42.44 | 126.7 | - |  |  |  |  | February | E20 | 10:25 | 6 | 42.8 | 135.4 | -
March | E1 | 12:45 | 5.5 | 41.9 | 72.8 | - |  |  |  |  | March | E8 | 11:05 | 6.9 | 44.42 | 145 | - |  |  |  |  | March | E14 | 14:10 | 9.5 | 49.1 | 122.3 | - |  |  |  |  | March | E20 | 14:45 | 10 | 50 | 95.9 | -
April | E1 | 13:20 | 12.4 | 54.32 | 25.9 | - |  |  |  |  | April | E8 | 11:35 | 11.4 | 52.52 | 65 | - |  |  |  |  | April | E14 | 13:55 | 15.1 | 59.18 | 172.5 | - |  |  |  |  | April | E20 | 14:40 | 16.3 | 61.34 | 137.4 | -
May | E1 | 13:30 | 12.7 | 54.86 | 57.6 | 0.045 |  |  |  |  | May | E8 | 11:25 | 13.1 | 55.58 | 214.3 | 0.119 |  |  |  |  | May | E14 | 14:05 | 16.5 | 61.7 | 866.4 | 0.155 |  |  |  |  | May | E20 | 15:00 | 18.7 | 65.66 | 146.7 | 0.117
June | E1 | - | - | - | - | - |  |  |  |  | June | E8 | 13:05 | 20.7 | 69.26 | 325.5 | 0.129 |  |  |  |  | June | E14 | 9:50 | 22 | 71.6 | 1732.9 | 0.141 |  |  |  |  | June | E20 | 9:00 | 21.5 | 70.7 | 2419.2 | 0.203
Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E3 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E9 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E15 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E21 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L)
July | E3 | 11:38 | 16.3 | 61.34 | 547.5 | 0.082 | Average | 10.5167 | 274.325 | 0.20233 | July | E9 | 14:15 | 18.4 | 65.12 | 142.1 | 0.062 | Average | 11.5727 | 114.8455 | 0.07 | July | E15 | 10:42 | 18.6 | 65.48 | 410.6 | 0.134 | Average | 13.0364 | 456.1273 | 0.13067 | July | E21 | 9:48 | 17.4 | 63.32 | 770.1 | 0.131 | Average | 11.2444 | 262.7889 | 0.12925
August | E3 | 11:33 | 17.1 | 62.78 | 435.2 | 0.107 | Maximum | 19 | 686.7 | 0.509 | August | E9 | 14:03 | 20.6 | 69.08 | 101.9 | 0.061 | Maximum | 21.3 | 410.6 | 0.095 | August | E15 | 10:35 | 19.4 | 66.92 | 166.4 | 0.098 | Maximum | 23.1 | 1986.3 | 0.25 | August | E21 | 9:40 | 17.7 | 63.86 | 344.8 | 0.126 | Maximum | 17.9 | 770.1 | 0.158
September | E3 | 11:35 | 16.5 | 61.7 | 193.5 | 0.203 | Minimum | 3.7 | 32 | 0.082 | September | E9 | - | - | - | - | - | Minimum | 4.4 | 13.4 | 0.055 | September | E15 | 10:25 | 16 | 60.8 | 1046.2 | 0.106 | Minimum | 4.3 | 79.8 | 0.08 | September | E21 | - | - | - | - | - | Minimum | 4.7 | 90.7 | 0.102
October | E3 | 12:30 | 8 | 46.4 | 461.1 | 0.086 | Median | 9.55 | 214.7 | 0.155 | October | E9 | 14:25 | 10.8 | 51.44 | 66.9 | 0.055 | Median | 10.8 | 66.9 | 0.062 | October | E15 | 11:15 | 8.5 | 47.3 | 1986.3 | 0.08 | Median | 15.6 | 275.5 | 0.111 | October | E21 | 10:15 | 7.4 | 45.32 | 365.4 | 0.102 | Median | 8 | 196.8 | 0.1285
November | E3 | 11:40 | 6.5 | 43.7 | 32.7 | - | Range | 15.3 | 654.7 | 0.427 | November | E9 | 13:50 | 8.3 | 46.94 | 129.6 | - | Range | 16.9 | 397.2 | 0.04 | November | E15 | - | - | - | - | - | Range | 18.8 | 1906.5 | 0.17 | November | E21 | 9:55 | 8 | 46.4 | 178.2 | - | Range | 13.2 | 679.4 | 0.056
December | E3 | 12:00 | 3.7 | 38.66 | 32 | - |  |  |  |  | December | E9 | 13:55 | 4.5 | 40.1 | 55.6 | - |  |  |  |  | December | E15 | 10:30 | 4.6 | 40.28 | 325.5 | - |  |  |  |  | December | E21 | 9:35 | 5 | 41 | 218.7 | -
January | E3 | 11:20 | 3.7 | 38.66 | 37.3 | - |  |  |  |  | January | E9 | 13:30 | 4.4 | 39.92 | 24.6 | - |  |  |  |  | January | E15 | 10:25 | 4.3 | 39.74 | 275.5 | - |  |  |  |  | January | E21 | 9:30 | 4.7 | 40.46 | 196.8 | -
February | E3 | 12:00 | 4.9 | 40.82 | 50.4 | - |  |  |  |  | February | E9 | 14:05 | 6.6 | 43.88 | 13.4 | - |  |  |  |  | February | E15 | 10:45 | 5.7 | 42.26 | 328.2 | - |  |  |  |  | February | E21 | 9:50 | 5.9 | 42.62 | 90.7 | -
March | E3 | 12:40 | 6.7 | 44.06 | 62.4 | - |  |  |  |  | March | E9 | 10:45 | 7 | 44.6 | 51.2 | - |  |  |  |  | March | E15 | 14:30 | 9.9 | 49.82 | 79.8 | - |  |  |  |  | March | E21 | - | - | - | - | -
April | E3 | 13:10 | 11.1 | 51.98 | 235.9 | - |  |  |  |  | April | E9 | 11:20 | 12 | 53.6 | 48.7 | - |  |  |  |  | April | E15 | 14:20 | 15.6 | 60.08 | 125.9 | - |  |  |  |  | April | E21 | 15:15 | 17.2 | 62.96 | 99 | -
May | E3 | 13:15 | 12.7 | 54.86 | 517.2 | 0.227 |  |  |  |  | May | E9 | 11:15 | 13.4 | 56.12 | 218.7 | 0.095 |  |  |  |  | May | E15 | 14:40 | 17.7 | 63.86 | 88 | 0.116 |  |  |  |  | May | E21 | 15:45 | 17.9 | 64.22 | 101.4 | 0.158
June | E3 | 10:40 | 19 | 66.2 | 686.7 | 0.509 |  |  |  |  | June | E9 | 13:20 | 21.3 | 70.34 | 410.6 | 0.077 |  |  |  |  | June | E15 | 9:20 | 23.1 | 73.58 | 185 | 0.25 |  |  |  |  | June | E21 | - | - | - | - | -
Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E4 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E10 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E16 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E22 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L)
July | E4 | 12:20 | 14.2 | 57.56 | 5.2 | 0.041 | Average | 9.1917 | 19.1182 | 0.066333 | July | E10 | 14:35 | 18.7 | 65.66 | 866.4 | 0.077 | Average | 18.675 | 865.1 | 0.08925 | July | E16 | 16:25 | 19.5 | 67.1 | 248.9 | 0.1 | Average | 13.9417 | 346.7917 | 0.10333 | July | E22 | 9:39 | 16 | 60.8 | 488.4 | 0.085 | Average | 12.1333 | 347.975 | 0.151
August | E4 | 12:15 | 16.9 | 62.42 | 23.3 | 0.035 | Maximum | 16.9 | 122.3 | 0.157 | August | E10 | 14:20 | 20.6 | 69.08 | 248.1 | 0.065 | Maximum | 22 | 1299.7 | 0.113 | August | E16 | 16:10 | 20.2 | 68.36 | 261.3 | 0.078 | Maximum | 24.1 | 1986.3 | 0.184 | August | E22 | 9:34 | 16.8 | 62.24 | 613.1 | 0.088 | Maximum | 19.8 | 980.4 | 0.339
September | E4 | 12:00 | 13.7 | 56.66 | 19.7 | 0.076 | Minimum | 2.8 | 1 | 0.03 | September | E10 | - | - | - | - | - | Minimum | 13.4 | 248.1 | 0.065 | September | E16 | 15:30 | 18.6 | 65.48 | 114.5 | 0.065 | Minimum | 7.7 | 19.7 | 0.061 | September | E22 | 9:35 | 14.5 | 58.1 | 574.8 | 0.094 | Minimum | 6 | 45 | 0.085
October | E4 | 13:00 | 8.3 | 46.94 | 10.9 | 0.059 | Median | 8.65 | 7.4 | 0.05 | October | E10 | - | - | - | - | - | Median | 19.65 | 956.3 | 0.0895 | October | E16 | 16:40 | 12.4 | 54.32 | 648.8 | 0.061 | Median | 11.85 | 147.5 | 0.089 | October | E22 | 10:00 | 8.3 | 46.94 | 980.4 | 0.339 | Median | 12.7 | 240 | 0.1185
November | E4 | 12:10 | 5.5 | 41.9 | 7.4 | - | Range | 14.1 | 121.3 | 0.127 | November | E10 | - | - | - | - | - | Range | 8.6 | 1051.6 | 0.048 | November | E16 | 16:00 | 10.8 | 51.44 | 150 | - | Range | 16.4 | 1966.6 | 0.123 | November | E22 | 9:45 | 9.3 | 48.74 | 178.5 | - | Range | 13.8 | 935.4 | 0.254
December | E4 | 12:25 | 3.1 | 37.58 | 1 | - |  |  |  |  | December | E10 | - | - | - | - | - |  |  |  |  | December | E16 | 15:35 | 7.7 | 45.86 | 105 | - |  |  |  |  | December | E22 | 9:30 | 6 | 42.8 | 104.6 | -
January | E4 | 12:00 | 2.8 | 37.04 | <1.0 | - |  |  |  |  | January | E10 | - | - | - | - | - |  |  |  |  | January | E16 | 15:25 | 8.4 | 47.12 | 68.3 | - |  |  |  |  | January | E22 | 9:25 | 6.3 | 43.34 | 156.5 | -
February | E4 | 12:35 | 4.4 | 39.92 | 1 | - |  |  |  |  | February | E10 | - | - | - | - | - |  |  |  |  | February | E16 | 16:00 | 10.5 | 50.9 | 19.7 | - |  |  |  |  | February | E22 | 9:45 | 7.3 | 45.14 | 93.3 | -
March | E4 | 12:10 | 5.4 | 41.72 | 2 | - |  |  |  |  | March | E10 | - | - | - | - | - |  |  |  |  | March | E16 | 8:50 | 9.5 | 49.1 | 88.2 | - |  |  |  |  | March | E22 | 15:24 | 10.9 | 51.62 | 45 | -
April | E4 | 12:40 | 9 | 48.2 | 13.4 | - |  |  |  |  | April | E10 | - | - | - | - | - |  |  |  |  | April | E16 | 9:05 | 11.3 | 52.34 | 145 | - |  |  |  |  | April | E22 | 15:10 | 14.9 | 58.82 | 218.7 | -
May | E4 | 12:50 | 11 | 51.8 | 4.1 | 0.03 |  |  |  |  | May | E10 | 10:55 | 13.4 | 56.12 | 1299.7 | 0.113 |  |  |  |  | May | E16 | 8:45 | 14.3 | 57.74 | 1986.3 | 0.184 |  |  |  |  | May | E22 | 15:30 | 15.5 | 59.9 | 261.3 | 0.143
June | E4 | 11:35 | 16 | 60.8 | 122.3 | 0.157 |  |  |  |  | June | E10 | 13:40 | 22 | 71.6 | 1046.2 | 0.102 |  |  |  |  | June | E16 | 15:20 | 24.1 | 75.38 | 325.5 | 0.132 |  |  |  |  | June | E22 | 8:26 | 19.8 | 67.64 | 461.1 | 0.157
Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E5 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E11 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E17 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E23 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L)
July | E5 | 13:00 | 20.5 | 68.9 | 56.3 | 0.071 | Average | 14.1 | 139.475 | 0.129 | July | E11 | 14:50 | 20.5 | 68.9 | 248.9 | 0.116 | Average | 13.8273 | 280.2636 | 0.0985 | July | E17 | 16:10 | 20.8 | 69.44 | 410.6 | - | Average | 13.3 | 564.8583 | #DIV/0! | July | E23 | 9:17 | 17.8 | 64.04 | 387.3 | 0.137 | Average | 11.9167 | 829.1333 | 0.1825
August | E5 | 12:46 | 21.3 | 70.34 | 547.5 | 0.082 | Maximum | 23.3 | 547.5 | 0.297 | August | E11 | 14:35 | 21.5 | 70.7 | 686.7 | 0.061 | Maximum | 25 | 816.4 | 0.12 | August | E17 | 16:00 | 21.1 | 69.98 | 218.7 | - | Maximum | 25 | 2419.2 | 0 | August | E23 | 9:07 | 18.4 | 65.12 | 727 | 0.145 | Maximum | 20.5 | 2419.2 | 0.275
September | E5 | 12:35 | 20.6 | 69.08 | 108.1 | 0.109 | Minimum | 6.1 | 23.8 | 0.07 | September | E11 | 14:00 | 19 | 66.2 | 129.6 | 0.099 | Minimum | 5.9 | 63.8 | 0.061 | September | E17 | 15:15 | 18.3 | 64.94 | 436 | - | Minimum | 6.5 | 36.4 | 0 | September | E23 | 9:15 | 13.9 | 57.02 | 1203.3 | 0.182 | Minimum | 4.1 | 76.6 | 0.137
October | E5 | 13:40 | 14.6 | 58.28 | 29.9 | 0.297 | Median | 13.8 | 85.45 | 0.0955 | October | E11 | 14:55 | 11.1 | 51.98 | 131.3 | 0.088 | Median | 11.7 | 156.5 | 0.103 | October | E17 | 16:30 | 10.8 | 51.44 | 517.2 | - | Median | 10.2 | 410.6 | #NUM! | October | E23 | 9:40 | 7.6 | 45.68 | 866.4 | 0.138 | Median | 12.25 | 727 | 0.1635
November | E5 | 12:35 | 11.9 | 53.42 | 104.6 | - | Range | 17.2 | 523.7 | 0.227 | November | E11 | 14:15 | 8.6 | 47.48 | 71.7 | - | Range | 19.1 | 752.6 | 0.059 | November | E17 | 15:50 | 9.6 | 49.28 | 1299.7 | - | Range | 18.5 | 2382.8 | 0 | November | E23 | 9:20 | 7.8 | 46.04 | 770.1 | - | Range | 16.4 | 2342.6 | 0.138
December | E5 | 12:55 | 6.1 | 42.98 | 60.1 | - |  |  |  |  | December | E11 | - | - | - | - | - |  |  |  |  | December | E17 | 15:20 | 6.5 | 43.7 | 410.6 | - |  |  |  |  | December | E23 | 9:15 | 4.1 | 39.38 | 1732.9 | -
January | E5 | 12:40 | 6.2 | 43.16 | 23.8 | - |  |  |  |  | January | E11 | 13:45 | 5.9 | 42.62 | 63.8 | - |  |  |  |  | January | E17 | 15:15 | 7.2 | 44.96 | 70.3 | - |  |  |  |  | January | E23 | 9:05 | 4.6 | 40.28 | 365.4 | -
February | E5 | 13:10 | 8.2 | 46.76 | 66.3 | - |  |  |  |  | February | E11 | 14:25 | 7.3 | 45.14 | 120.1 | - |  |  |  |  | February | E17 | 15:50 | 9.6 | 49.28 | 131.3 | - |  |  |  |  | February | E23 | 9:25 | 5.9 | 42.62 | 186 | -
March | E5 | 11:45 | 8.9 | 48.02 | 53 | - |  |  |  |  | March | E11 | 10:25 | 7.2 | 44.96 | 156.5 | - |  |  |  |  | March | E17 | 8:57 | 7.9 | 46.22 | 36.4 | - |  |  |  |  | March | E23 | 15:05 | 10.6 | 51.08 | 76.6 | -
April | E5 | 12:15 | 13.9 | 57.02 | 222.4 | - |  |  |  |  | April | E11 | 11:00 | 11.7 | 53.06 | 196.8 | - |  |  |  |  | April | E17 | 9:15 | 9.3 | 48.74 | 248.9 | - |  |  |  |  | April | E23 | 14:50 | 15.4 | 59.72 | 2419.2 | -
May | E5 | 12:20 | 13.7 | 56.66 | 235.9 | 0.07 |  |  |  |  | May | E11 | 10:30 | 14.3 | 57.74 | 816.4 | 0.12 |  |  |  |  | May | E17 | 8:55 | 13.5 | 56.3 | 579.4 | - |  |  |  |  | May | E23 | 15:15 | 16.4 | 61.52 | 727 | 0.218
June | E5 | 12:05 | 23.3 | 73.94 | 165.8 | 0.145 |  |  |  |  | June | E11 | 13:55 | 25 | 77 | 461.1 | 0.107 |  |  |  |  | June | E17 | 15:10 | 25 | 77 | 2419.2 | - |  |  |  |  | June | E23 | 7:57 | 20.5 | 68.9 | 488.4 | 0.275
Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E6 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E12 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E18 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E24 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L)
July | E6 | 13:20 | 18.4 | 65.12 | 435.2 | 0.074 | Average | 17.775 | 304.25 | 0.06925 | July | E12 | 15:07 | 20.8 | 69.44 | 186 | 0.101 | Average | 13.1417 | 227.6083 | 0.10717 | July | E18 | - | - | - | - | - | Average | 8.2667 | 119.5 | #DIV/0! | July | E24 | 9:02 | 17.5 | 63.5 | 365.4 | 0.169 | Average | 11.9727 | 201.3182 | 0.15833
August | E6 | 13:07 | 21.2 | 70.16 | 90.9 | 0.052 | Maximum | 21.2 | 435.2 | 0.087 | August | E12 | 14:53 | 21.6 | 70.88 | 648.8 | 0.066 | Maximum | 25.9 | 648.8 | 0.14 | August | E18 | - | - | - | - | - | Maximum | 10.2 | 218.7 | 0 | August | E24 | 8:50 | 18.1 | 64.58 | 131.3 | 0.121 | Maximum | 22.9 | 365.4 | 0.296
September | E6 | - | - | - | - | - | Minimum | 12.7 | 90.9 | 0.052 | September | E12 | 14:15 | 18.9 | 66.02 | 91 | 0.121 | Minimum | 5.1 | 56.5 | 0.066 | September | E18 | - | - | - | - | - | Minimum | 7 | 33.1 | 0 | September | E24 | 9:05 | 15 | 59 | 193.5 | 0.117 | Minimum | 4.8 | 58.6 | 0.094
October | E6 | - | - | - | - | - | Median | 18.6 | 345.45 | 0.069 | October | E12 | 15:10 | 11 | 51.8 | 107.1 | 0.086 | Median | 11.25 | 161.8 | 0.111 | October | E18 | - | - | - | - | - | Median | 7.6 | 106.7 | #NUM! | October | E24 | 9:25 | 7.4 | 45.32 | 290.9 | 0.094 | Median | 10.1 | 201.4 | 0.137
November | E6 | - | - | - | - | - | Range | 8.5 | 344.3 | 0.035 | November | E12 | 14:35 | 8.7 | 47.66 | 117.8 | - | Range | 20.8 | 592.3 | 0.074 | November | E18 | - | - | - | - | - | Range | 3.2 | 185.6 | 0 | November | E24 | 9:05 | 7.9 | 46.22 | 248.1 | - | Range | 18.1 | 306.8 | 0.202
December | E6 | - | - | - | - | - |  |  |  |  | December | E12 | 14:15 | 5.1 | 41.18 | 137.6 | - |  |  |  |  | December | E18 | - | - | - | - | - |  |  |  |  | December | E24 | 9:00 | 4.8 | 40.64 | 235.9 | -
January | E6 | - | - | - | - | - |  |  |  |  | January | E12 | 14:05 | 5.2 | 41.36 | 56.5 | - |  |  |  |  | January | E18 | 14:50 | 7.6 | 45.68 | 33.1 | - |  |  |  |  | January | E24 | 8:55 | 4.8 | 40.64 | 222.4 | -
February | E6 | - | - | - | - | - |  |  |  |  | February | E12 | 14:40 | 7.4 | 45.32 | 95.8 | - |  |  |  |  | February | E18 | - | - | - | - | - |  |  |  |  | February | E24 | 9:12 | 5.9 | 42.62 | 127.4 | -
March | E6 | - | - | - | - | - |  |  |  |  | March | E12 | 10:05 | 7.2 | 44.96 | 209.8 | - |  |  |  |  | March | E18 | 9:20 | 7 | 44.6 | 218.7 | - |  |  |  |  | March | E24 | 15:50 | 10.1 | 50.18 | 58.6 | -
April | E6 | - | - | - | - | - |  |  |  |  | April | E12 | 10:40 | 11.5 | 52.7 | 238.2 | - |  |  |  |  | April | E18 | 9:40 | 10.2 | 50.36 | 106.7 | - |  |  |  |  | April | E24 | - | - | - | - | -
May | E6 | 12:00 | 12.7 | 54.86 | 325.5 | 0.087 |  |  |  |  | May | E12 | 10:15 | 14.4 | 57.92 | 517.2 | 0.129 |  |  |  |  | May | E18 | - | - | - | - | - |  |  |  |  | May | E24 | 16:15 | 17.3 | 63.14 | 139.6 | 0.153
June | E6 | 12:30 | 18.8 | 65.84 | 365.4 | 0.064 |  |  |  |  | June | E12 | 14:10 | 25.9 | 78.62 | 325.5 | 0.14 |  |  |  |  | June | E18 | - | - | - | - | - |  |  |  |  | June | E24 | 7:40 | 22.9 | 73.22 | 201.4 | 0.296
Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E7 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E13 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | E19 | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L)
July | E7 | 13:40 | 18.2 | 64.76 | 139.6 | 0.072 | Average | 12.3417 | 154.7 | 0.087833 | July | E13 | 15:25 | 21.5 | 70.7 | 185 | 0.097 | Average | 12.5182 | 192.9182 | 0.1216 | July | E19 | 15:55 | 20.9 | 69.62 | 67 | 0.056 | Average | 13.7833 | 255.3 | 0.070833 | October (10/1/2020) | QA/QC1 (E24) | 12:10 | 17 | 62.6 | 185 | 0.114
August | E7 | 13:30 | 21.1 | 69.98 | 150 | 0.074 | Maximum | 21.1 | 461.1 | 0.113 | August | E13 | 15:11 | 21.8 | 71.24 | 248.9 | 0.085 | Maximum | 25.3 | 686.7 | 0.203 | August | E19 | 15:47 | 21 | 69.8 | 65.7 | 0.039 | Maximum | 25 | 1299.7 | 0.104 | October (10/1/2020) | QA/QC2 | 13:20 | 14.5 | 58.1 | 30.5 | 0.126
September | E7 | 13:00 | 19.1 | 66.38 | 410.6 | 0.101 | Minimum | 5 | 25.3 | 0.072 | September | E13 | - | - | - | - | - | Minimum | 5.1 | 25.6 | 0.077 | September | E19 | 15:00 | 18.3 | 64.94 | 133.3 | 0.104 | Minimum | 8.3 | 40.4 | 0.039 | November (11/4/2020) | QA/QC1 (E24) | 10:00 | 9.8 | 49.64 | 178.5 | 0.096
October | E7 | 14:05 | 11.3 | 52.34 | 123.6 | 0.073 | Median | 12 | 105.9 | 0.084 | October | E13 | 15:35 | 10.1 | 50.18 | 172.3 | 0.077 | Median | 10.1 | 172.3 | 0.097 | October | E19 | 16:15 | 11.7 | 53.06 | 77.6 | 0.065 | Median | 11.3 | 79.25 | 0.0695 | November (11/4/2020) | QA/QC2 | 10:45 | 8.3 | 46.94 | 23.3 | 0.12
November | E7 | 13:05 | 8.4 | 47.12 | 88.2 | - | Range | 16.1 | 435.8 | 0.041 | November | E13 | 14:55 | 8.6 | 47.48 | 90.6 | - | Range | 20.2 | 661.1 | 0.126 | November | E19 | 15:35 | 10.3 | 50.54 | 80.9 | - | Range | 16.7 | 1259.3 | 0.065 | March (3/10/2021) | QA/QC1 (E24) | 13:05 | 8.1 | 46.58 | 122.3 | 0.082
December | E7 | 13:20 | 5 | 41 | 58.3 | - |  |  |  |  | December | E13 | 14:40 | 5.1 | 41.18 | 75.9 | - |  |  |  |  | December | E19 | 15:10 | 8.5 | 47.3 | 62 | - |  |  |  |  | March (3/10/2021) | QA/QC2 | 13:40 | 6.8 | 44.24 | 18.7 | 0.07
January | E7 | 13:00 | 5 | 41 | 25.3 | - |  |  |  |  | January | E13 | 14:25 | 5.2 | 41.36 | 74.4 | - |  |  |  |  | January | E19 | 15:00 | 8.3 | 46.94 | 40.4 | - |  |  |  |  | May (5/12/2021) | QA/QC1 (E24) | 11:10 | 16.6 | 61.88 | 104.6 | 0.187
February | E7 | 13:35 | 6.4 | 43.52 | 35 | - |  |  |  |  | February | E13 | 15:00 | 7.5 | 45.5 | 25.6 | - |  |  |  |  | February | E19 | 15:40 | 9.2 | 48.56 | 328.2 | - |  |  |  |  | May (5/12/2021) | QA/QC2 | 11:40 | 14.6 | 58.28 | 36.9 | 0.12
March | E7 | 11:20 | 7.2 | 44.96 | 34.5 | - |  |  |  |  | March | E13 | 9:45 | 7.3 | 45.14 | 133.3 | - |  |  |  |  | March | E19 | 9:09 | 8.6 | 47.48 | 50.4 | -
April | E7 | 11:50 | 12.7 | 54.86 | 54.7 | - |  |  |  |  | April | E13 | 10:10 | 11.1 | 51.98 | 235.9 | - |  |  |  |  | April | E19 | 9:25 | 10.9 | 51.62 | 727 | -
May | E7 | 11:40 | 13.6 | 56.48 | 275.5 | 0.113 |  |  |  |  | May | E13 | 9:45 | 14.2 | 57.56 | 686.7 | 0.203 |  |  |  |  | May | E19 | 9:10 | 12.7 | 54.86 | 1299.7 | 0.087
June | E7 | 12:45 | 20.1 | 68.18 | 461.1 | 0.094 |  |  |  |  | June | E13 | 14:30 | 25.3 | 77.54 | 193.5 | 0.146 |  |  |  |  | June | E19 | 15:00 | 25 | 77 | 131.4 | 0.074
*E. coli Standard: No single sample may exceed 406 E. coli organisms per 100 mL of sample, or not to exceed a 90-day geometric mean of 126 E. coli organisms per 100 mL of sample.
*Phosphorus Standard: Not to exceed 0.08 mg/L.
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
Red indicates values that exceed state standards.