## Stormdrain Data - 2021-2022
2021-2022 - Stormdrain Data | [11 empty] | 2021-2022 - Stormdrain Data
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity |  | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2021-09-01 | Dry Weather | SD17 | 13:20 | 16.2 | 53.6 | 2.981 | 6.735 | 168 | 7.65 | 301.3 |  | 2021-09-01 | Dry Weather | SD9 | 14:00 | 21.1 | 2419.2 | 0.688 | -0.704 | 15.3 | 7.06 | 373 | >2419.2
2022-03-01 | First Flush | SD17 | 13:45 | 8.9 | 238.2 | 0.936 | 3.79 | 8.15 | 7.6 | 262.2 |  | 2022-03-01 | First Flush | SD9 | 14:25 | 12.6 | 79.8 | 0.181 | 2.65 | 5.78 | 8.05 | 338.2
2022-04-01 | Wet Weather | SD17 | 14:30 | 7.2 | 21.8 | 0.862 | 3.303 | 0.39 | 7.37 | 219.6 |  | 2022-04-01 | Wet Weather | SD9 | 15:10 | 12.3 | 1553.1 | 0.244 | 8.296 | 84.5 | 7.58 | 87
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity |  | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2021-09-01 | Dry Weather | SD18 | - | - | - | - | - | - | - | - |  | 2021-09-01 | Dry Weather | SD10 | 14:20 | 20 | 2419.2 | 0.192 | 3.791 | 0 | 8.1 | 426.1
2022-03-01 | First Flush | SD18 | 13:30 | 9 | 579.4 | 0.186 | 2.537 | 2.8 | 7.9 | 213.6 |  | 2022-03-01 | First Flush | SD10 | - | - | - | - | - | - | - | -
2022-04-01 | Wet Weather | SD18 | 14:15 | 8.5 | 1203.3 | 0.242 | 5.301 | 29.2 | 7.57 | 141.4 |  | 2022-04-01 | Wet Weather | SD10 | 16:10 | 12.6 | 2419.2 | 0.268 | 6.046 | 138 | 7.4 | 135.6
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity |  | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2021-09-01 | Dry Weather | SD19 | 12:40 | 18.4 | 1203.3 | 0.168 | 2.589 | 0.31 | 7.98 | 192.2 |  | 2021-09-01 | Dry Weather | SD11 | - | - | - | - | - | - | - | -
2022-03-01 | First Flush | SD19 | - | - | - | - | - | - | - | - |  | 2022-03-01 | First Flush | SD11 | - | - | - | - | - | - | - | -
2022-04-01 | Wet Weather | SD19 | 13:35 | 9.8 | 2419.2 | 0.451 | 8.291 | 260 | 7.38 | 60.3 | >2419.2 | 2022-04-01 | Wet Weather | SD11 | 16:30 | - | 2419.2 | 0.145 | 5.281 | 17.57 | 7.52 | -
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity |  | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2021-09-01 | Dry Weather | SD4 | 12:20 | 19 | 290.9 | 0.178 | 3.627 | 2.73 | 7.92 | 489 |  | 2021-09-01 | Dry Weather | SD12 | 10:15 | 14.5 | 1986.3 | 0.141 | 2.733 | 11.8 | 8.26 | 352.3
2022-03-01 | First Flush | SD4 | 12:15 | 9.5 | 63.8 | 0.079 | 2.501 | 2.87 | 7.72 | 199.8 |  | 2022-03-01 | First Flush | SD12 | 10:40 | 9.7 | 1553.1 | 0.109 | 2.326 | 7.25 | 8 | 251.8
2022-04-01 | Wet Weather | SD4 | 12:55 | 9.6 | 68.9 | 0.068 | 3.539 | 11.97 | 7.52 | 138 |  | 2022-04-01 | Wet Weather | SD12 | 11:05 | 8 | 128.1 | 0.09 | 3.072 | 6.24 | 7.9 | 256.3
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity |  | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2021-09-01 | Dry Weather | SD5 | - | - | - | - | - | - | - | - |  | 2021-09-01 | Dry Weather | SD13 | 10:00 | 19.6 | 7.4 | 0.137 | 3.555 | 0.45 | 8.67 | 348.8
2022-03-01 | First Flush | SD5 | 12:00 | 10.9 | 3 | 0.09 | 2.388 | 2.74 | 7.87 | 1113 |  | 2022-03-01 | First Flush | SD13 | 10:10 | 10.5 | 9.8 | 0.093 | 2.064 | 3.44 | 7.57 | 282.2
2022-04-01 | Wet Weather | SD5 | 12:35 | 10.5 | 38.4 | 0.165 | 4.603 | 110 | 7.58 | 420.8 |  | 2022-04-01 | Wet Weather | SD13 | 10:50 | 10.7 | 261.3 | 0.133 | 4.536 | 58.5 | 7.55 | 170.1
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity |  | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2021-09-01 | Dry Weather | SD6 | - | - | - | - | - | - | - | - |  | 2021-09-01 | Dry Weather | SD14 | 9:15 | 13.4 | 1553.1 | 0.166 | 4.413 | 77.8 | 8.28 | 235.2
2022-03-01 | First Flush | SD6 | 11:40 | 12.1 | 10.6 | 0.301 | 2.819 | 13.63 | 8.17 | 458 |  | 2022-03-01 | First Flush | SD14 | 9:10 | 9.8 | 2419.2 | 0.178 | 5.367 | 78.8 | 7.83 | 172.4 | >2419.2
2022-04-01 | Wet Weather | SD6 | 12:10 | 9.9 | 387.3 | 0.244 | 3.863 | 20.2 | 7.93 | 335.8 |  | 2022-04-01 | Wet Weather | SD14 | 9:30 | 8.1 | 866.4 | 0.236 | 5.486 | 126 | 8 | 226.5
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity |  | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2021-09-01 | Dry Weather | SD7 | - | - | - | - | - | - | - | - |  | 2021-09-01 | Dry Weather | SD15 | 9:35 | 15.5 | 101.4 | 0.149 | 3.113 | 79.6 | 7.95 | 325.6
2022-03-01 | First Flush | SD7 | 11:30 | 10 | 101.7 | 0.28 | 4.119 | 6.81 | 7.92 | 402.7 |  | 2022-03-01 | First Flush | SD15 | 9:50 | 10.9 | 2419.2 | 0.157 | 3.744 | 28 | 7.78 | 275.6 | >2419.2
2022-04-01 | Wet Weather | SD7 | 12:00 | 9.6 | 26.5 | 0.259 | 3.668 | 7.81 | 7.74 | 408.3 |  | 2022-04-01 | Wet Weather | SD15 | 10:15 | 10.5 | 1413.6 | 0.128 | 4.767 | 50.5 | 7.76 | 274.6
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity |  | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2021-09-01 | Dry Weather | SD8 | 10:50 | 19.8 | 866.4 | 0.062 | 2.646 | 0.07 | 8.45 | 381.1 |  | 2021-09-01 | Dry Weather | SD16 | - | - | - | - | - | - | - | -
2022-03-01 | First Flush | SD8 | 11:05 | 11 | 131.4 | 0.067 | 3.323 | 4.79 | 8.03 | 282.6 |  | 2022-03-01 | First Flush | SD16 | 8:50 | 10.1 | 1046.2 | 0.253 | 6.754 | 8.16 | 7.62 | 166.8
2022-04-01 | Wet Weather | SD8 | 11:25 | 11.5 | 145 | 0.085 | 4.572 | 26.4 | 7.85 | 181.6 |  | 2022-04-01 | Wet Weather | SD16 | 9:15 | 9.9 | 2419.2 | 0.61 | 7.829 | 161 | 7.47 | 120.2 | >2419.2

## SD17 - Phosphorus
Site # | Date | Phosphorus (mg/L)
SD17 | 2014-02-12 | 0.657
SD17 | 2014-10-08 | 1.05
SD17 | 2014-12-11 | 0.791
SD17 | 2015-02-02 | 0.794
SD17 | 2015-12-10 | 1
SD17 | 2016-04-14 | 1.57
SD17 | 2016-09-07 | 0.661
SD17 | 2016-10-14 | 0.889
SD17 | 2018-04-12 | 1.02
SD17 | 2018-05-16 | 0.68
SD17 | 2018-10-24 | 0.883
SD17 | 2019-01-17 | 0.84
SD17 | 2019-05-16 | 1.177
SD17 | 2019-10-17 | 0.802
SD17 | 2020-04-22 | 0.972
SD17 | 2020-06-23 | 1.27
SD17 | 2020-08-20 | 1.048
SD17 | 2020-11-18 | 0.845
SD17 | 2021-02-19 | 0.979
SD17 | 2021-09-14 | 2.981
SD17 | 2022-03-03 | 0.936
SD17 | 2022-04-13 | 0.862