## Stormdrain Data - 2022-2023
2022-2023 - Stormdrain Data | [10 empty] | 2022-2023 - Stormdrain Data
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2022-09-01 | Dry Weather | SD17 | - | - | - | - | - | - | - | - | 2022-09-01 | Dry Weather | SD9 | 14:15 | 21.7 | 2419.2 | - | 4.429 | 8.62 | 7.41 | 276.4
2022-12-01 | First Flush | SD17 | 14:00 | 8.7 | 547.5 | 0.738 | 2.359 | 35.7 | 7.33 | 212.2 | 2022-12-01 | First Flush | SD9 | 14:40 | 9.1 | 2419.2 | 0.369 | 5.169 | 76 | 7.57 | 104.5
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2022-09-01 | Dry Weather | SD18 | - | - | - | - | - | - | - | - | 2022-09-01 | Dry Weather | SD10 | 14:30 | 20 | 2419.2 | - | 2.559 | 82.9 | 7.65 | 403.3
2022-12-01 | First Flush | SD18 | 13:25 | 8 | 1553.1 | 0.356 | 3.186 | 104 | 7.45 | 73 | 2022-12-01 | First Flush | SD10 | 15:10 | 9 | 1553.1 | 0.335 | 3.782 | 93.7 | 7.47 | 115.5
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2022-09-01 | Dry Weather | SD19 | 12:45 | 17.7 | 214.2 | - | 1.696 | 3.54 | 7.59 | 156.5 | 2022-09-01 | Dry Weather | SD11 | - | - | - | - | - | - | - | -
2022-12-01 | First Flush | SD19 | - | - | - | - | - | - | - | - | 2022-12-01 | First Flush | SD11 | 15:25 | 9.1 | 686.7 | 0.314 | 3.207 | 47.8 | 7.61 | 132
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2022-09-01 | Dry Weather | SD4 | 12:10 | 19.2 | 26.9 | - | - | 9.87 | 7.73 | 492 | 2022-09-01 | Dry Weather | SD12 | - | - | - | - | - | - | - | -
2022-12-01 | First Flush | SD4 | 12:20 | 8.4 | 613.1 | 0.293 | 2.898 | 92.3 | 7.47 | 71.9 | 2022-12-01 | First Flush | SD12 | 10:20 | 7.6 | 2419.2 | 0.485 | 3.802 | 124 | 7.51 | 133
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2022-09-01 | Dry Weather | SD5 | - | - | - | - | - | - | - | - | 2022-09-01 | Dry Weather | SD13 | 9:45 | 19.9 | 517.2 | - | 1.891 | 9.73 | 8.15 | 341.5
2022-12-01 | First Flush | SD5 | 12:40 | 8.6 | 1046.2 | 0.225 | 2.272 | 121 | 7.51 | 151.7 | 2022-12-01 | First Flush | SD13 | 10:00 | 7.5 | 1986.3 | 0.194 | 4.07 | 106 | 7.45 | 30.2
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2022-09-01 | Dry Weather | SD6 | 11:30 | 18.3 | 11 | - | 4.383 | 81.7 | 7.85 | 549 | 2022-09-01 | Dry Weather | SD14 | - | - | - | - | - | - | - | -
2022-12-01 | First Flush | SD6 | 11:40 | 8.4 | 2419.2 | 0.441 | 3.669 | 106 | 7.61 | 175.5 | 2022-12-01 | First Flush | SD14 | 9:20 | 7.8 | 488.4 | 0.15 | 2.503 | 20.4 | 7.48 | 90.5
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2022-09-01 | Dry Weather | SD7 | - | - | - | - | - | - | - | - | 2022-09-01 | Dry Weather | SD15 | 9:15 | 18.3 | 71.2 | - | 3.91 | 103 | 7.64 | 429.3
2022-12-01 | First Flush | SD7 | 11:35 | 8.3 | 1986.3 | 0.35 | 3.278 | 15.08 | 7.78 | 336.5 | 2022-12-01 | First Flush | SD15 | 9:40 | 8.7 | 344.8 | 0.192 | 3.135 | 36.1 | 7.5 | 142.7
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2022-09-01 | Dry Weather | SD8 | 10:40 | 21.6 | 1119.9 | - | 1.609 | 3.16 | 8.01 | 364.7 | 2022-09-01 | Dry Weather | SD16 | - | - | - | - | - | - | - | -
2022-12-01 | First Flush | SD8 | 11:10 | 7.8 | 2419.2 | 0.222 | 4.393 | 123 | 7.71 | 102.5 | 2022-12-01 | First Flush | SD16 | 9:05 | 7.6 | 2419.2 | 0.524 | 7.578 | 122 | 7.52 | 121.5

## SD17 - Phosphorus
Site # | Date | Phosphorus (mg/L)
SD17 | 2014-02-12 | 0.657
SD17 | 2014-10-08 | 1.05
SD17 | 2014-12-11 | 0.791
SD17 | 2015-02-02 | 0.794
SD17 | 2015-12-10 | 1
SD17 | 2016-04-14 | 1.57
SD17 | 2016-09-07 | 0.661
SD17 | 2016-10-14 | 0.889
SD17 | 2018-04-12 | 1.02
SD17 | 2018-05-16 | 0.68
SD17 | 2018-10-24 | 0.883
SD17 | 2019-01-17 | 0.84
SD17 | 2019-05-16 | 1.177
SD17 | 2019-10-17 | 0.802
SD17 | 2020-04-22 | 0.972
SD17 | 2020-06-23 | 1.27
SD17 | 2020-08-20 | 1.048
SD17 | 2020-11-18 | 0.845
SD17 | 2021-02-19 | 0.979
SD17 | 2021-09-14 | 2.981
SD17 | 2022-03-03 | 0.936
SD17 | 2022-04-13 | 0.862
SD17 | 2022-09-15 | -
SD17 | 2022-12-30 | 0.738
SD17 | 2023-06-29 | -