## July 2022
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2022-07-28
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2022-07-28 | 11:55 | 20.6 | 69.08 | 7.04 | 187.9 | 9.8 | 1203.3 | 0.166 |  | TP J-flagged.
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2022-07-28 | 11:30 | 13.3 | 55.94 | 7.09 | 67.8 | 1.3 | 37.3 | 0.061 | - | TP J-flagged. Forgot to sample for ammonia.
Ashland Creek below STP | E5 | ASH, CNTY | 2022-07-28 | 11:10 | 21.9 | 71.42 | 7.25 | 286.8 | 4.71 | 133.4 | 0.156 | - | TP J-flagged. Forgot to sample for ammonia.
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2022-07-28 | 11:00 | 20.8 | 69.44 | 7.4 | 152.7 | 11.07 | 161.6 | 0.086 |  | TP J-flagged.
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2022-07-28 | 10:40 | 20.1 | 68.18 | 7.49 | 161.7 | 16.7 | 166.4 | 0.107 |  | TP J-flagged.
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2022-07-28 | 10:20 | 20.6 | 69.08 | 7.5 | 171.6 | 16.89 | 122.3 | 0.127 |  | TP J-flagged.
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2022-07-28 | 9:50 | 21.2 | 70.16 | 7.24 | 180.8 | 7.03 | 67.7 | 0.132 |  | TP J-flagged.
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2022-07-28 | 9:40 | 19.9 | 67.82 | 7.38 | 184.3 | 8.6 | 435.2 | 0.083 |  | TP J-flagged.
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2022-07-28 | 9:25 | 20.6 | 69.08 | 7.55 | 218.6 | 10.79 | 193.5 | 0.119 |  | TP J-flagged.
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2022-07-28 | 9:05 | 20.6 | 69.08 | 7.43 | 230.3 | 28.9 | - | 0.238 |  | TP J-flagged. Bacteria bottle broke and sample spilled out.
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2022-07-28 | 8:20 | 20.9 | 69.62 | 7.52 | 242.5 | 11.89 | 85.7 | 0.151 |  | TP J-flagged.
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2022-07-28 | 12:45 | 24.3 | 75.74 | 7.97 | 286.4 | 13.17 | 2419.2 | 0.156 |  | TP J-flagged.
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2022-07-28
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2022-07-28 | 7:35 | 20.7 | 69.26 | 7.66 | 242.6 | 73.7 | 365.4 | 0.161 |  | TP J-flagged.
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2022-07-28 | 7:45 | 21.8 | 71.24 | 7.67 | 220.5 | 36.2 | 224.7 |  |  | TP J-flagged.
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2022-07-28
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2022-07-28 | 7:55 | 19.7 | 67.46 | - | 300.6 | 11.44 | 980.4 | 0.11 |  | TP J-flagged.
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2022-07-28 | 13:15 | 29.2 | 84.56 | 8.34 | 394.2 | 9.35 | 101.7 | 0.195 |  | TP J-flagged.
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2022-07-28
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2022-07-28 | 14:00 | 23.2 | 73.76 | 7.81 | 277.4 | 54.5 | 260.3 | 0.163 |  | TP J-flagged.
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2022-07-28 | 13:45 | 23.6 | 74.48 | 7.71 | 267.3 | 18.98 | 1299.7 | 0.291 |  | TP J-flagged.
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2022-07-28 | 14:15 | 26.6 | 79.88 | 8.19 | 299.9 | 40.6 | 137.6 | 0.272 |  | TP J-flagged.
Bear Ck. @ CTNC (S. Medford) | DUP 1 | MED, CNTY | 2022-07-28 | 8:22 | 20.9 | 69.62 | 7.7 | 242.5 | 15.01 | 96 | 0.144 |  | TP J-flagged.
Griffin Creek @ I-5 | DUP 2 | CPT, CNTY | 2022-07-28 | 14:02 | 23.2 | 73.76 | 7.77 | 277.4 | 53.7 | 410.6 | 0.17 |  | TP J-flagged.
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | - | - | - | - | - | - | - | - | - | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | - | - | - | - | - | - | - | - | - | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
Red indicates values that exceed state standards.
Values are derived from total phosphorus analyses that exceeded the 5% error (7.6% error).

## August 2022
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2022-08-18 | [9 empty] | Stagnant.
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2022-08-18 | 12:30 | 20.1 | 68.18 | 7.17 | 161.8 | 9.19 | 579.4 | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2022-08-18 | 12:00 | 18.4 | 65.12 | 7.04 | 79.2 | 1.63 | 65.7 | - | 0.017
Ashland Creek below STP | E5 | ASH, CNTY | 2022-08-18 | 11:20 | 22.2 | 71.96 | 7.16 | 291 | 7.39 | 410.6 | - | 0.032
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2022-08-18 | [9 empty] | TID shut off on 8/15/22.
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2022-08-18 | 11:00 | 21.1 | 69.98 | 7.4 | 210.3 | 18.7 | 238.2 | -
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2022-08-18 | 10:40 | 20.8 | 69.44 | 7.48 | 224.6 | 17.84 | 648.8 | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2022-08-18 | [9 empty] | Construction traffic.
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2022-08-18 | 10:25 | 20.6 | 69.08 | 7.37 | 246 | 7.27 | 261.3 | -
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2022-08-18 | 10:00 | 20.5 | 68.9 | 7.44 | 268.5 | 11.4 | 275.5 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2022-08-18 | 9:40 | 20.6 | 69.08 | 7.42 | 140 | 20.5 | 248.1 | -
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2022-08-18 | 9:00 | 20.3 | 68.54 | 7.52 | 277.1 | 12.63 | 172.3 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2022-08-18 | 13:30 | 22 | 71.6 | 7.84 | 312.4 | 11.25 | 461.1 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2022-08-18 | 13:50 | 22.8 | 73.04 | 7.81 | 333.2 | 58.6 | 816.4 | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2022-08-18 | 8:05 | 19.3 | 66.74 | 7.7 | 281.7 | 59.5 | 579.4 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2022-08-18 | 8:15 | 21.1 | 69.98 | 7.68 | 247.3 | 35.9 | 285.1
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2022-08-18 | [9 empty] | Dry.
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2022-08-18 | 8:30 | 18.7 | 65.66 | 7.26 | 302.5 | 12.67 | 78 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2022-08-18 | 14:10 | 23.5 | 74.3 | 8.14 | 350.9 | 16.89 | 249.5 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2022-08-18 | [9 empty] | Bad access during the summer.
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2022-08-18 | 14:50 | 20.5 | 68.9 | 7.5 | 300 | 21.4 | 461.1 | -
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2022-08-18 | 14:40 | 21.6 | 70.88 | 7.27 | 264.2 | 19.55 | 579.4 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2022-08-18 | 15:10 | 22.4 | 72.32 | 7.57 | 298.1 | 16.43 | 307.6 | -
Bear Ck. @ B.H. Park (Phoenix) | DUP 1 | PHO, CNTY | 2022-08-18 | 10:05 | 20.5 | 68.9 | 7.36 | 269.9 | 12.24 | 214.2 | -
Bear Ck. @ Pine St. (CP) | DUP 2 | CPT, CNTY | 2022-08-18 | 14:15 | 23.5 | 74.3 | 7.83 | 350.1 | 14.86 | 172.5 | -
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
Red indicates values that exceed state standards.

## September 2022
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2022-09-22
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2022-09-22 | 13:00 | 15.1 | 59.18 | 7.34 | 319.3 | 6.35 | 166.4 | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2022-09-22 | 12:35 | 14.9 | 58.82 | 7.19 | 84.8 | 2.46 | 78.9 | - | 0.091
Ashland Creek below STP | E5 | ASH, CNTY | 2022-09-22 | 11:45 | 20 | 68 | 7.24 | 319.7 | 6.23 | 260.2 | - | 0.136
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2022-09-22
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2022-09-22 | 11:30 | 17.2 | 62.96 | 7.54 | 294.9 | 11.42 | 128.1 | -
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2022-09-22 | 11:10 | 16.6 | 61.88 | 7.33 | 317.4 | 7.66 | 248.1 | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2022-09-22
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2022-09-22
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2022-09-22 | 10:35 | 16.1 | 60.98 | 7.48 | 339.5 | 10.98 | 224.7 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2022-09-22 | 10:10 | 16.1 | 60.98 | 7.63 | 341.3 | 6.69 | 125.9 | -
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2022-09-22 | 9:30 | 16 | 60.8 | 7.47 | 348 | 12.76 | 209.8 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2022-09-22 | 14:15 | 18.8 | 65.84 | 8.08 | 375.3 | 10.18 | 1046.2 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2022-09-22 | 14:40 | 19.4 | 66.92 | 8.24 | 365.1 | 8.05 | 613.1 | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2022-09-22 | 8:35 | 14.5 | 58.1 | 7.57 | 304.7 | 48.8 | 1046.2 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2022-09-22 | 8:50 | 14.6 | 58.28 | 7.39 | 360.9 | 113 | >2419.2
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2022-09-22
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2022-09-22 | 9:05 | 15.1 | 59.18 | 7.46 | 288 | 12.99 | 547.5 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2022-09-22 | 14:55 | 20.1 | 68.18 | 8.31 | 361.2 | 8.63 | 461.1 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2022-09-22
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2022-09-22 | 15:20 | 17.6 | 63.68 | 7.73 | 345 | 17.17 | 517.2 | -
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2022-09-22 | 15:10 | 18.2 | 64.76 | 7.64 | 324 | 17 | 1986.3 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2022-09-22 | 15:35 | 20.1 | 68.18 | 7.99 | 350.8 | 14.55 | 150 | -
Griffin Creek @ Beall Ln. | DUP 1 | JVLLE, CPT, CNTY | 2022-09-22 | 8:37 | 14.5 | 58.1 | 7.59 | 304.8 | 49.7 | 1119.9 | -
Jackson Creek @ Beall Ln. | DUP 2 | JVLLE, CPT, CNTY | 2022-09-22 | 8:52 | 14.6 | 58.28 | 7.4 | 360.9 | 113 | >2419.2 | -
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | 2022-09-21 | 12:35 | 17.9 | 64.22 | 7.55 | 400 | 23.1 | 1553.1 | - |  | Specific conductance.
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | 2022-09-21 | 13:05 | 15.6 | 60.08 | 7.02 | 90 | 5.91 | 224.7 | - |  | Specific conductance.
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
Red indicates values that exceed state standards.

## October 2022
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2022-10-20
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2022-10-20
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2022-10-20 | 13:00 | 12.3 | 54.14 | 7 | 78.1 | 2.06 | 37.9 | - | ND
Ashland Creek below STP | E5 | ASH, CNTY | 2022-10-20 | 12:10 | 17 | 62.6 | 7.24 | 290.4 | 6.68 | 248.1 | - | ND
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2022-10-20
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2022-10-20 | 11:50 | 13.2 | 55.76 | 7.31 | 250 | 11.48 | 365.4 | -
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2022-10-20
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2022-10-20 | 11:15 | 12 | 53.6 | 7.32 | 292.4 | 3.97 | 98.7 | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2022-10-20
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2022-10-20 | 10:40 | 11.4 | 52.52 | 7.46 | 295.5 | 10.05 | 261.3 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2022-10-20 | 11:00 | 11.8 | 53.24 | 7.39 | 302.9 | 12.42 | 172.3 | -
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2022-10-20 | 10:15 | 11.6 | 52.88 | 7.58 | 320 | 9.98 | 435.2 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2022-10-20 | 14:05 | 13.8 | 56.84 | 7.69 | 343.9 | 8.67 | 488.4 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2022-10-20
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2022-10-20 | 9:15 | 10.7 | 51.26 | 7.61 | 283.4 | - | 980.4 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2022-10-20 | 9:20 | 9.5 | 49.1 | 7.57 | 278.3 | 9.69 | 1413.6
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2022-10-20
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2022-10-20 | 9:35 | 11.3 | 52.34 | 7.58 | 263 | 12.14 | 686.7 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2022-10-20 | 14:40 | 15 | 59 | 7.99 | 337.2 | 78.4 | 1732.9 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2022-10-20
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2022-10-20 | 15:20 | 13.7 | 56.66 | 7.75 | 320.4 | 17.67 | 727 | -
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2022-10-20 | 15:05 | - | - | 7.64 | - | 13.03 | 1203.3 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2022-10-20 | 15:35 | 14.3 | 57.74 | 7.96 | 363.7 | 13.23 | 435.2 | -
Bear Ck. @ B.H. Park (Phoenix) | DUP 1 | PHO, CNTY | 2022-10-20 | 10:42 | 11.5 | 52.7 | 7.56 | 298.5 | 9.84 | 260.2 | -
Bear Ck. @ Lynn Newbry Park | DUP 2 | TAL, CNTY | 2022-10-20 | 11:17 | 12 | 53.6 | 7.36 | 297 | 4.5 | 115.3 | -
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
Red indicates values that exceed state standards.

## November 2022
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2022-11-22
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2022-11-22 | 13:30 | 4.9 | 40.82 | 7.57 | 97.1 | 3.42 | 35.4 | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2022-11-22 | 13:05 | 4.7 | 40.46 | 7.79 | 67.4 | 1.38 | 2 | - | ND
Ashland Creek below STP | E5 | ASH, CNTY | 2022-11-22 | 12:10 | 9.7 | 49.46 | 7.66 | 233.7 | 8.93 | 36.4 | - | 0.034
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2022-11-22
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2022-11-22 | 11:50 | 5.5 | 41.9 | 8.17 | 210.7 | 5.79 | 260.2 | -
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2022-11-22 | 11:35 | 4.6 | 40.28 | 8 | 207.8 | 14.74 | 46.4 | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2022-11-22 | 11:25 | 5.1 | 41.18 | 7.82 | 232.5 | 4.49 | 37.3 | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2022-11-22
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2022-11-22 | 10:55 | 4.4 | 39.92 | 7.93 | 236 | 5.29 | 290.9 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2022-11-22 | 10:35 | 4.1 | 39.38 | 8 | 236.3 | 4.66 | 365.4 | -
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2022-11-22 | 10:10 | 4.3 | 39.74 | 8.03 | 244 | 6.66 | 290.9 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2022-11-22 | 14:20 | 5.6 | 42.08 | 8.28 | 270.2 | 3.7 | 139.6 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2022-11-22 | 14:40 | 5.6 | 42.08 | 8.4 | 271.8 | 3.69 | 91 | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2022-11-22 | 9:05 | 6 | 42.8 | 7.99 | 144.5 | 71.5 | 166.4 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2022-11-22 | 9:10 | 5 | 41 | 7.9 | 282.3 | 14.73 | 214.2
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2022-11-22
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2022-11-22 | 9:25 | 4.2 | 39.56 | 7.94 | 219.4 | 17.15 | 461.1 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2022-11-22 | 15:00 | 5.9 | 42.62 | 8.41 | 245.6 | 5.19 | 107.6 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2022-11-22
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2022-11-22 | 15:35 | 6.9 | 44.42 | 8.03 | 276.3 | 21.6 | 261.3 | -
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2022-11-22 | 15:20 | 5.5 | 41.9 | 7.94 | 247.9 | 24.4 | 260.2 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2022-11-22 | 15:50 | 5.4 | 41.72 | 8.24 | 270.3 | 8.84 | 156.5 | -
Jackson Creek @ W. Ross Ln. | DUP 1 | JVLLE, CPT, CNTY | 2022-11-22 | 9:27 | 4.2 | 39.56 | 7.98 | 219.4 | 18.13 | 517.2 | -
Bear Ck. @ Pine St. (CP) | DUP 2 | CPT, CNTY | 2022-11-22 | 15:02 | 5.9 | 42.62 | 8.42 | 245.6 | 4.95 | 82 | -
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
Red indicates values that exceed state standards.

## December 2022
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2022-12-22 | [9 empty] | Dry.
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2022-12-22 | 12:55 | 5 | 41 | 7.68 | 87.6 | 3.66 | 387.3 | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2022-12-22 | 12:30 | 3.2 | 37.76 | 7.82 | 65.3 | 1.13 | 1 | - | ND
Ashland Creek below STP | E5 | ASH, CNTY | 2022-12-22 | 12:10 | 8.3 | 46.94 | 7.83 | 208.9 | 6.49 | 80.5 | - | 0.024
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2022-12-22 | [9 empty] | Off-season.
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2022-12-22 | 11:45 | 5 | 41 | 8.11 | 194.7 | 3.4 | 46.4 | -
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2022-12-22 | 11:25 | 5.1 | 41.18 | 8.09 | 203.3 | 7.2 | 27.8 | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2022-12-22 | 11:10 | 5.3 | 41.54 | 7.93 | 219.5 | 4.12 | 35.9 | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2022-12-22 | [9 empty] | Off-season.
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2022-12-22 | 10:45 | 5.2 | 41.36 | 7.73 | 229.5 | 2.84 | 95.9 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2022-12-22 | 10:15 | 5 | 41 | 8.01 | 230.5 | 5.79 | 162.4 | -
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2022-12-22 | 9:35 | 5.1 | 41.18 | 8.04 | 239.7 | 5.9 | 185 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2022-12-22 | 13:55 | 5.9 | 42.62 | 8.43 | 248.2 | 6.35 | 290.9 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2022-12-22 | 14:15 | 6 | 42.8 | 8.43 | 257.4 | 4.02 | 80.5 | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2022-12-22 | 8:50 | 7.7 | 45.86 | 7.98 | 264.6 | 78.2 | 980.4 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2022-12-22 | 8:55 | 5.6 | 42.08 | 7.95 | 257.7 | 5.84 | 218.7
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2022-12-22 | [9 empty] | Dry.
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2022-12-22 | 9:05 | 5.9 | 42.62 | 7.93 | 219.7 | 6.27 | 816.4 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2022-12-22 | 14:40 | 6.3 | 43.34 | 8.41 | 228 | 5.21 | 88.4 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2022-12-22 | [9 empty] | Poor access.
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2022-12-22 | 15:05 | 7.4 | 45.32 | 8.05 | 276.8 | 13.09 | 238.2 | -
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2022-12-22 | 14:55 | 6.3 | 43.34 | 8.1 | 261 | 115 | 770.1 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2022-12-22 | 15:25 | 6.2 | 43.16 | 8.36 | 249.9 | 8.46 | 435.2 | -
Bear Ck. @ Fern Valley Rd. | DUP 1 | PHO, CNTY | 2022-12-22 | 10:17 | 5 | 41 | 8.08 | 230.2 | 5.31 | 178.5 | -
Bear Ck. @ Lynn Newbry Park | DUP 2 | TAL, CNTY | 2022-12-22 | 11:12 | 5.3 | 41.54 | 7.95 | 225.5 | 5.25 | 41 | -
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
Red indicates values that exceed state standards.

## January 2023
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2023-01-26 | 13:15 | 3.9 | 39.02 | 7.79 | 157.3 | 0.68 | 6.3 | -
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2023-01-26 | 13:05 | 4.2 | 39.56 | 7.69 | 128.1 | 0 | 25.9 | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2023-01-26 | 12:40 | 2.5 | 36.5 | 7.69 | 44.4 | 0 | 5.1 | - | ND
Ashland Creek below STP | E5 | ASH, CNTY | 2023-01-26 | 11:55 | 5.3 | 41.54 | 7.77 | 123.3 | 0 | 156.5 | - | 0.023
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2023-01-26 | [9 empty] | Off-season.
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2023-01-26 | 11:40 | 3.5 | 38.3 | 8.12 | 165 | 0 | 24.6 | -
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2023-01-26 | 11:25 | 3 | 37.4 | 7.96 | 164.9 | 0.46 | 37.9 | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2023-01-26 | 11:10 | 3.1 | 37.58 | 7.93 | 171.7 | 0.94 | 20.3 | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2023-01-26 | [9 empty] | Off-season.
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2023-01-26 | 10:50 | 3.1 | 37.58 | 7.92 | 184.3 | 0 | 1413.6 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2023-01-26 | 10:35 | 3 | 37.4 | 8.07 | 185.3 | 0 | 84.2 | -
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2023-01-26 | 9:45 | 2.8 | 37.04 | 7.97 | 196.5 | 0 | 67.7 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2023-01-26 | 13:45 | 4.7 | 40.46 | 8.39 | 217.6 | 0.84 | 69.7 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2023-01-26 | 14:30 | 5.3 | 41.54 | 8.27 | 226.1 | 0.98 | 69.5 | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2023-01-26 | 8:50 | 4.9 | 40.82 | 7.91 | 246.3 | 2.76 | 238.2 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2023-01-26 | 9:00 | 3.2 | 37.76 | 7.96 | 251 | 1.75 | 410.6
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2023-01-26 | 9:30 | 5.1 | 41.18 | 7.88 | 250.3 | 0.68 | 261.3 | -
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2023-01-26 | 9:15 | 3.8 | 38.84 | 7.95 | 217.2 | 0 | 64.4 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2023-01-26 | 14:45 | 5.3 | 41.54 | 8.19 | 209.1 | 2.44 | 71.7 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2023-01-26
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2023-01-26 | 15:15 | 6.4 | 43.52 | 8.07 | 285.5 | 1.2 | 74.9 | -
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2023-01-26 | 15:00 | 5.2 | 41.36 | 8.36 | 280.7 | 1.37 | 28.8 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2023-01-26 | 15:30 | 5.7 | 42.26 | 8.06 | 223.5 | 0.22 | 78 | -
Bear Ck. @ CTNC (S. Medford) | DUP 1 | MED, CNTY | 2023-01-26 | 9:47 | 2.7 | 36.86 | 7.96 | 191.8 | 0 | 55.6 | -
Bear Ck. @ B.H. Park (Phoenix) | DUP 2 | PHO, CNTY | 2023-01-26 | 10:52 | 3.1 | 37.58 | 7.91 | 185.3 | 0 | 1119.9 | -
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
Red indicates values that exceed state standards.

## February 2023
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2023-02-23 | 13:05 | 3.5 | 38.3 | 8.09 | 158 | 2.53 | 4 | -
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2023-02-23 | 12:55 | 3.4 | 38.12 | 8.37 | 131 | 2.09 | 59.1 | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2023-02-23 | 12:20 | 3 | 37.4 | 7.94 | 49.6 | 1.44 | 4.1 | - | ND
Ashland Creek below STP | E5 | ASH, CNTY | 2023-02-23 | 11:55 | 5.9 | 42.62 | 8.41 | 145.3 | 1.89 | 178.5 | - | 0.02
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2023-02-23
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2023-02-23 | 11:35 | 3.5 | 38.3 | 8.99 | 159.9 | 4.75 | 36.9 | -
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2023-02-23 | 11:20 | 3.1 | 37.58 | 8.9 | 159.3 | 8.4 | 25.3 | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2023-02-23 | 11:10 | 3.2 | 37.76 | 8.76 | 166.9 | 4.57 | 13.2 | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2023-02-23
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2023-02-23 | 10:45 | 3.6 | 38.48 | 8.59 | 183.9 | 3.92 | 52 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2023-02-23 | 10:30 | 3.6 | 38.48 | 8.67 | 185.9 | 5.28 | 54.6 | -
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2023-02-23 | 10:05 | 3.4 | 38.12 | 8.3 | 189.7 | 3.96 | 49.6 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2023-02-23 | 13:40 | 4.8 | 40.64 | 9.01 | 205.2 | 3.54 | 24.3 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2023-02-23 | 14:10 | 4.7 | 40.46 | 9.02 | 209.2 | 3.66 | 35 | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2023-02-23 | 9:10 | 5.5 | 41.9 | 8.05 | 252.2 | 2.46 | 410.6 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2023-02-23 | 9:15 | 3 | 37.4 | 8.03 | 247.2 | 2.23 | 67.6
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2023-02-23 | 9:45 | 5.2 | 41.36 | 7.99 | 249.7 | 1.02 | 27.5 | -
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2023-02-23 | 9:30 | 3.5 | 38.3 | 8.09 | 210.3 | 3.72 | 209.8 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2023-02-23 | 14:25 | 4.9 | 40.82 | 9.08 | 203.4 | 2.72 | 29.2 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2023-02-23
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2023-02-23 | 14:50 | 5.5 | 41.9 | 8.23 | 248.5 | 6.11 | 48.7 | -
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2023-02-23 | 14:40 | 3.8 | 38.84 | 8.59 | 266.4 | 3.62 | 27.8 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2023-02-23 | 15:00 | 4.8 | 40.64 | 8.85 | 198.6 | 3.38 | 17.1 | -
Jackson Creek @ W. Ross Ln. | DUP 1 | JVLLE, CPT, CNTY | 2023-02-23 | 9:32 | 3.6 | 38.48 | 8.09 | 211.3 | 2.99 | 186 | -
Bear Ck. @ B.H. Park (Phoenix) | DUP 2 | PHO, CNTY | 2023-02-23 | 10:47 | 3.7 | 38.66 | 8.6 | 187 | 3.77 | 42.6 | -
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
Red indicates values that exceed state standards.

## March 2023
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2023-03-30 | 13:00 | 5.5 | 41.9 | 7.79 | 116.3 | 9.84 | 8.4 | -
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2023-03-30 | 12:50 | 5.5 | 41.9 | 7.73 | 130.3 | 2.97 | 21.3 | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2023-03-30 | 12:20 | 3.8 | 38.84 | 7.8 | 50 | 2.78 | 3.1 | - | 0.024
Ashland Creek below STP | E5 | ASH, CNTY | 2023-03-30 | 12:00 | 5.9 | 42.62 | 8.24 | 114.3 | 3.43 | 19.9 | - | 0.02
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2023-03-30
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2023-03-30 | 11:40 | 4.8 | 40.64 | 8.28 | 143.9 | 6.11 | 17.3 | -
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2023-03-30 | 11:30 | 4.9 | 40.82 | 8.11 | 146.4 | 6.92 | 25.9 | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2023-03-30 | 11:10 | 4.4 | 39.92 | 8.12 | 145.3 | 6.4 | 21.3 | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2023-03-30
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2023-03-30 | 10:50 | 4.7 | 40.46 | 8.16 | 154.9 | 5.73 | 201.4 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2023-03-30 | 10:35 | 4.7 | 40.46 | 8.12 | 156.8 | 10.5 | 143.9 | -
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2023-03-30 | 10:20 | 5 | 41 | 8.04 | 162.8 | 7.64 | 108.1 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2023-03-30 | 13:40 | 7.1 | 44.78 | 8.26 | 183.3 | 6.64 | 72.3 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2023-03-30 | 13:55 | 7.8 | 46.04 | 8.25 | 191.7 | 6.64 | 65.7 | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2023-03-30 | 9:10 | 7.1 | 44.78 | 8.06 | 247.3 | 20.6 | 44.8 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2023-03-30 | 9:20 | 5.4 | 41.72 | 8.16 | 218.6 | 3.68 | 77.1
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2023-03-30 | 9:40 | 5.5 | 41.9 | 8.15 | 203.3 | 2.48 | 613.1 | -
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2023-03-30 | 9:30 | 5.8 | 42.44 | 8.13 | 210.6 | 3.43 | 161.6 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2023-03-30 | 14:25 | 7.7 | 45.86 | 8.3 | 188.4 | 5.79 | 82 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2023-03-30
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2023-03-30 | 14:50 | 9.7 | 49.46 | 8.45 | 303.4 | 5.11 | 36.8 | -
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2023-03-30 | 14:40 | 8.8 | 47.84 | 8.79 | 256.4 | 5.19 | 29.8 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2023-03-30 | 15:10 | 8.6 | 47.48 | 8.41 | 208.6 | 6.36 | 47.2 | -
Bear Ck. @ Lynn Newbry Park | DUP 1 | TAL, CNTY | 2023-03-30 | 11:15 | 4.4 | 39.92 | 8.13 | 145.6 | 5.91 | 40.4 | -
Bear Ck. @ S. Valley View Rd. | DUP 2 | ASH, CNTY | 2023-03-30 | 11:45 | 4.8 | 40.64 | 8.28 | 144 | 6.36 | 26.2 | -
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | 2023-03-21 | 9:25 | 5.9 | 42.62 | 7.92 | 163.7 | 12 | 39.3 | 0.104 | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | 2023-03-21 | 8:35 | 6 | 42.8 | 7.63 | 63 | 11.2 | 218.7 | 0.086 | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
Red indicates values that exceed state standards.

## April 2023
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2023-04-20 | 12:35 | 6.4 | 43.52 | 7.83 | 108.4 | 8.9 | 16 | - | -
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2023-04-20 | 12:30 | 6.5 | 43.7 | 7.86 | 92.4 | 2.71 | 37.9 | - | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2023-04-20 | 11:45 | 5.5 | 41.9 | 7.76 | 47.8 | 2.87 | 4.1 | - | ND
Ashland Creek below STP | E5 | ASH, CNTY | 2023-04-20 | 11:30 | 6.8 | 44.24 | 7.88 | 80.8 | 2.64 | 40.4 | - | ND
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2023-04-20
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2023-04-20 | 11:15 | 6 | 42.8 | 8.23 | 111 | 4.89 | 74.9 | - | -
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2023-04-20 | 11:00 | 6 | 42.8 | 8.28 | 113.1 | 5.57 | 29.8 | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2023-04-20 | 10:50 | 5.6 | 42.08 | 8.15 | 112 | 4.71 | 22.8 | - | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2023-04-20
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2023-04-20 | 10:35 | 5.9 | 42.62 | 8.04 | 120.8 | 5.12 | 35.4 | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2023-04-20 | 10:15 | 5.8 | 42.44 | 8.05 | 122.5 | 4.91 | 41 | - | -
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2023-04-20 | 9:55 | 6.8 | 44.24 | 7.99 | 132.4 | 6.26 | 47.2 | - | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2023-04-20 | 13:15 | 7.4 | 45.32 | 8.38 | 140.9 | 5.69 | 30.9 | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2023-04-20 | 14:15 | 9.3 | 48.74 | 8.45 | 152.8 | 5.21 | 26.9 | - | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2023-04-20 | 8:55 | 8.7 | 47.66 | 8 | 226.5 | 18.7 | 24.6 | - | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2023-04-20 | 9:05 | 7.5 | 45.5 | 8.04 | 236.6 | 3.67 | 32.3 |  | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2023-04-20 | 9:30 | 7.2 | 44.96 | 7.97 | 221.1 | 1.63 | 15.8 | - | -
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2023-04-20 | 9:15 | 8.3 | 46.94 | 8.07 | 227.7 | 9.72 | 16 | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2023-04-20 | 14:30 | 8.3 | 46.94 | 8.55 | 150.6 | 5.42 | 30.1 | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2023-04-20
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2023-04-20 | 15:00 | 10.5 | 50.9 | 8.33 | 247.7 | 8.18 | 19.9 | - | -
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2023-04-20 | 14:45 | 9.9 | 49.82 | 8.56 | 201.1 | 6.75 | 82.3 | - | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2023-04-20 | 15:10 | 9.4 | 48.92 | 8.41 | 170.8 | 6.83 | 35 | - | -
Bear Ck. @ 9th St. in Medford | DUP 1 | MED, CNTY | 2023-04-20 | 13:17 | 7.4 | 45.32 | 8.37 | 140.8 | 5.21 | 36.4 | - | -
Bear Ck. @ Table Rock Rd. | DUP 2 | MED, CNTY | 2023-04-20 | 14:17 | 9.2 | 48.56 | 8.45 | 152.3 | 6.1 | 25.3 | - | -
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
Red indicates values that exceed state standards.

## May 2023
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2023-05-25 | 13:45 | 16 | 60.8 | 8.12 | 226.2 | 3.4 | 47.1 | 0.055
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2023-05-25 | 13:30 | 11.7 | 53.06 | 7.67 | 67.6 | 6.72 | 228.2 | 0.061
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2023-05-25 | 13:00 | 9.1 | 48.38 | 7.56 | 27.3 | 3.04 | 6.1 | 0.035 | 0.047
Ashland Creek below STP | E5 | ASH, CNTY | 2023-05-25 | 12:30 | 10.7 | 51.26 | 7.46 | 45.1 | 4.31 | 22.8 | 0.053 | ND
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2023-05-25 | 12:15 | 13.7 | 56.66 | 8.24 | 145.3 | 10.8 | 172.3 | 0.106
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2023-05-25 | 11:55 | 11.5 | 52.7 | 7.8 | 69.9 | 6.06 | 81.3 | 0.064
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2023-05-25 | 11:40 | 12.4 | 54.32 | 7.72 | 79.8 | 8.25 | 56.5 | 0.073
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2023-05-25 | 11:20 | 11.8 | 53.24 | 7.65 | 78.4 | 8.97 | 48.7 | 0.067
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2023-05-25 | 11:05 | 11.5 | 52.7 | 7.65 | 78.9 | 7.34 | 125.9 | 0.067
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2023-05-25 | 10:50 | 11.7 | 53.06 | 7.71 | 84.5 | 9.92 | 124.6 | 0.087
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2023-05-25 | 10:25 | 11.6 | 52.88 | 7.76 | 89.5 | 10.9 | 172.3 | 0.084
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2023-05-25 | 10:10 | 11.4 | 52.52 | 7.77 | 100.5 | 12.6 | 235.9 | 0.095
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2023-05-25 | 14:20 | 16 | 60.8 | 7.93 | 147.3 | 24.8 | 613.1 | 0.126
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2023-05-25 | 14:40 | 17.6 | 63.68 | 8 | 148 | 27.9 | 435.2 | 0.142
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2023-05-25 | 9:15 | 14 | 57.2 | 7.92 | 158.3 | 31.4 | 166.4 | 0.137
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2023-05-25 | 9:25 | 13.5 | 56.3 | 7.89 | 163.8 | 29.5 | 727
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2023-05-25 | 9:45 | 14.9 | 58.82 | 7.85 | 131.1 | 15.8 | 261.3 | 0.084
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2023-05-25 | 9:35 | 13.9 | 57.02 | 7.79 | 177.7 | 16.1 | 93.3 | 0.094
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2023-05-25 | 14:55 | 17 | 62.6 | 7.98 | 151.4 | 26.9 | 365.4 | 0.154
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2023-05-25
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2023-05-25 | 15:25 | 17.1 | 62.78 | 7.98 | 192.9 | 49.1 | 193.5 | 0.184
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2023-05-25 | 15:15 | 16.8 | 62.24 | 7.86 | 179.9 | 20.9 | 410.6 | 0.16
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2023-05-25 | 15:40 | 18.6 | 65.48 | 8.02 | 176.3 | 26.8 | 155.3 | 0.153
Jackson Creek @ Jacksonville | DUP 1 | JVLLE, CPT, CNTY | 2023-05-25 | 9:47 | 14.9 | 58.82 | 7.62 | 131 | 16.1 | 203.5 | 0.083
Bear Ck. @ Lynn Newbry Park | DUP 2 | TAL, CNTY | 2023-05-25 | 11:22 | 11.6 | 52.88 | 7.39 | 87.3 | 6.2 | 51.2 | 0.069
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | 2023-05-09 | 8:15 | 9.7 | 49.46 | 7.82 | 148.5 | 17.2 | 325.5 | 0.109 | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | 2023-05-09 | 9:00 | 9.7 | 49.46 | 7.7 | 59.5 | 11 | 150 | 0.097 | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
Red indicates values that exceed state standards.

## June 2023
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2023-06-15 | 13:55 | 16.2 | 61.16 | 7.88 | 286.9 | 2.34 | 365.4 | 0.046
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2023-06-15 | 13:45 | 14.5 | 58.1 | 7.64 | 101 | 6.28 | 68.9 | 0.079
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2023-06-15 | 13:10 | 11.5 | 52.7 | 7.45 | 31.3 | 1.5 | 3.1 | 0.019 | ND
Ashland Creek below STP | E5 | ASH, CNTY | 2023-06-15 | 12:45 | 13.1 | 55.58 | 7.49 | 69.2 | 5.83 | 77.1 | 0.052 | 0.022
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2023-06-15 | 12:25 | 15.6 | 60.08 | 8.11 | 180.6 | 27.7 | 201.4 | 0.157
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2023-06-15 | 12:00 | 14.5 | 58.1 | 7.77 | 105.5 | 10.9 | 111.9 | 0.089
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2023-06-15 | 11:40 | 14.9 | 58.82 | 7.78 | 114.1 | 13.3 | 88.4 | 0.106
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2023-06-15 | 11:25 | 14.1 | 57.38 | 7.63 | 115.9 | 12.2 | 127.4 | 0.094
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2023-06-15 | 11:10 | 14.1 | 57.38 | 7.74 | 128 | 14.3 | 260.2 | 0.118
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2023-06-15 | 10:50 | 14.9 | 58.82 | 7.89 | 161.2 | 19.7 | 248.9 | 0.132
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2023-06-15 | 10:30 | 15.1 | 59.18 | 8.01 | 176.1 | 18.1 | 204.6 | 0.14
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2023-06-15 | 10:05 | 14.2 | 57.56 | 7.92 | 182.7 | 18.1 | 435.2 | 0.256
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2023-06-15 | 14:30 | 18.7 | 65.66 | 8.18 | 219.3 | 21.8 | >2419.2 | 0.181
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2023-06-15 | 14:55 | 21.8 | 71.24 | 8.34 | 258.8 | 19 | 172.3 | 0.162
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2023-06-15 | 9:05 | 15 | 59 | 7.91 | 185.3 | 40.8 | 240 | 0.197
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2023-06-15 | 9:10 | 15.9 | 60.62 | 8.02 | 214 | 39.6 | 686.7
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2023-06-15 | 9:40 | 17.4 | 63.32 | 8.7 | 166.8 | 7.72 | 290.9 | 0.076
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2023-06-15 | 9:30 | 17.4 | 63.32 | 7.87 | 209 | 13 | 23.3 | 0.111
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2023-06-15 | [9 empty] | Closed off for music festival.
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2023-06-15 | [9 empty] | No safe access.
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2023-06-15 | [9 empty] | Closed off for music festival.
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2023-06-15 | 15:30 | 17.5 | 63.5 | 7.99 | 229.4 | 26.5 | 547.5 | 0.186
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2023-06-15 | 15:45 | 20.5 | 68.9 | 8.1 | 260.4 | 30.5 | 517.2 | 0.25
MID Diversion @ Suncrest Rd. | DUP 1 | MID, CNTY | 2023-06-15 | 11:12 | 14.1 | 57.38 | 7.74 | 128 | 15.5 | 328.2 | 0.108
TID Canal @ Eagle Mill Rd. | DUP 2 | TID, ASH, CNTY | 2023-06-15 | 12:27 | 15.2 | 59.36 | 8.11 | 181.8 | 27.4 | 290.9 | 0.157
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
Red indicates values that exceed state standards.