## April 2023
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2023-04-20 | 12:35 | 6.4 | 43.52 | 7.83 | 108.4 | 8.9 | 16 | - | -
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2023-04-20 | 12:30 | 6.5 | 43.7 | 7.86 | 92.4 | 2.71 | 37.9 | - | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2023-04-20 | 11:45 | 5.5 | 41.9 | 7.76 | 47.8 | 2.87 | 4.1 | - | ND
Ashland Creek below STP | E5 | ASH, CNTY | 2023-04-20 | 11:30 | 6.8 | 44.24 | 7.88 | 80.8 | 2.64 | 40.4 | - | ND
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2023-04-20
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2023-04-20 | 11:15 | 6 | 42.8 | 8.23 | 111 | 4.89 | 74.9 | - | -
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2023-04-20 | 11:00 | 6 | 42.8 | 8.28 | 113.1 | 5.57 | 29.8 | - | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2023-04-20 | 10:50 | 5.6 | 42.08 | 8.15 | 112 | 4.71 | 22.8 | - | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2023-04-20
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2023-04-20 | 10:35 | 5.9 | 42.62 | 8.04 | 120.8 | 5.12 | 35.4 | - | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2023-04-20 | 10:15 | 5.8 | 42.44 | 8.05 | 122.5 | 4.91 | 41 | - | -
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2023-04-20 | 9:55 | 6.8 | 44.24 | 7.99 | 132.4 | 6.26 | 47.2 | - | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2023-04-20 | 13:15 | 7.4 | 45.32 | 8.38 | 140.9 | 5.69 | 30.9 | - | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2023-04-20 | 14:15 | 9.3 | 48.74 | 8.45 | 152.8 | 5.21 | 26.9 | - | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2023-04-20 | 8:55 | 8.7 | 47.66 | 8 | 226.5 | 18.7 | 24.6 | - | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2023-04-20 | 9:05 | 7.5 | 45.5 | 8.04 | 236.6 | 3.67 | 32.3 |  | -
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2023-04-20 | 9:30 | 7.2 | 44.96 | 7.97 | 221.1 | 1.63 | 15.8 | - | -
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2023-04-20 | 9:15 | 8.3 | 46.94 | 8.07 | 227.7 | 9.72 | 16 | - | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2023-04-20 | 14:30 | 8.3 | 46.94 | 8.55 | 150.6 | 5.42 | 30.1 | - | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2023-04-20
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2023-04-20 | 15:00 | 10.5 | 50.9 | 8.33 | 247.7 | 8.18 | 19.9 | - | -
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2023-04-20 | 14:45 | 9.9 | 49.82 | 8.56 | 201.1 | 6.75 | 82.3 | - | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2023-04-20 | 15:10 | 9.4 | 48.92 | 8.41 | 170.8 | 6.83 | 35 | - | -
Bear Ck. @ 9th St. in Medford | DUP 1 | MED, CNTY | 2023-04-20 | 13:17 | 7.4 | 45.32 | 8.37 | 140.8 | 5.21 | 36.4 | - | -
Bear Ck. @ Table Rock Rd. | DUP 2 | MED, CNTY | 2023-04-20 | 14:17 | 9.2 | 48.56 | 8.45 | 152.3 | 6.1 | 25.3 | - | -
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
Red indicates values that exceed state standards.

## May 2023
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2023-05-25 | 13:45 | 16 | 60.8 | 8.12 | 226.2 | 3.4 | 47.1 | 0.055
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2023-05-25 | 13:30 | 11.7 | 53.06 | 7.67 | 67.6 | 6.72 | 228.2 | 0.061
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2023-05-25 | 13:00 | 9.1 | 48.38 | 7.56 | 27.3 | 3.04 | 6.1 | 0.035 | 0.047
Ashland Creek below STP | E5 | ASH, CNTY | 2023-05-25 | 12:30 | 10.7 | 51.26 | 7.46 | 45.1 | 4.31 | 22.8 | 0.053 | ND
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2023-05-25 | 12:15 | 13.7 | 56.66 | 8.24 | 145.3 | 10.8 | 172.3 | 0.106
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2023-05-25 | 11:55 | 11.5 | 52.7 | 7.8 | 69.9 | 6.06 | 81.3 | 0.064
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2023-05-25 | 11:40 | 12.4 | 54.32 | 7.72 | 79.8 | 8.25 | 56.5 | 0.073
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2023-05-25 | 11:20 | 11.8 | 53.24 | 7.65 | 78.4 | 8.97 | 48.7 | 0.067
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2023-05-25 | 11:05 | 11.5 | 52.7 | 7.65 | 78.9 | 7.34 | 125.9 | 0.067
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2023-05-25 | 10:50 | 11.7 | 53.06 | 7.71 | 84.5 | 9.92 | 124.6 | 0.087
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2023-05-25 | 10:25 | 11.6 | 52.88 | 7.76 | 89.5 | 10.9 | 172.3 | 0.084
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2023-05-25 | 10:10 | 11.4 | 52.52 | 7.77 | 100.5 | 12.6 | 235.9 | 0.095
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2023-05-25 | 14:20 | 16 | 60.8 | 7.93 | 147.3 | 24.8 | 613.1 | 0.126
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2023-05-25 | 14:40 | 17.6 | 63.68 | 8 | 148 | 27.9 | 435.2 | 0.142
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2023-05-25 | 9:15 | 14 | 57.2 | 7.92 | 158.3 | 31.4 | 166.4 | 0.137
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2023-05-25 | 9:25 | 13.5 | 56.3 | 7.89 | 163.8 | 29.5 | 727
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2023-05-25 | 9:45 | 14.9 | 58.82 | 7.85 | 131.1 | 15.8 | 261.3 | 0.084
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2023-05-25 | 9:35 | 13.9 | 57.02 | 7.79 | 177.7 | 16.1 | 93.3 | 0.094
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2023-05-25 | 14:55 | 17 | 62.6 | 7.98 | 151.4 | 26.9 | 365.4 | 0.154
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2023-05-25
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2023-05-25 | 15:25 | 17.1 | 62.78 | 7.98 | 192.9 | 49.1 | 193.5 | 0.184
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2023-05-25 | 15:15 | 16.8 | 62.24 | 7.86 | 179.9 | 20.9 | 410.6 | 0.16
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2023-05-25 | 15:40 | 18.6 | 65.48 | 8.02 | 176.3 | 26.8 | 155.3 | 0.153
Jackson Creek @ Jacksonville | DUP 1 | JVLLE, CPT, CNTY | 2023-05-25 | 9:47 | 14.9 | 58.82 | 7.62 | 131 | 16.1 | 203.5 | 0.083
Bear Ck. @ Lynn Newbry Park | DUP 2 | TAL, CNTY | 2023-05-25 | 11:22 | 11.6 | 52.88 | 7.39 | 87.3 | 6.2 | 51.2 | 0.069
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | 2023-05-09 | 8:15 | 9.7 | 49.46 | 7.82 | 148.5 | 17.2 | 325.5 | 0.109 | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | 2023-05-09 | 9:00 | 9.7 | 49.46 | 7.7 | 59.5 | 11 | 150 | 0.097 | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
Red indicates values that exceed state standards.

## June 2023
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2023-06-15 | 13:55 | 16.2 | 61.16 | 7.88 | 286.9 | 2.34 | 365.4 | 0.046
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2023-06-15 | 13:45 | 14.5 | 58.1 | 7.64 | 101 | 6.28 | 68.9 | 0.079
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2023-06-15 | 13:10 | 11.5 | 52.7 | 7.45 | 31.3 | 1.5 | 3.1 | 0.019 | ND
Ashland Creek below STP | E5 | ASH, CNTY | 2023-06-15 | 12:45 | 13.1 | 55.58 | 7.49 | 69.2 | 5.83 | 77.1 | 0.052 | 0.022
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2023-06-15 | 12:25 | 15.6 | 60.08 | 8.11 | 180.6 | 27.7 | 201.4 | 0.157
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2023-06-15 | 12:00 | 14.5 | 58.1 | 7.77 | 105.5 | 10.9 | 111.9 | 0.089
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2023-06-15 | 11:40 | 14.9 | 58.82 | 7.78 | 114.1 | 13.3 | 88.4 | 0.106
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2023-06-15 | 11:25 | 14.1 | 57.38 | 7.63 | 115.9 | 12.2 | 127.4 | 0.094
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2023-06-15 | 11:10 | 14.1 | 57.38 | 7.74 | 128 | 14.3 | 260.2 | 0.118
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2023-06-15 | 10:50 | 14.9 | 58.82 | 7.89 | 161.2 | 19.7 | 248.9 | 0.132
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2023-06-15 | 10:30 | 15.1 | 59.18 | 8.01 | 176.1 | 18.1 | 204.6 | 0.14
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2023-06-15 | 10:05 | 14.2 | 57.56 | 7.92 | 182.7 | 18.1 | 435.2 | 0.256
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2023-06-15 | 14:30 | 18.7 | 65.66 | 8.18 | 219.3 | 21.8 | >2419.2 | 0.181
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2023-06-15 | 14:55 | 21.8 | 71.24 | 8.34 | 258.8 | 19 | 172.3 | 0.162
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2023-06-15 | 9:05 | 15 | 59 | 7.91 | 185.3 | 40.8 | 240 | 0.197
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2023-06-15 | 9:10 | 15.9 | 60.62 | 8.02 | 214 | 39.6 | 686.7
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2023-06-15 | 9:40 | 17.4 | 63.32 | 8.7 | 166.8 | 7.72 | 290.9 | 0.076
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2023-06-15 | 9:30 | 17.4 | 63.32 | 7.87 | 209 | 13 | 23.3 | 0.111
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2023-06-15 | [9 empty] | Closed off for music festival.
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2023-06-15 | [9 empty] | No safe access.
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2023-06-15 | [9 empty] | Closed off for music festival.
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2023-06-15 | 15:30 | 17.5 | 63.5 | 7.99 | 229.4 | 26.5 | 547.5 | 0.186
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2023-06-15 | 15:45 | 20.5 | 68.9 | 8.1 | 260.4 | 30.5 | 517.2 | 0.25
MID Diversion @ Suncrest Rd. | DUP 1 | MID, CNTY | 2023-06-15 | 11:12 | 14.1 | 57.38 | 7.74 | 128 | 15.5 | 328.2 | 0.108
TID Canal @ Eagle Mill Rd. | DUP 2 | TID, ASH, CNTY | 2023-06-15 | 12:27 | 15.2 | 59.36 | 8.11 | 181.8 | 27.4 | 290.9 | 0.157
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
Red indicates values that exceed state standards.