## October 2022
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2022-10-20
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2022-10-20
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2022-10-20 | 13:00 | 12.3 | 54.14 | 7 | 78.1 | 2.06 | 37.9 | - | ND
Ashland Creek below STP | E5 | ASH, CNTY | 2022-10-20 | 12:10 | 17 | 62.6 | 7.24 | 290.4 | 6.68 | 248.1 | - | ND
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2022-10-20
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2022-10-20 | 11:50 | 13.2 | 55.76 | 7.31 | 250 | 11.48 | 365.4 | -
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2022-10-20
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2022-10-20 | 11:15 | 12 | 53.6 | 7.32 | 292.4 | 3.97 | 98.7 | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2022-10-20
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2022-10-20 | 10:40 | 11.4 | 52.52 | 7.46 | 295.5 | 10.05 | 261.3 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2022-10-20 | 11:00 | 11.8 | 53.24 | 7.39 | 302.9 | 12.42 | 172.3 | -
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2022-10-20 | 10:15 | 11.6 | 52.88 | 7.58 | 320 | 9.98 | 435.2 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2022-10-20 | 14:05 | 13.8 | 56.84 | 7.69 | 343.9 | 8.67 | 488.4 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2022-10-20
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2022-10-20 | 9:15 | 10.7 | 51.26 | 7.61 | 283.4 | - | 980.4 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2022-10-20 | 9:20 | 9.5 | 49.1 | 7.57 | 278.3 | 9.69 | 1413.6
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2022-10-20
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2022-10-20 | 9:35 | 11.3 | 52.34 | 7.58 | 263 | 12.14 | 686.7 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2022-10-20 | 14:40 | 15 | 59 | 7.99 | 337.2 | 78.4 | 1732.9 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2022-10-20
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2022-10-20 | 15:20 | 13.7 | 56.66 | 7.75 | 320.4 | 17.67 | 727 | -
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2022-10-20 | 15:05 | - | - | 7.64 | - | 13.03 | 1203.3 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2022-10-20 | 15:35 | 14.3 | 57.74 | 7.96 | 363.7 | 13.23 | 435.2 | -
Bear Ck. @ B.H. Park (Phoenix) | DUP 1 | PHO, CNTY | 2022-10-20 | 10:42 | 11.5 | 52.7 | 7.56 | 298.5 | 9.84 | 260.2 | -
Bear Ck. @ Lynn Newbry Park | DUP 2 | TAL, CNTY | 2022-10-20 | 11:17 | 12 | 53.6 | 7.36 | 297 | 4.5 | 115.3 | -
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -

## November 2022
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2022-11-22
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2022-11-22 | 13:30 | 4.9 | 40.82 | 7.57 | 97.1 | 3.42 | 35.4 | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2022-11-22 | 13:05 | 4.7 | 40.46 | 7.79 | 67.4 | 1.38 | 2 | - | ND
Ashland Creek below STP | E5 | ASH, CNTY | 2022-11-22 | 12:10 | 9.7 | 49.46 | 7.66 | 233.7 | 8.93 | 36.4 | - | 0.034
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2022-11-22
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2022-11-22 | 11:50 | 5.5 | 41.9 | 8.17 | 210.7 | 5.79 | 260.2 | -
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2022-11-22 | 11:35 | 4.6 | 40.28 | 8 | 207.8 | 14.74 | 46.4 | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2022-11-22 | 11:25 | 5.1 | 41.18 | 7.82 | 232.5 | 4.49 | 37.3 | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2022-11-22
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2022-11-22 | 10:55 | 4.4 | 39.92 | 7.93 | 236 | 5.29 | 290.9 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2022-11-22 | 10:35 | 4.1 | 39.38 | 8 | 236.3 | 4.66 | 365.4 | -
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2022-11-22 | 10:10 | 4.3 | 39.74 | 8.03 | 244 | 6.66 | 290.9 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2022-11-22 | 14:20 | 5.6 | 42.08 | 8.28 | 270.2 | 3.7 | 139.6 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2022-11-22 | 14:40 | 5.6 | 42.08 | 8.4 | 271.8 | 3.69 | 91 | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2022-11-22 | 9:05 | 6 | 42.8 | 7.99 | 144.5 | 71.5 | 166.4 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2022-11-22 | 9:10 | 5 | 41 | 7.9 | 282.3 | 14.73 | 214.2
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2022-11-22
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2022-11-22 | 9:25 | 4.2 | 39.56 | 7.94 | 219.4 | 17.15 | 461.1 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2022-11-22 | 15:00 | 5.9 | 42.62 | 8.41 | 245.6 | 5.19 | 107.6 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2022-11-22
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2022-11-22 | 15:35 | 6.9 | 44.42 | 8.03 | 276.3 | 21.6 | 261.3 | -
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2022-11-22 | 15:20 | 5.5 | 41.9 | 7.94 | 247.9 | 24.4 | 260.2 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2022-11-22 | 15:50 | 5.4 | 41.72 | 8.24 | 270.3 | 8.84 | 156.5 | -
Jackson Creek @ W. Ross Ln. | DUP 1 | JVLLE, CPT, CNTY | 2022-11-22 | 9:27 | 4.2 | 39.56 | 7.98 | 219.4 | 18.13 | 517.2 | -
Bear Ck. @ Pine St. (CP) | DUP 2 | CPT, CNTY | 2022-11-22 | 15:02 | 5.9 | 42.62 | 8.42 | 245.6 | 4.95 | 82 | -
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -

## December 2022
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2022-12-22 | [9 empty] | Dry.
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2022-12-22 | 12:55 | 5 | 41 | 7.68 | 87.6 | 3.66 | 387.3 | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2022-12-22 | 12:30 | 3.2 | 37.76 | 7.82 | 65.3 | 1.13 | 1 | - | ND
Ashland Creek below STP | E5 | ASH, CNTY | 2022-12-22 | 12:10 | 8.3 | 46.94 | 7.83 | 208.9 | 6.49 | 80.5 | - | 0.024
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2022-12-22 | [9 empty] | Off-season.
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2022-12-22 | 11:45 | 5 | 41 | 8.11 | 194.7 | 3.4 | 46.4 | -
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2022-12-22 | 11:25 | 5.1 | 41.18 | 8.09 | 203.3 | 7.2 | 27.8 | -
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2022-12-22 | 11:10 | 5.3 | 41.54 | 7.93 | 219.5 | 4.12 | 35.9 | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2022-12-22 | [9 empty] | Off-season.
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2022-12-22 | 10:45 | 5.2 | 41.36 | 7.73 | 229.5 | 2.84 | 95.9 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2022-12-22 | 10:15 | 5 | 41 | 8.01 | 230.5 | 5.79 | 162.4 | -
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2022-12-22 | 9:35 | 5.1 | 41.18 | 8.04 | 239.7 | 5.9 | 185 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2022-12-22 | 13:55 | 5.9 | 42.62 | 8.43 | 248.2 | 6.35 | 290.9 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2022-12-22 | 14:15 | 6 | 42.8 | 8.43 | 257.4 | 4.02 | 80.5 | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2022-12-22 | 8:50 | 7.7 | 45.86 | 7.98 | 264.6 | 78.2 | 980.4 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2022-12-22 | 8:55 | 5.6 | 42.08 | 7.95 | 257.7 | 5.84 | 218.7
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2022-12-22 | [9 empty] | Dry.
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2022-12-22 | 9:05 | 5.9 | 42.62 | 7.93 | 219.7 | 6.27 | 816.4 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2022-12-22 | 14:40 | 6.3 | 43.34 | 8.41 | 228 | 5.21 | 88.4 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2022-12-22 | [9 empty] | Poor access.
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2022-12-22 | 15:05 | 7.4 | 45.32 | 8.05 | 276.8 | 13.09 | 238.2 | -
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2022-12-22 | 14:55 | 6.3 | 43.34 | 8.1 | 261 | 115 | 770.1 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2022-12-22 | 15:25 | 6.2 | 43.16 | 8.36 | 249.9 | 8.46 | 435.2 | -
Bear Ck. @ Fern Valley Rd. | DUP 1 | PHO, CNTY | 2022-12-22 | 10:17 | 5 | 41 | 8.08 | 230.2 | 5.31 | 178.5 | -
Bear Ck. @ Lynn Newbry Park | DUP 2 | TAL, CNTY | 2022-12-22 | 11:12 | 5.3 | 41.54 | 7.95 | 225.5 | 5.25 | 41 | -
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -

## Station by Station Data Summary
Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L) | Month | Site # | Time of Day | Temp. (C°) | Temp. (F°) | E. coli MPN | Phosphorus (mg/L)
October | E1 | - | - | - | - | - | October | E11 | 10:40 | 11.4 | 52.52 | 261.3 | - | October | E20 | 14:40 | 15 | 59 | 1732.9 | -
November | E1 | - | - | - | - | - | November | E11 | 10:55 | 4.4 | 39.92 | 290.9 | - | November | E20 | 15:00 | 5.9 | 42.62 | 107.6 | -
December | E1 | - | - | - | - | - | December | E11 | 10:45 | 5.2 | 41.36 | 95.9 | - | December | E20 | 14:40 | 6.3 | 43.34 | 88.4 | -
October | E3 | - | - | - | - | - | October | E12 | 11:00 | 11.8 | 53.24 | 172.3 | - | October | E21 | - | - | - | - | -
November | E3 | 13:30 | 4.9 | 40.82 | 35.4 | - | November | E12 | 10:35 | 4.1 | 39.38 | 365.4 | - | November | E21 | - | - | - | - | -
December | E3 | 12:55 | 5 | 41 | 387.3 | - | December | E12 | 10:15 | 5 | 41 | 162.4 | - | December | E21 | - | - | - | - | -
October | E4 | 13:00 | 12.3 | 54.14 | 37.9 | - | October | E13 | 10:15 | 11.6 | 52.88 | 435.2 | - | October | E22 | 15:20 | 13.7 | 56.66 | 727 | -
November | E4 | 13:05 | 4.7 | 40.46 | 2 | - | November | E13 | 10:10 | 4.3 | 39.74 | 290.9 | - | November | E22 | 15:35 | 6.9 | 44.42 | 261.3 | -
December | E4 | 12:30 | 3.2 | 37.76 | 1 | - | December | E13 | 9:35 | 5.1 | 41.18 | 185 | - | December | E22 | 15:05 | 7.4 | 45.32 | 238.2 | -
October | E5 | 12:10 | 17 | 62.6 | 248.1 | - | October | E14 | 14:05 | 13.8 | 56.84 | 488.4 | - | October | E23 | 15:05 | - | - | 1203.3 | -
November | E5 | 12:10 | 9.7 | 49.46 | 36.4 | - | November | E14 | 14:20 | 5.6 | 42.08 | 139.6 | - | November | E23 | 15:20 | 5.5 | 41.9 | 260.2 | -
December | E5 | 12:10 | 8.3 | 46.94 | 80.5 | - | December | E14 | 13:55 | 5.9 | 42.62 | 290.9 | - | December | E23 | 14:55 | 6.3 | 43.34 | 770.1 | -
October | E6 | - | - | - | - | - | October | E15 | - | - | - | - | - | October | E24 | 15:35 | 14.3 | 57.74 | 435.2 | -
November | E6 | - | - | - | - | - | November | E15 | 14:40 | 5.6 | 42.08 | 91 | - | November | E24 | 15:50 | 5.4 | 41.72 | 156.5 | -
December | E6 | - | - | - | - | - | December | E15 | 14:15 | 6 | 42.8 | 80.5 | - | December | E24 | 15:25 | 6.2 | 43.16 | 435.2 | -
October | E7 | 11:50 | 13.2 | 55.76 | 365.4 | - | October | E16 | 9:15 | 10.7 | 51.26 | 980.4 | -
November | E7 | 11:50 | 5.5 | 41.9 | 260.2 | - | November | E16 | 9:05 | 6 | 42.8 | 166.4 | -
December | E7 | 11:45 | 5 | 41 | 46.4 | - | December | E16 | 8:50 | 7.7 | 45.86 | 980.4 | -
October | E8 | - | - | - | - | - | October | E17 | 9:20 | 9.5 | 49.1 | 1413.6 | -
November | E8 | 11:35 | 4.6 | 40.28 | 46.4 | - | November | E17 | 9:10 | 5 | 41 | 214.2 | -
December | E8 | 11:25 | 5.1 | 41.18 | 27.8 | - | December | E17 | 8:55 | 5.6 | 42.08 | 218.7 | -
October | E9 | 11:15 | 12 | 53.6 | 98.7 | - | October | E18 | - | - | - | - | -
November | E9 | 11:25 | 5.1 | 41.18 | 37.3 | - | November | E18 | - | - | - | - | -
December | E9 | 11:10 | 5.3 | 41.54 | 35.9 | - | December | E18 | - | - | - | - | -
October | E10 | - | - | - | - | - | October | E19 | 9:35 | 11.3 | 52.34 | 686.7 | -
November | E10 | - | - | - | - | - | November | E19 | 9:25 | 4.2 | 39.56 | 461.1 | -
December | E10 | - | - | - | - | - | December | E19 | 9:05 | 5.9 | 42.62 | 816.4 | -