## Stormdrain Data - 2025-2026
2025-2026 - Stormdrain Data | [10 empty] | 2025-2026 - Stormdrain Data
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2026-02-01 | First Flush | SD17 | 13:55 | 9.4 | 54.7 | 0.68 | 3.495 | 7.3 | 7.21 | 210 |  | Dry Weather | SD9
2026-04-01 | Wet Weather | SD17 | - | - | - | - | - | - | - | - |  | First Flush | SD9
2026-06-01 | Dry Weather | SD17 | - | - | - | - | - | - | - | - |  | Wet Weather | SD9
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2026-02-01 | First Flush | SD18 | 13:40 | 9.9 | 2419.2 | 0.341 | 4.255 | 30.5 | 7.44 | 131.3 |  | Dry Weather | SD10
2026-04-01 | Wet Weather | SD18 | 13:05 | 10.6 | 980.4 | 0.428 | 5.28 | 5.67 | 7.78 | 291 |  | First Flush | SD10
2026-06-01 | Dry Weather | SD18 | - | - | - | - | - | - | - | - |  | Wet Weather | SD10
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2026-02-01 | First Flush | SD19 | - | - | - | - | - | - | - | - |  | Dry Weather | SD11
2026-04-01 | Wet Weather | SD19 | - | - | - | - | - | - | - | - |  | First Flush | SD11
2026-06-01 | Dry Weather | SD19 | 13:30 | 20.4 | 75.4 | 0.125 | 3.911 | 3.43 | 6.75 | 114.2 |  | Wet Weather | SD11
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2026-02-01 | First Flush | SD4 | - | - | - | - | - | - | - | - | 2026-02-01 | First Flush | SD12 | 11:25 | 9.1 | 2419.2 | 0.512 | 4.62 | 179 | 7.68 | 182.9
2026-04-01 | Wet Weather | SD4 | - | - | - | - | - | - | - | - | 2026-04-01 | Wet Weather | SD12 | 11:15 | 9.8 | 133.4 | 0.11 | 1.977 | 38.7 | 8.02 | 292.7
2026-06-01 | Dry Weather | SD4 | 12:50 | 18.8 | 1299.7 | 0.106 | 4.255 | 3.17 | 8.11 | 507 | 2026-06-01 | Dry Weather | SD12 | - | - | - | - | - | - | - | -
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2026-02-01 | First Flush | SD5 | 12:40 | 9.8 | 95.8 | 0.082 | 3.053 | 22.9 | 7.26 | 95.7 | 2026-02-01 | First Flush | SD13 | 11:10 | 10.9 | 1732.9 | 0.151 | 3.88 | 46 | 7.56 | 112
2026-04-01 | Wet Weather | SD5 | - | - | - | - | - | - | - | - | 2026-04-01 | Wet Weather | SD13 | 11:00 | 11.7 | 275.5 | 0.087 | 7.509 | 2.82 | 7.54 | 298.8
2026-06-01 | Dry Weather | SD5 | - | - | - | - | - | - | - | - | 2026-06-01 | Dry Weather | SD13 | 10:55 | 21.3 | 298.7 | 0.129 | 2.894 | 2.18 | 8.39 | 383.4
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2026-02-01 | First Flush | SD6 | 12:25 | 10.9 | 217.8 | 0.323 | 3.588 | 33.8 | 7.63 | 300 | 2026-02-01 | First Flush | SD14 | 10:10 | 9.6 | 1986.3 | 0.261 | 4.112 | 67.8 | 7.45 | 65.4
2026-04-01 | Wet Weather | SD6 | 11:55 | 12.9 | 6.3 | 0.291 | 2.29 | 11.2 | 8.03 | 456 | 2026-04-01 | Wet Weather | SD14 | 10:25 | 9.7 | 172.3 | 0.134 | 2.989 | 38.1 | 7.99 | 271.1
2026-06-01 | Dry Weather | SD6 | 12:00 | 18.2 | 160.7 | 0.287 | 3.31 | 14.4 | 8.1 | 435.3 | 2026-06-01 | Dry Weather | SD14 | - | - | - | - | - | - | - | -
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
2026-02-01 | First Flush | SD7 | - | - | - | - | - | - | - | - | 2026-02-01 | First Flush | SD15 | 10:35 | 10.3 | 121.1 | 0.184 | 4.297 | 45.2 | 7.46 | 123.8
2026-04-01 | Wet Weather | SD7 | - | - | - | - | - | - | - | - | 2026-04-01 | Wet Weather | SD15 | 10:40 | 11 | 71.7 | 0.104 | 2.434 | 29.2 | 7.88 | 304.6
2026-06-01 | Dry Weather | SD7 | - | - | - | - | - | - | - | - | 2026-06-01 | Dry Weather | SD15 | 10:30 | 20.9 | 143.9 | 0.166 | 4.898 | 27.2 | 7.92 | 520
Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity | Month/Year | Sample Type | Site # | Time of Day | Temp. (C°) | E. coli MPN | Phosphorus (mg/L) | BOD | Turbidity | pH | Conductivity
| Dry Weather | SD8 | [8 empty] | 2026-02-01 | First Flush | SD16 | 9:55 | 9.8 | 1553.1 | 0.432 | 7.79 | 73 | 7.46 | 105.7
| First Flush | SD8 | [8 empty] | 2026-04-01 | Wet Weather | SD16 | 10:05 | 12.8 | 2419.2 | 0.189 | 4.206 | 4.12 | 8.06 | 365.5
| Wet Weather | SD8 | [8 empty] | 2026-06-01 | Dry Weather | SD16 | - | - | - | - | - | - | - | -

## SD17 - Phosphorus
Site # | Date | Phosphorus (mg/L)
SD17 | 2014-02-12 | 0.657
SD17 | 2014-10-08 | 1.05
SD17 | 2014-12-11 | 0.791
SD17 | 2015-02-02 | 0.794
SD17 | 2015-12-10 | 1
SD17 | 2016-04-14 | 1.57
SD17 | 2016-09-07 | 0.661
SD17 | 2016-10-14 | 0.889
SD17 | 2018-04-12 | 1.02
SD17 | 2018-05-16 | 0.68
SD17 | 2018-10-24 | 0.883
SD17 | 2019-01-17 | 0.84
SD17 | 2019-05-16 | 1.177
SD17 | 2019-10-17 | 0.802
SD17 | 2020-04-22 | 0.972
SD17 | 2020-06-23 | 1.27
SD17 | 2020-08-20 | 1.048
SD17 | 2020-11-18 | 0.845
SD17 | 2021-02-19 | 0.979
SD17 | 2021-09-14 | 2.981
SD17 | 2022-03-03 | 0.936
SD17 | 2022-04-13 | 0.862
SD17 | 2022-09-15 | -
SD17 | 2022-12-30 | 0.738
SD17 | 2023-06-29 | -
SD17 | 2023-10-10 | -
SD17 | 2024-02-29 | 0.754
SD17 | 2024-07-10 | -
SD17 | 2024-11-13 | 0.831
SD17 | 2025-06-26 | -
SD17 | 2026-02-24 | 0.68
SD17 | 2026-04-02 | -
SD17 | 2026-06-25 | -